ITEM #: WATER AND ICE DISPENSER  
Quantity: One (1)  
Manufacturer: Scotsman  
Model No.: MDT4F12A-1A  
Pertinent Data: —  
Utilities Req’d: 120V/1PH, 15.1A, 3/8" CW, 1/2" IW  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Provide counter-top unit with a base stand.  
3. Provide flaked ice and water.  
4. Coordinate installation onto Item #\_\_\_\_\_, Beverage Counter with Sink.  
5. Provide five year compressor warranty.  
6. Provide with heavy-duty cord and plug. Coordinate NEMA configuration with Electrical Contractor.  
7. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.