ITEM #: WATER FILTRATION SYSTEM  
Quantity: One (1)  
Manufacturer: Hoshizaki  
Model No.: 4HC-H  
Pertinent Data: Twin  
Utilities Req’d: 3/4” CW, 5/8” IW

See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Coordinate installation of Item \_\_\_\_, Ice Machine.  
3. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.