ITEM #: WATER FILTRATION SYSTEM   
Quantity: One (1)  
Manufacturer: Manitowoc  
Model No.: AR-10000/AR-PRE  
Pertinent Data: ---  
Utilities Req’d: 20mm (3/4") CW, 10mm (3/8") IW  
  
See plans for location and placement of item with reference to adjoining equipment.  
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Coordinate installation of Item #\_\_\_\_, Ice Maker.   
3. Must meet all applicable governmental, and local laws, rules, regulations, and codes.