ITEM #: WATER FILTRATION SYSTEM  
Quantity: One (1)  
Manufacturer: Scotsman  
Model No.: AP1P  
Pertinent Data: Single System  
Utilities Req’d: 3/4” CW, 1/2” IW  
  
See plans for location and placement of item with reference to adjoining equipment.   
Furnish and set in place per manufacturer’s standard specifications and the following:  
1. Set in place in location as shown on drawings.  
2. Coordinate installation of Item #, Ice Machine.  
3. Must meet all applicable federal, state, and local laws, rules, regulations, and codes.