## Sheet
________ Preliminary Utility Schedule
September 25, 2024
NO | QTY | DESCRIPTION | VOLTS | PH | AMPS | KW | CW | HW | GPH | IW | DW | BTUS | EXH CFM | SUPPLY CFM | HEAT REJECTION | CHILLED WATER IN | CHILLED WATER OUT | REMARKS
EMPLOYEE DINING AREA
1 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
2 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
3 | 1 | SERVING COUNTER | 120 | 1 | 60 | [12 empty] | CUSTOM FABRICATION
4 | 1 | TRAY RECESS | [15 empty] | CUSTOM FABRICATION PART OF ITEM #3
5 | - | SPARE NUMBER
6 | 3 | UTENSIL CROCKS | [15 empty] | CUSTOM FABRICATION
7 | 1 | COFFEE BREWER | 208 | 1 | 28.3 |  | 1/4" | [10 empty] | BY VENDOR
8 | 1 | ICED TEA BREWER | 120 | 1 | 14.4 |  | 1/4" | [10 empty] | BY VENDOR
9 | - | SPARE NUMBER
10 | - | SPARE NUMBER
11 | 2 | GLASS RACK DISH DOLLY | [15 empty] | MOBILE
12 | 1 | REFRIGERATED GRAB-N-GO MERCHANDISER | 120 | 1 | 5.8
13 | 1 | REFRIGERATED COLD WELL | 120 | 1 | 5.5 |  |  |  |  | 1" | [7 empty] | 3 WELLS
14 | 1 | SNEEZE GUARD | 120 | 1 | 2 | [12 empty] | WITH LED LIGHT
15 | - | SPARE NUMBER
16 | 1 | HOT FOOD WELL | 208 | 1 | 17.9 |  |  | 1/2" | 5 | 1" | [7 empty] | 3 WELL AUTOFILL
17 | 1 | SNEEZE GUARD
18 | 1 | FOOD WARMER | 120 | 1 | 7.9 | [12 empty] | WITH LIGHT
19 | - | SPARE NUMBER
20 | - | SPARE NUMBER
21 | 1 | POP-UP TOASTER | 120 | 1 | 15
22 | 1 | REACH-IN REFRIGERATOR | 120 | 1 | 3.8 | [12 empty] | MOBILE
23 | 1 | REACH-IN HEATED CABINET | 208 | 1 | 7.2 | [12 empty] | MOBILE
24 | 2 | ENCLOSED UTILITY CART | [15 empty] | MOBILE
25 | - | SPARE NUMBER
26 | 1 | TRASH COUNTER | [15 empty] | CUSTOM FABRICATION
27 | 2 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #26
28 | 2 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
29 | - | SPARE NUMBER
30-50 | - | SPARE NUMBERS
LONG TERM STORAGE AREA
51 | 7 | NON-FOOD STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
52 | 1 | WORK SURFACE | 120 | 1 | 20 | [12 empty] | MILLWORK / BY GENERAL CONTRACTOR
53 | 1 | COMPUTER | 120 | 1 | 20 | [12 empty] | BY OWNER
54 | 1 | CHAIR | [15 empty] | BY OS&E
55 | - | SPARE NUMBER
56 | 9 | BEVERAGE STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
57 | 4 | DUNNAGE RACK
58 | 1 | BEER SYSTEM SHELF | [15 empty] | WALL MOUNTED
59 | - | SPARE NUMBER
60 | - | SPARE NUMBER
61 | 1 | BEER SYSTEM | 120 | 1 | 17.2 | [10 empty] | 3/8" | 3/8" | WATER-COOLED
62 | 1 | RED WINE COOLER | 120 | 1 | 20
63 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
64 | - | SPARE NUMBER
65 | - | SPARE NUMBER
66 | 2 | WINE STORAGE SHELVING | [15 empty] | FIXED FOURTEEN TIER
67 | 3 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
68 | 1 | EVAPORATOR COIL | 120 | 1 | 1.8 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
69 | - | SPARE NUMBER
70 | - | SPARE NUMBER
71 | 1 | BEVERAGE COOLER | 120 | 1 | 20
72 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
73 | 2 | DUNNAGE RACK
74 | 1 | LOW-PROFILE EVAPORATOR COIL | 120 | 1 | 1.7 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
75 | - | SPARE NUMBER
76 | 7 | BEVERAGE STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
77 | 3 | KEG RACK
78 | 10 | NON-FOOD STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
79 | - | SPARE NUMBER
80 | - | SPARE NUMBER
81 | - | SPARE NUMBER
82 | - | SPARE NUMBER
83 | - | SPARE NUMBER
84 | - | SPARE NUMBER
85 | - | SPARE NUMBERS
CLEAN DOCK AREA
101 | 1 | TRENCH DRAIN WITH GRATE | [8 empty] | 2" | [6 empty] | BY GENERAL CONTRACTOR
102 | 1 | ELECTRONIC READOUT | [15 empty] | FOR ITEM #103
103 | 1 | FLOOR SCALE | 120 | 1 | 15 | [12 empty] | RECESSED WITH ELECTRONIC READ-OUT ITEM #102
104 | 1 | FORKLIFT | [15 empty] | BY OS&E
105 | 1 | FORKLIFT CHARGER | [15 empty] | BY OS&E
106 | 1 | SECURITY FENCE | [15 empty] | BY GENERAL CONTRACTOR
107 | 1 | SECURITY DOOR | [15 empty] | BY GENERAL CONTRACTOR
108 | 1 | BULK CO2 TANK | [15 empty] | BY VENDOR
109 | - | SPARE NUMBER
110 | - | SPARE NUMBER
111 | 1 | WORK SURFACE | 120 | 1 | 40 | [12 empty] | MILLWORK / BY GENERAL CONTRACTOR
112 | 1 | COMPUTER | 120 | 1 | 20 | [12 empty] | BY OWNER
113 | 1 | CHAIR | [15 empty] | BY OS&E
114 | 1 | COMPUTER | 120 | 1 | 20 | [12 empty] | BY OWNER
115 | - | SPARE NUMBER
116 | 1 | CHAIR | [15 empty] | BY OS&E
117 | - | SPARE NUMBER
118 | - | SPARE NUMBER
119 | - | SPARE NUMBER
120 | - | SPARE NUMBER
SOILED DOCK AREA
121 | 1 | MOP SINK | [8 empty] | 2" | [6 empty] | BY GENERAL CONTRACTOR
122 | 1 | HOSE BIBB |  |  |  |  | 1/2" | 1/2" | [9 empty] | BY GENERAL CONTRACTOR
123 | 1 | WALL SHELF | [15 empty] | CUSTOM FABRICATION
124 | 1 | MOP RACK | [15 empty] | BY GENERAL CONTRACTOR
125 | - | SPARE NUMBER
126 | 4 | DETERGENT STORAGE SHELVING | [15 empty] | FIXED FIVE TIER
127 | 1 | PRESSURE WASHER | 120 | 1 | 15 |  | 3/4" | [10 empty] | MOBILE
128 | - | SPARE NUMBER
129 | - | SPARE NUMBER
130 | - | SPARE NUMBER
131 | 1 | WASTE OIL CONTAINMENT TANK | 120 | 1 | 15 | [12 empty] | 1100LBS
132 | 1 | WASTE OIL CADDY | [15 empty] | MOBILE
133 | 1 | DIGESTER | 120 | 1 | 15 |  | 1/2" |  |  | 3"
134 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
135 | - | SPARE NUMBER
136 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
137 | 1 | EYE WASH STATION |  |  |  |  | 1/2" | 1/2" | 25 |  | 1-1/4"
138 | 5 | COMPACTOR TRASH CART | [15 empty] | MOBILE BY OS&E
139 | - | SPARE NUMBER
140 | - | SPARE NUMBER
141 | 3 | TRASH TRUCK | [15 empty] | MOBILE
142 | 1 | CARDBOARD COMPACTOR | [15 empty] | BY GENERAL CONTRACTOR
143 | 1 | WASTE COMPACTOR | [15 empty] | BY GENERAL CONTRACTOR
144 | 1 | TRENCH DRAIN WITH GRATE | [8 empty] | 2" | [6 empty] | BY GENERAL CONTRACTOR
145 | - | SPARE NUMBER
146 | 1 | CO2 FILL PORT
147 | 1 | USED OIL PORT
148 | 1 | HOSE BIBB |  |  |  |  | 1/2" | 1/2" | [9 empty] | BY GENERAL CONTRACTOR
149 | - | SPARE NUMBER
150-200 | - | SPARE NUMBER
BULK STORAGE AREA
201 | 1 | WORK SURFACE | 120 | 1 | 40 | [12 empty] | MILLWORK / BY GENERAL CONTRACTOR
202 | 1 | WALL CABINET | [15 empty] | MILLWORK / BY GENERAL CONTRACTOR
203 | 1 | COMPUTER | 120 | 1 | 20 | [12 empty] | BY OWNER
204 | 1 | CHAIR | [15 empty] | BY OS&E
205 | - | SPARE NUMBER
206 | 1 | COMPUTER | 120 | 1 | 20 | [12 empty] | BY OWNER
207 | 1 | CHAIR | [15 empty] | BY OS&E
208 | 1 | COMPUTER | 120 | 1 | 20 | [12 empty] | BY OWNER
209 | - | SPARE NUMBER
210 | - | SPARE NUMBER
211 | - | SPARE NUMBER
212 | 1 | CHAIR | [15 empty] | BY OS&E
213 | - | SPARE NUMBER
214 | - | SPARE NUMBER
215 | - | SPARE NUMBER
216 | 1 | BULK FREEZER | 120 | 1 | 20
217 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
218 | 1 | LOW-PROFILE EVAPORATOR COIL | 120 | 1 | 1.7 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
219 | - | SPARE NUMBER
220 | - | SPARE NUMBER
221 | 12 | FREEZER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
222 | 1 | PROTEIN COOLER | 120 | 1 | 20
223 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
224 | 1 | LOW-PROFILE EVAPORATOR COIL | 120 | 1 | 1.7 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
225 | 2 | SEAFOOD STORAGE SHELVING | [15 empty] | MOBILE TWO TIER
226 | 6 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
227 | 2 | UTILITY RACK | [15 empty] | MOBILE
228 | 1 | PRODUCE COOLER | 120 | 1 | 20
229 | - | SPARE NUMBER
230 | - | SPARE NUMBER
231 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
232 | 2 | EVAPORATOR COIL | 120 | 1 | 0.8 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
233 | 11 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
234 | 2 | UTILITY RACK | [15 empty] | MOBILE
235 | - | SPARE NUMBER
236 | 1 | DAIRY COOLER | 120 | 1 | 20
237 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
238 | 1 | EVAPORATOR COIL | 120 | 1 | 1.8 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
239 | - | SPARE NUMBER
240 | - | SPARE NUMBER
241 | 5 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
242 | 7 | DRY STORAGE SHELVING | [15 empty] | FIXED FIVE TIER
243 | - | SPARE NUMBER
244 | - | SPARE NUMBER
245 | - | SPARE NUMBER
246 | 1 | ICE BIN | [7 empty] | 3/4" | [7 empty] | 500LBS.
247 | 1 | ICE MACHINE | 120 | 1 | 10.8 |  | 1/2" |  |  | 3/4" |  |  |  |  | 4700 |  |  | 316LBS. AIR-COOLED NUGGET ICE
248 | 1 | WATER FILTRATION SYSTEM |  |  |  |  | 3/4" |  |  | 1/2" | [7 empty] | FOR ITEM #247
249 | - | SPARE NUMBER
250 | - | SPARE NUMBER
251 | 1 | ICE BIN | [7 empty] | 1" | [7 empty] | 1818LBS
252 | 2 | ICE MACHINE | 120 | 1 | 11.5 |  | 1/2" |  |  | 3/4" |  |  |  |  | 4500 |  |  | 500LBS AIR COOLED CUBE ICE
253 | 2 | WATER FILTRATION SYSTEM |  |  |  |  | 3/4" |  |  | 1/2" | [7 empty] | FOR ITEM #252
254 | 1 | ICE MACHINE | 120 | 1 | 10.8 |  | 1/2" |  |  | 3/4" |  |  |  |  | 4700 |  |  | 316LBS. AIR-COOLED
255 | - | SPARE NUMBER
256 | 1 | WATER FILTRATION SYSTEM |  |  |  |  | 3/4" |  |  | 1/2" | [7 empty] | FOR ITEM #254
257 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
258 | - | SPARE NUMBER
259 | - | SPARE NUMBER
260 | - | SPARE NUMBER
261 | 1 | PRODUCTION COOLER | 120 | 1 | 20
262 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
263 | 1 | EVAPORATOR COIL | 120 | 1 | 0.8 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
264 | 4 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
265 | - | SPARE NUMBER
266 | 5 | UTILITY RACK | [15 empty] | MOBILE
267 | - | SPARE NUMBER
268 | - | SPARE NUMBER
269 | - | SPARE NUMBER
270-300 | - | SPARE NUMBER
REMOTE EQUIPMENT AREA
86 | 1 | REFRIGERATION RACK | 208 | 1 | 175 | [12 empty] | OUTDOOR AIR-COOLED ON EMERGENCY POWER
87 | - | SPARE NUMBER
88 | - | SPARE NUMBER
89 | - | SPARE NUMBER
90-100 | - | SPARE NUMBER
PREPARATION AND COOKING AREA
301 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
302 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
303 | 1 | PREPARATION TABLE | 120 | 1 | 40 | [12 empty] | CUSTOM FABRICATION WITH MIXER RECESS
304 | 1 | MIXER ATTACHMENT SHELF | [15 empty] | CUSTOM FABRICATION
305 | - | SPARE NUMBER
306 | 1 | 20 QT. MIXER | 120 | 1 | 6
307 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
308 | 1 | SLICER | 120 | 1 | 2
309 | - | SPARE NUMBER
310 | - | SPARE NUMBER
311 | 1 | FOOD PROCESSOR | 120 | 1 | 7
312 | 1 | VEGETABLE SLICER | 120 | 1 | 14.5
313 | 1 | BLENDER | 120 | 1 | 15
314 | 1 | PREPARATION TABLE WITH SINK | 120 | 1 | 60 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
315 | - | SPARE NUMBER
316 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
317 | 1 | VACUUM PACKAGING MACHINE | 120 | 1 | 20
318 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
319 | 3 | INGREDIENT BIN | [15 empty] | MOBILE
320 | - | SPARE NUMBER
321 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
322 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
323 | 2 | HEATED BANQUET CART | 120 | 1 | 10.8 | [12 empty] | MOBILE
324 | 1 | EXHAUST HOOD | 120 | 1 | 20 | [7 empty] | 7175 | 5740 |  |  |  | WITH MAKE-UP AIR
325 | - | SPARE NUMBER
326 | 1 | FOUR BURNER RANGE | 120 | 1 | 4 | [6 empty] | 170000 | [5 empty] | MOBILE WITH CONVECTION OVEN
327 | 1 | 20 GALLON TILTING KETTLE | 120 | 1 | 5 |  | 1/2" | 1/2" | 15 |  |  | 72000 | [5 empty] | WITH FAUCET
328 | 1 | 40GAL. PRESSURE TILTING SKILLET | 480 | 3 | 53 |  | 1/2" | 1/2" | 15 | [8 empty] | WITH FAUCET
329 | - | SPARE NUMBER
330 | - | SPARE NUMBER
331 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
332 | 1 | DOUBLE COMBI OVEN | 208 | 1 | 4.3 |  | (2)3/4" |  |  | (2)2" |  | 106500 | [5 empty] | MOBILE
333 | 1 | DOUBLE COMBI OVEN | 208 | 1 | 4.3 |  | (2)3/4" |  |  | (2)2" |  | 106500 | [5 empty] | MOBILE
334 | 1 | BLAST CHILLER | 208 | 3 | 13.4 |  |  |  |  | 1-1/4" | [7 empty] | MOBILE
335 | - | SPARE NUMBER
336 | 1 | HOOD CONTROL CABINET | 120 | 1 | 1 | [12 empty] | FOR ITEM #324 #356 #377
337 | 1 | WORK TABLE | 120 | 1 | 20 | [12 empty] | CUSTOM FABRICATION
338 | 2 | UTILITY RACK | [15 empty] | MOBILE
339 | - | SPARE NUMBER
340 | - | SPARE NUMBER
341 | 1 | FIRE SUPPRESSION SYSTEM | 120 | 1 | 20 | [12 empty] | FOR ITEM #324 #356 #377
342 | - | SPARE NUMBER
343 | - | SPARE NUMBER
344 | - | SPARE NUMBER
345 | - | SPARE NUMBER
346 | 1 | FINISH COOLER | 120 | 1 | 20
347 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
348 | 1 | EVAPORATOR COIL | 120 | 1 | 1.8 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
349 | - | SPARE NUMBER
350 | - | SPARE NUMBER
351 | 3 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
352 | 3 | UTILITY RACK | [15 empty] | MOBILE
353 | - | SPARE NUMBER
354 | - | SPARE NUMBER
355 | - | SPARE NUMBER
356 | 1 | EXHAUST HOOD | 120 | 1 | 20 | [7 empty] | 5683 | 4527 |  |  |  | WITH MAKE-UP AIR
357 | 1 | UTENSIL RACK | [15 empty] | CUSTOM FABRICATION ATTACHED TO ITEM #356
358 | 1 | SPREADER CABINET | [15 empty] | CUSTOM FABRICATION
359 | - | SPARE NUMBER
360 | - | SPARE NUMBER
361 | 1 | FRYER BATTERY | 120 | 1 | 7 | [6 empty] | 160000 | [5 empty] | MOBILE
362 | 1 | FRYER | 120 | 1 | 0.7 | [6 empty] | 80000 | [5 empty] | MOBILE
363 | 1 | GRIDDLE WITH OVEN | [9 empty] | 105000
364 | 2 | SALAMANDER | [9 empty] | 35000
365 | - | SPARE NUMBER
366 | 1 | SPREADER CABINET | [15 empty] | CUSTOM FABRICATION
367 | 1 | HOT FOOD WELL | 120 | 1 | 13.8 |  | 1/2" |  |  | 1/2" | [7 empty] | 1 WELL AUTOFILL
368 | 1 | EIGHT BURNER RANGE | [9 empty] | 280000 | [5 empty] | MOBILE WITH OVEN AND PAN RAIL
369 | - | SPARE NUMBER
370 | - | SPARE NUMBER
371 | 1 | CHITWOOD SMOKE BROILER | [9 empty] | 95000 | [5 empty] | MOBILE
372 | 1 | SPREADER CABINET | [15 empty] | CUSTOM FABRICATION
373 | 1 | RESTING RACK | [15 empty] | CUSTOM FABRICATION WALL MOUNTED
374 | 1 | BROILER WITH PLANCHA | [9 empty] | 90000 | [5 empty] | MOBILE WITH PAN RAIL
375 | - | SPARE NUMBER
376 | 1 | TUBULAR WALL SHELF | [15 empty] | CUSTOM FABRICATION
377 | 1 | SOLID FUEL EXHAUST HOOD | 120 | 1 | 20 | [7 empty] | 1400 | 1120 |  |  |  | WITH MAKE-UP AIR
378 | - | SPARE NUMBER
379 | - | SPARE NUMBER
380 | - | SPARE NUMBER
381 | - | SPARE NUMBER
382 | - | SPARE NUMBER
383 | - | SPARE NUMBER
384 | - | SPARE NUMBER
385 | - | SPARE NUMBER
386 | 1 | CHEF'S COUNTERWITH SINK | 120 | 1 | 20 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
387 | 1 | DOUBLE OVERSHELF | [15 empty] | CUSTOM FABRICATION CEILING MOUNTED
388 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | CUSTOM FABRICATION WITH SOAP AND TOWEL DISPENSER PART OF ITEM #386
389 | - | SPARE NUMBER
390 | - | SPARE NUMBER
391 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #386
392 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
393 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS PART OF ITEM #386
394 | - | SPARE NUMBER
395 | - | SPARE NUMBER
396 | 1 | FOOD WARMER | 120 | 1 | 9.2
397 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS AND NSF7 RAIL PART OF ITEM #386
398 | - | SPARE NUMBER
399 | - | SPARE NUMBER
400 | - | SPARE NUMBER
401 | 1 | FOOD WARMER | 120 | 1 | 14.4
402 | 1 | POS PRINTER | 120 | 1 | 5 | [12 empty] | BY OS&E
403 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS AND NSF7 RAIL PART OF ITEM #386
404 | - | SPARE NUMBER
405 | - | SPARE NUMBER
406 | 1 | FOOD WARMER | 120 | 1 | 9.2
407 | 1 | POS PRINTER | 120 | 1 | 5 | [12 empty] | BY OS&E
408 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | CUSTOM FABRICATION WITH SOAP AND TOWEL DISPENSER PART OF ITEM #386
409 | - | SPARE NUMBER
410 | - | SPARE NUMBER
411 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #386
412 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
413 | 1 | LOAD CENTER | 208 | 1 | 90 | [12 empty] | CUSTOM FABRICATION PART OF ITEM #386
414 | 1 | PLATE SHELF |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #386
415 | - | SPARE NUMBER
416 | 1 | POS PRINTER | 120 | 1 | 5 | [12 empty] | BY OS&E
417 | 1 | WORK SURFACE | 120 | 1 | 20 | [12 empty] | MILLWORK / BY GENERAL CONTRACTOR
418 | 1 | WALL CABINET | [15 empty] | MILLWORK / BY GENERAL CONTRACTOR
419 | - | SPARE NUMBER
420 | - | SPARE NUMBER
421 | 1 | COMPUTER | 120 | 1 | 20 | [12 empty] | BY OWNER
422 | 1 | CHAIR | [15 empty] | BY OS&E
423 | - | SPARE NUMBER
424 | - | SPARE NUMBER
425-500 | - | SPARE NUMBERS
COLD PREPARATION AREA
501 | 1 | PREPARATION COUNTER WITH SINK | 120 | 1 | 60 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
502 | 1 | BREAD OVEN | 208 | 1 | 13
503 | 1 | BUTCHER BLOCK TOP | [15 empty] | CUSTOM FABRICATION
504 | 1 | HEATED DRAWER | 120 | 1 | 11.3 | [12 empty] | THREE DRAWERS BUILT IN
505 | - | SPARE NUMBER
506 | 1 | DOUBLE OVERSHELF | [15 empty] | CUSTOM FABRICATION PART OF ITEM #501
507 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS AND NSF7 RAIL PART OF ITEM #501
508 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #501
509 | - | SPARE NUMBER
510 | - | SPARE NUMBER
511 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS AND NSF7 RAIL PART OF ITEM #501
512 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #501
513 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS AND NSF7 RAIL PART OF ITEM #501
514 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #501
515 | - | SPARE NUMBER
516 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
517 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DOOR DRAWERS AND NSF7 RAIL PART OF ITEM #501
518 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #501
519 | - | SPARE NUMBER
520 | - | SPARE NUMBER
521 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #501
522 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
523 | 1 | DROP-IN HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH SOAP & TOWEL DISPENSER
524 | - | SPARE NUMBER
525 | - | SPARE NUMBER
PASTRY PREPARATION AREA
526 | 1 | PASTRY PICK-UP COUNTER | 120 | 1 | 40 | [12 empty] | CUSTOM FABRICATION
527 | 1 | DOUBLE OVERSHELF | [15 empty] | CUSTOM FABRICATION PART OF ITEM #526
528 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DOOR DRAWERS AND NSF#7 RAIL PART OF ITEM #526
529 | - | SPARE NUMBER
530 | - | SPARE NUMBER
531 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
532 | 1 | INDUCTION WARMER | 120 | 1 | 15
533 | 1 | DIPPERWELL | [7 empty] | 1-1/2"
534 | 1 | ICE CREAM DIPPING CABINET | 120 | 1 | 6.8
535 | - | SPARE NUMBER
536 | 1 | REACH-IN FREEZER | 120 | 1 | 6 | [12 empty] | MOBILE
537 | 1 | PASTRY COOLER | 120 | 1 | 20
538 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
539 | - | SPARE NUMBER
540 | - | SPARE NUMBER
541 | 1 | EVAPORATOR COIL | 120 | 1 | 1.8 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
542 | 5 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
543 | - | SPARE NUMBER
544 | - | SPARE NUMBER
545 | - | SPARE NUMBER
546 | 1 | 60 QT. MIXER | 208 | 3 | 9
547 | 1 | MIXER ATTACHMENT SHELF | [15 empty] | CUSTOM FABRICATION
548 | 1 | PASTRY PREPARATION TABLE WITH SINKS | 120 | 1 | 40 |  | (2)1/2" | (2)1/2" | 30 | (2)1-1/2" | [7 empty] | CUSTOM FABRICATION
549 | - | SPARE NUMBER
550 | - | SPARE NUMBER
551 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
552 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
553 | 3 | INGREDIENT BIN | [15 empty] | MOBILE
554 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DOOR DRAWERS AND NSF#7 RAIL PART OF ITEM #548
555 | - | SPARE NUMBER
556 | 1 | COMBI OVEN | 480 | 3 | 14.4 |  | 3/4" 3/4" |  |  | 2" | [7 empty] | MOBILE WITH STAND
557 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
558 | - | SPARE NUMBER
559 | - | SPARE NUMBER
560 | - | SPARE NUMBER
561 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
562 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
563 | 1 | PREPARATON TABLE | [15 empty] | CUSTOM FABRICATION
564 | 1 | TRIPLE OVERSHELF | [15 empty] | CUSTOM FABRICATION CEILING MOUNTED
565 | - | SPARE NUMBER
ROOM SERVICE AREA
566 | - | SPARE NUMBER
567 | - | SPARE NUMBER
568 | - | SPARE NUMBER
569 | - | SPARE NUMBER
570 | - | SPARE NUMBER
571 | - | SPARE NUMBER
572 | - | SPARE NUMBER
573 | 3 | ROOM SERVICE TABLES | [15 empty] | MOBILE WITH HOT BOX
574 | 3 | ROOM SERVICE HOT BOXES
575 | - | SPARE NUMBER
576 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
577 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
578 | 1 | ROOM SERVICE TABLE WITH SINK | 120 | 1 | 40 |  | 1/2" | 1/2" | 30 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
579 | - | SPARE NUMBER
580 | - | SPARE NUMBER
581 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
582 | - | SPARE NUMBER
583 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
584 | 1 | COFFEE BREWER | 208 | 1 | 28.3 |  | 1/4" | [10 empty] | BY VENDOR
585 | - | SPARE NUMBER
586 | 1 | ICED TEA BREWER | 120 | 1 | 14.4 |  | 1/4" | [10 empty] | BY VENDOR
587 | 1 | ESPRESSO MACHINE | 120 | 1 | 13 |  | 3/8" |  |  | 1-1/4" | [7 empty] | 2 GROUP
588 | 1 | ESPRESSO GRINDER | 120 | 1 | 7.5
589 | - | SPARE NUMBER
590 | - | SPARE NUMBER
591 | 2 | GLASS RACK DISH DOLLY | [15 empty] | MOBILE
592 | 1 | POP-UP TOASTER | 120 | 1 | 15
593 | 1 | REACH-IN FREEZER | 120 | 1 | 9.4 | [12 empty] | MOBILE
594 | 14 | ROOM SERVICE HOT BOXES
595 | - | SPARE NUMBER
596 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
597 | 8 | ROOM SERVICE TABLES | [15 empty] | MOBILE FOLDED
598 | - | SPARE NUMBER
599 | - | SPARE NUMBER
600 | - | SPARE NUMBER
WAREWASHING AREA
601 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
602 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
603 | 1 | SOILED DISH TABLE | [15 empty] | CUSTOM FABRICATION WITH TROUGH AND BRIDGES
604 | 1 | FOOD WASTE COLLECTOR | 208 | 3 | 3.2 |  | 1/2" | 1/2" | 15 |  | 1/2" | [6 empty] | WITH COVER
605 | - | SPARE NUMBER
606 | 2 | HOSE REEL CONTROL CABINET |  |  |  |  | 1/2" | 1/2" | 25 | [8 empty] | FOR ITEM #616
607 | 1 | DOUBLE SIDED GLASS RACK SHELF | [15 empty] | CUSTOM FABRICATION PART OF ITEM #603
608 | 1 | DISH DROP WINDOW WITH SHELF | [15 empty] | CUSTOM FABRICATION
609 | - | SPARE NUMBER
610 | - | SPARE NUMBER
611 | 1 | SILVERWARE CHUTE | [15 empty] | CUSTOM FABRICATION
612 | 1 | SILVER SOAK SINK | [15 empty] | MOBILE
613 | 2 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
614 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
615 | - | SPARE NUMBER
616 | 2 | HOSE REEL | [15 empty] | CEILING MOUNT
617 | - | SPARE NUMBER
618 | 1 | DISH MACHINE | 480 | 3 | 23.6 |  | (2)1/2" |  |  | 2" |  |  |  |  | 6100 |  |  | 180°F RINSE VENTLESS
619 | - | SPARE NUMBER
620 | - | SPARE NUMBER
621 | - | SPARE NUMBER
622 | 1 | CLEAN DISH TABLE | [15 empty] | CUSTOM FABRICATION
623 | 1 | GLASS RACK SHELF | [15 empty] | CUSTOM FABRICATION WALL MOUNTED
624 | - | SPARE NUMBER
625 | - | SPARE NUMBER
626 | 1 | SOILED DISH TABLE WITH SINK | [15 empty] | CUSTOM FABRICATION
627 | - | SPARE NUMBER
628 | - | SPARE NUMBER
629 | - | SPARE NUMBER
630 | - | SPARE NUMBER
631 | - | SPARE NUMBER
632 | 1 | DISH MACHINE | 208 | 3 | 60 |  | 3/4" |  |  | 1-1/2" |  |  |  |  | 3700 |  |  | 180° RINSE VENTLESS
633 | 1 | CLEAN DISH TABLE | [15 empty] | CUSTOM FABRICATION
634 | 1 | GLASS RACK SHELF | [15 empty] | CUSTOM FABRICATION WALL MOUNTED
635 | - | SPARE NUMBER
636 | 7 | CLEAN DISH STORAGE SHELVING | [15 empty] | FIXED FIVE TIER
637 | - | SPARE NUMBER
638 | - | SPARE NUMBER
639 | - | SPARE NUMBER
640 | - | SPARE NUMBER
641 | 1 | POT AND PAN SHELVING | [15 empty] | MOBILE FOUR TIER
642 | 1 | POT AND PAN SHELVING | [15 empty] | MOBILE FOUR TIER
643 | - | SPARE NUMBER
644 | 1 | HOSE REEL CONTROL CABINET |  |  |  |  | 1/2" | 1/2" | 25 | [8 empty] | FOR ITEM #651
645 | - | SPARE NUMBER
646 | 1 | POT SINK |  |  |  |  | (2)3/4" | (2)3/4" | 90 | (3)2" | [7 empty] | CUSTOM FABRICATION
647 | 1 | POT SHELF | [15 empty] | CUSTOM FABRICATION
648 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
649 | - | SPARE NUMBER
650 | - | SPARE NUMBER
651 | 1 | HOSE REEL | [15 empty] | CEILING MOUNT
652 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
653 | 1 | POT AND PAN SHELVING | [15 empty] | MOBILE FOUR TIER
654 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
655 | - | SPARE NUMBER
656 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
657 | - | SPARE NUMBER
658 | - | SPARE NUMBER
659 | - | SPARE NUMBER
660 | - | SPARE NUMBER
661 | 1 | MOP RACK | [15 empty] | BY GENERAL CONTRACTOR
662 | 1 | MOP SINK | [8 empty] | 2" | [6 empty] | BY GENERAL CONTRACTOR
663 | 1 | HOSE BIBB |  |  |  |  | 1/2" | 1/2" | [9 empty] | BY GENERAL CONTRACTOR
664 | 1 | WALL SHELF | [15 empty] | CUSTOM FABRICATION
665 | - | SPARE NUMBER
666 | 1 | REVERSE OSMOSIS SYSTEM |  |  |  |  | 3/8" |  | 10.3 | 1/4" | [7 empty] | 250 GPD WITH STORAGE TANK FOR ITEM #332 & #333
667 | 1 | REVERSE OSMOSIS STORAGE TANK |  |  |  |  | 1/2" | [10 empty] | 40 GALLON FOR ITEM #666
668 | 4 | DETERGENT STORAGE SHELVING | [15 empty] | FIXED FIVE TIER
669 | - | SPARE NUMBER
670 | - | SPARE NUMBER
671 | 2 | COMPACTOR TRASH CART | [15 empty] | MOBILE BY OS&E
672 | - | SPARE NUMBER
673 | - | SPARE NUMBER
674 | - | SPARE NUMBER
675-700 | - | SPARE NUMBERS
RESTAURANT SERVING AREA
701 | 2 | UNDERCOUNTER WINE REFRIGERATOR | 120 | 1 | 2.8
702 | 2 | UNDERCOUNTER WINE REFRIGERATOR | 120 | 1 | 2.8
703 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 3 | [12 empty] | MOBILE
704 | 1 | WINE PICK-UP COUNTER | [15 empty] | CUSTOM FABRICATION
705 | - | SPARE NUMBER
706 | 4 | GLASS RACK DISH DOLLY | [15 empty] | MOBILE
707 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | CUSTOM FABRICATION WITH SOAP AND TOWEL DISPENSER PART OF ITEM #704
708 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #704
709 | - | SPARE NUMBER
710 | - | SPARE NUMBER
711 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
712 | - | SPARE NUMBER
713 | - | SPARE NUMBER
714 | - | SPARE NUMBER
715 | - | SPARE NUMBER
716 | 1 | COFFEE BACK COUNTER WITH SINK | 120 | 1 | 20 | [12 empty] | CUSTOM FABRICATION
717 | 1 | WALL CABINET | [15 empty] | MILLWORK / BY GENERAL CONTRACTOR
718 | 1 | KNOCK BOX | [15 empty] | CUSTOM FABRICATION PART OF ITEM #716
719 | - | SPARE NUMBER
720 | - | SPARE NUMBER
721 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
722 | 1 | COFFEE GRINDER | 120 | 1 | 11
723 | 1 | COFFEE BREWER | 208 | 1 | 28.3 |  | 1/4" | [10 empty] | BY VENDOR
724 | 1 | ICED TEA BREWER | 120 | 1 | 14.4 |  | 1/4" | [10 empty] | BY VENDOR
725 | - | SPARE NUMBER
726 | 1 | HOT WATER DISPENSER | 120 | 1 | 15 |  | 1/4"
727 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #716
728 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
729 | - | SPARE NUMBER
730 | - | SPARE NUMBER
731 | 1 | COFFEE PICK-UP COUNTER | [15 empty] | CUSTOM FABRICATION
732 | 1 | ESPRESSO SYSTEM | 208 | 1 | 15.9
733 | 1 | DRIP TRAY | [7 empty] | 1"
734 | 1 | GLASS RACK DISH DOLLY | [15 empty] | MOBILE
735 | - | SPARE NUMBER
736 | 5 | POUR OVER SYSTEM | 208 | 1 | 11
737 | 1 | DRIP TRAY | [7 empty] | 1"
738 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 2 | [12 empty] | MOBILE
739 | - | SPARE NUMBER
740 | - | SPARE NUMBER
741 | 1 | PIZZA OVEN | 120 | 1 | 1.1 | [6 empty] | 72000
742 | 1 | PIZZA OVEN EXHAUST HOOD | [10 empty] | 450
743 | 1 | PIZZA PICK-UP COUNTER WITH SINK | [15 empty] | CUSTOM FABRICATION
744 | 1 | UNDERCOUNTER HEATED CABINET | 120 | 1 | 7.3 | [12 empty] | MOBILE
745 | - | SPARE NUMBER
746 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 2 | [12 empty] | MOBILE
747 | 1 | BUTCHER BLOCK TOP | [15 empty] | CUSTOM FABRICATION PART OF ITEM #743
748 | 1 | GLASS PARTITION | [15 empty] | CUSTOM FABRICATION PART OF ITEM #743
749 | - | SPARE NUMBER
750 | - | SPARE NUMBER
751 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DOORS AND NSF7 RAIL PART OF ITEM #743
752 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | CUSTOM FABRICATION WITH SOAP AND TOWEL DISPENSER PART OF ITEM #743
753 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #743
754 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
755 | - | SPARE NUMBER
756 | - | SPARE NUMBER
757 | - | SPARE NUMBER
758 | - | SPARE NUMBER
759 | - | SPARE NUMBER
760 | - | SPARE NUMBER
BEVERAGE STORAGE AREA
761 | 3 | BEVERAGE STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
762 | 1 | SODA SYSTEM AND RACK | 120 | 1 | 20 |  | 1/2" | [10 empty] | BY VENDOR
763 | 1 | BEER SYSTEM SHELF | [15 empty] | WALL MOUNTED
764 | 1 | BEER SYSTEM | 120 | 1 | 17.2 | [10 empty] | 3/8" | 3/8" | WATER-COOLED
765 | - | SPARE NUMBER
766 | 1 | BEVERAGE COOLER | 120 | 1 | 20
767 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
768 | 1 | EVAPORATOR COIL | 120 | 1 | 1.8 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
769 | - | SPARE NUMBER
770 | - | SPARE NUMBER
771 | 1 | KEG RACK
772 | 4 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
773 | - | SPARE NUMBER
774 | - | SPARE NUMBER
775-800 | - | SPARE NUMBERS
CAFE PANTRY AREA
801 | 4 | LIQUOR STORAGE SHELVING | [15 empty] | FIXED FIVE TIER
802 | 1 | SODA SYSTEM AND RACK | 120 | 1 | 20 |  | 1/2" | [10 empty] | BY VENDOR
803 | 1 | WATER FILTRATION SYSTEM |  |  |  |  | 3/4" |  |  | 1/2" | [7 empty] | FOR ITEM #804
804 | 1 | ICE MACHINE | 120 | 1 | 10.8 |  | 1/2" |  |  | 3/4" |  |  |  |  | 4700 |  |  | 316LBS. AIR-COOLED
805 | - | SPARE NUMBER
806 | 1 | ICE BIN | [7 empty] | 1" | [7 empty] | 1818LBS
807 | 2 | ICE MACHINE | 120 | 1 | 11.5 |  | 1/2" |  |  | 3/4" |  |  |  |  | 4500 |  |  | 500LBS AIR COOLED CUBE ICE
808 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
809 | - | SPARE NUMBER
810 | - | SPARE NUMBER
811 | 2 | WATER FILTRATION SYSTEM |  |  |  |  | 3/4" |  |  | 1/2" | [7 empty] | FOR ITEM #807
812 | - | SPARE NUMBER
813 | 1 | BEVERAGE COOLER | 120 | 1 | 20
814 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
815 | - | SPARE NUMBER
816 | 1 | EVAPORATOR COIL | 120 | 1 | 1.8 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
817 | 5 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
818 | 1 | FOOD COOLER | 120 | 1 | 20
819 | - | SPARE NUMBER
820 | - | SPARE NUMBER
821 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
822 | 1 | EVAPORATOR COIL | 120 | 1 | 1.8 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
823 | 2 | DISPLAY DOORS | 120 | 1 | 10
824 | 2 | DISPLAY COOLER SHELVING
825 | - | SPARE NUMBER
826 | 2 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
827 | 1 | UTILITY RACK | [15 empty] | MOBILE
828 | - | SPARE NUMBER
829 | - | SPARE NUMBER
830 | - | SPARE NUMBER
831 | 1 | PREPARATION COUNTER WITH SINK | 120 | 1 | 40 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
832 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
833 | 1 | HIGH SPEED PANINI GRILL | 208 | 1 | 26
834 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS AND NSF7 RAIL PART OF ITEM #831
835 | - | SPARE NUMBER
836 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #831
837 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
838 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
839 | - | SPARE NUMBER
840 | - | SPARE NUMBER
841 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
842 | - | SPARE NUMBER
843 | - | SPARE NUMBER
844 | - | SPARE NUMBER
845-850 | - | SPARE NUMBERS
851 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
852 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
853 | 1 | POT SINK |  |  |  |  | (2)3/4" | (2)3/4" | 90 | (3)2" | [7 empty] | CUSTOM FABRICATION
854 | 1 | POT SHELF | [15 empty] | CUSTOM FABRICATION
855 | - | SPARE NUMBER
856 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
857 | 1 | PRE-RINSE UNIT |  |  |  |  | 1/2" | 1/2" | 50 | [8 empty] | WITH FAUCET
858 | 1 | UNDERCOUNTER DISH MACHINE | 208 | 1 | 30.5 |  | 1/2" |  |  | 1-1/2"
859 | - | SPARE NUMBER
860 | - | SPARE NUMBER
861 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
862 | 1 | MOP SINK CABINET |  |  |  |  | 1/2" | 1/2" | 30 |  | 2"
863 | 1 | TRASH COOLER | 120 | 1 | 20
864 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
865 | - | SPARE NUMBER
866 | 1 | EVAPORATOR COIL | 120 | 1 | 1.8 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
867 | 7 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
868 | - | SPARE NUMBER
869 | - | SPARE NUMBER
870-880 | - | SPARE NUMBERS
CAFE AREA
881 | 1 | BACK COUNTER WITH SINK | 120 | 1 | 40 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
882 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #881
883 | 1 | STAINLESS STEEL TRASH RECEPTACLE | [15 empty] | CUSTOM FABRICATION
884 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | CUSTOM FABRICATION WITH SOAP AND TOWEL DISPENSER PART OF ITEM #881
885 | - | SPARE NUMBER
886 | 1 | WALL CABINET | [15 empty] | MILLWORK / BY GENERAL CONTRACTOR
887 | 1 | COFFEE BREWER | 208 | 1 | 28.3 |  | 1/4" | [10 empty] | BY VENDOR
888 | 1 | COFFEE GRINDER | 120 | 1 | 11
889 | - | SPARE NUMBER
890 | - | SPARE NUMBER
891 | 1 | KNOCK BOX | [15 empty] | CUSTOM FABRICATION PART OF ITEM #881
892 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
893 | 1 | WATER CHILLER/CARBONATOR | 120 | 1 | 10 |  | 3/8"
894 | 1 | DISPENSING FAUCET | [15 empty] | PART OF ITEM #893
895 | - | SPARE NUMBER
896 | 1 | WATER FILTRATION SYSTEM |  |  |  |  | 3/8" | [10 empty] | FOR ITEM #893
897 | 1 | NITRO DISPENSING SYSTEM REFRIGERATED BASE | 120 | 1 | 20 |  |  |  |  | 1/2"
898 | 1 | NITRO DISPENSING TAP
899 | - | SPARE NUMBER
900 | - | SPARE NUMBER
901 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 3 | [12 empty] | MOBILE
902 | 1 | RAPID COOK OVEN | 208 | 1 | 16.8
903 | - | SPARE NUMBER
904 | - | SPARE NUMBER
905 | - | SPARE NUMBER
906 | 1 | PASTRY DISPLAY CASE | 120 | 1 | 0.7
907 | 1 | CAFE SERVING COUNTER | [15 empty] | CUSTOM FABRICATION
908 | 2 | POS SYSTEM | 120 | 1 | 20 | [12 empty] | BY OS&E
909 | - | SPARE NUMBER
910 | - | SPARE NUMBER
911 | 1 | ESPRESSO GRINDER | 120 | 1 | 7.5
912 | 2 | ESPRESSO SYSTEM | 208 | 1 | 15.9
913 | 1 | POUR OVER SYSTEM | 208 | 1 | 11
914 | 1 | DRIP TRAY | [7 empty] | 1"
915 | - | SPARE NUMBER
916 | 1 | PICK-UP COUNTER | [15 empty] | CUSTOM FABRICATION
917 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 2 | [12 empty] | MOBILE
918 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 2 | [12 empty] | MOBILE
919 | - | SPARE NUMBER
920 | - | SPARE NUMBER
921 | 4 | CONDIMENT BINS
922 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #916
923 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
924 | - | SPARE NUMBER
925 | - | SPARE NUMBER
926 | 1 | SERVICE COUNTER | 120 | 1 | 20 | [12 empty] | MILLWORK / BY GENERAL CONTRACTOR
927 | 2 | POS SYSTEM | 120 | 1 | 20 | [12 empty] | BY OS&E
928 | - | SPARE NUMBER
929 | - | SPARE NUMBER
930- 1000 | - | SPARE NUMBERS
BEVERAGE AREA
1001 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
1002 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
1003 | 1 | BEVERAGE COUNTER WITH SINKS | 120 | 1 | 40 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
1004 | 2 | GLASS FILLER SINK | [7 empty] | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #1003
1005 | 2 | GLASS FILLER FAUCET |  |  |  |  | 1/2" | 1/2" | 50 | [8 empty] | WITH FAUCET
1006 | 2 | COFFEE BREWER | 208 | 1 | 28.3 |  | 1/4" | [10 empty] | BY VENDOR
1007 | 1 | HOT WATER DISPENSER | 120 | 1 | 15 |  | 1/4"
1008 | 1 | ICED TEA BREWER | 120 | 1 | 14.4 |  | 1/4" | [10 empty] | BY VENDOR
1009 | - | SPARE NUMBER
1010 | - | SPARE NUMBER
1011 | 4 | GLASS RACK DISH DOLLY | [15 empty] | MOBILE
1012 | 1 | REACH-IN REFRIGERATOR | 120 | 1 | 5.9 | [12 empty] | MOBILE
1013 | 1 | ICE BIN | [7 empty] | 1"
1014 | 2 | ICE MACHINE | 120 | 1 | 11.5 |  | 1/2" |  |  | 3/4" |  |  |  |  | 4500 |  |  | 500LBS AIR COOLED CUBE ICE
1015 | - | SPARE NUMBER
1016 | 2 | WATER FILTRATION SYSTEM |  |  |  |  | 3/4" |  |  | 1/2" | [7 empty] | FOR ITEM #1014
1017 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
1018 | 5 | GLASS RACK DISH DOLLY | [15 empty] | MOBILE
1019 | - | SPARE NUMBER
1020 | - | SPARE NUMBER
1021 | 1 | BUSSING CART | [15 empty] | MOBILE
1022 | 3 | REACH-IN REFRIGERATOR | 120 | 1 | 5.9 | [12 empty] | MOBILE
1023 | 1 | REACH-IN FREEZER | 120 | 1 | 6 | [12 empty] | MOBILE
1024 | 1 | TRASH COUNTER | [15 empty] | CUSTOM FABRICATION
1025 | - | SPARE NUMBER
1026 | 2 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #1024
1027 | 2 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
1028 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
1029 | - | SPARE NUMBER
1030 | - | SPARE NUMBER
1031 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
1032 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
1033 | - | SPARE NUMBER
1034 | - | SPARE NUMBER
1035 | - | SPARE NUMBER
BANQUET KITCHEN AREA
1036 | 1 | BANQUET COOLER | 120 | 1 | 20
1037 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
1038 | 1 | LOW-PROFILE EVAPORATOR COIL | 120 | 1 | 1.7 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
1039 | - | SPARE NUMBER
1040 | - | SPARE NUMBER
1041 | 20 | UTILITY RACK | [15 empty] | MOBILE
1042 | 1 | BANQUET COOLER | 120 | 1 | 20
1043 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
1044 | 1 | LOW-PROFILE EVAPORATOR COIL | 120 | 1 | 1.7 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
1045 | - | SPARE NUMBER
1046 | 4 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
1047 | 6 | UTILITY RACK | [15 empty] | MOBILE
1048 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
1049 | - | SPARE NUMBER
1050 | - | SPARE NUMBER
1051 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
1052 | 1 | PREPARATION TABLE WITH SINK | 120 | 1 | 40 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
1053 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
1054 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
1055 | - | SPARE NUMBER
1056 | 2 | INDUCTION WARMER | 120 | 1 | 15
1057 | 1 | DOUBLE COMBI OVEN | 208 | 1 | 4.3 |  | (2)3/4" |  |  | (2)2" |  | 106500 | [5 empty] | MOBILE
1058 | 1 | VENTLESS EXHAUST SYSTEM
1059 | - | SPARE NUMBER
1060 | - | SPARE NUMBER
1061 | 1 | DOUBLE COMBI OVEN | 208 | 1 | 4.3 |  | (2)3/4" |  |  | (2)2" |  | 106500 | [5 empty] | MOBILE
1062 | 1 | VENTLESS EXHAUST SYSTEM
1063 | 1 | DOUBLE COMBI OVEN | 208 | 1 | 4.3 |  | (2)3/4" |  |  | (2)2" |  | 106500 | [5 empty] | MOBILE
1064 | 1 | VENTLESS EXHAUST SYSTEM
1065 | - | SPARE NUMBER
1066 | 1 | PREPARATION TABLE WITH SINK | 120 | 1 | 40 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
1067 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
1068 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
1069 | - | SPARE NUMBER
1070 | - | SPARE NUMBER
1071 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
1072 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
1073 | - | SPARE NUMBER
1074 | - | SPARE NUMBER
1075 | - | SPARE NUMBER
1076 | 1 | HEATED BANQUET CART | 120 | 1 | 10.8 | [12 empty] | MOBILE
1077 | 1 | PLATING TABLE | [15 empty] | CUSTOM FABRICATION MOBILE
1078 | 1 | DISH DOLLY
1079 | - | SPARE NUMBER
1080 | - | SPARE NUMBER
1081 | 1 | HEATED BANQUET CART | 120 | 1 | 10.8 | [12 empty] | MOBILE
1082 | 1 | PLATING TABLE | [15 empty] | CUSTOM FABRICATION MOBILE
1083 | 1 | DISH DOLLY
1084 | 2 | ROLL-IN REFRIGERATOR | 120 | 1 | 11.8
1085 | - | SPARE NUMBER
1086 | 4 | UTILITY RACK | [15 empty] | MOBILE
1087 | 1 | WORK TABLE | 120 | 1 | 40 | [12 empty] | CUSTOM FABRICATION
1088 | 2 | DISH DOLLY
1089 | - | SPARE NUMBER
1090 | - | SPARE NUMBER
1090- 1100 | - | SPARE NUMBERS
WAREWASHING AREA
1101 | 2 | QUEEN MARY CART | [15 empty] | MOBILE
1102 | 1 | SOILED DISH TABLE | [15 empty] | CUSTOM FABRICATION WITH SINK TROUGH AND BRIDGES
1103 | 2 | SILVERWARE CHUTE | [15 empty] | CUSTOM FABRICATION
1104 | 2 | SILVER SOAK SINK | [15 empty] | MOBILE
1105 | - | SPARE NUMBER
1106 | 1 | DOUBLE SIDED GLASS RACK SHELF | [15 empty] | CUSTOM FABRICATION PART OF ITEM #1102
1107 | 2 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
1108 | 1 | FOOD WASTE COLLECTOR | 208 | 3 | 3.2 |  | 1/2" | 1/2" | 15 |  | 1/2" | [6 empty] | WITH COVER
1109 | - | SPARE NUMBER
1110 | - | SPARE NUMBER
1111 | 1 | PRE-RINSE UNIT |  |  |  |  | 1/2" | 1/2" | 50 | [8 empty] | WITH FAUCET
1112 | 1 | VENT DUCT LOAD END | [10 empty] | 200 |  |  |  |  | CUSTOM FABRICATION
1113 | 1 | DISH MACHINE | 480 | 3 | 79.2 |  |  | 1/2" | 114 | 2" | [7 empty] | 180°F RINSE
1114 | 1 | VENT DUCT UNLOAD END | [10 empty] | 400 |  |  |  |  | CUSTOM FABRICATION
1115 | - | SPARE NUMBER
1116 | 2 | HOSE REEL | [15 empty] | CEILING MOUNT
1117 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
1118 | 1 | CLEAN DISH TABLE | [15 empty] | CUSTOM FABRICATION
1119 | - | SPARE NUMBER
1120 | - | SPARE NUMBER
1121 | 1 | GLASS RACK SHELF | [15 empty] | CUSTOM FABRICATION WALL MOUNTED
1122 | 3 | DISH DOLLY
1123 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
1124 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
1125 | - | SPARE NUMBER
1126 | 1 | GLASS POLISH TABLE | [15 empty] | CUSTOM FABRICATION
1127 | 1 | GLASS RACK SHELF | [15 empty] | CUSTOM FABRICATION WALL MOUNTED
1128 | 2 | GLASS RACK DISH DOLLY | [15 empty] | MOBILE
1129 | - | SPARE NUMBER
1130 | - | SPARE NUMBER
1131 | 1 | DISH MACHINE | 208 | 3 | 60 |  | 3/4" |  |  | 1-1/2" |  |  |  |  | 3700 |  |  | 180° RINSE VENTLESS
1132 | 1 | CLEAN DISH TABLE | [15 empty] | CUSTOM FABRICATION
1133 | 1 | GLASS RACK SHELF | [15 empty] | CUSTOM FABRICATION WALL MOUNTED
1134 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
1135 | - | SPARE NUMBER
1136 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
1137 | 2 | HOSE REEL CONTROL CABINET |  |  |  |  | 1/2" | 1/2" | 25 | [8 empty] | FOR ITEM #916
1138 | - | SPARE NUMBER
1139 | - | SPARE NUMBER
1140 | - | SPARE NUMBER
1141 | 10 | CLEAN DISH STORAGE SHELVING | [15 empty] | FIXED FIVE TIER
1142 | 2 | DETERGENT STORAGE SHELVING | [15 empty] | FIXED FIVE TIER
1143 | 1 | REVERSE OSMOSIS SYSTEM |  |  |  |  | 3/8" |  | 10.3 | 1/4" | [7 empty] | 250 GPD WITH STORAGE TANK FOR ITEM #1057 #1061 #1063
1144 | 1 | REVERSE OSMOSIS STORAGE TANK |  |  |  |  | 1/2" | [10 empty] | 40 GALLON FOR ITEM #1143
1145 | - | SPARE NUMBER
1146 | 1 | MOP SINK | [8 empty] | 2" | [6 empty] | BY GENERAL CONTRACTOR
1147 | 1 | HOSE BIBB |  |  |  |  | 1/2" | 1/2" | [9 empty] | BY GENERAL CONTRACTOR
1148 | 1 | WALL SHELF | [15 empty] | CUSTOM FABRICATION
1149 | - | SPARE NUMBER
1150 | - | SPARE NUMBER
1151 | 1 | MOP RACK | [15 empty] | BY GENERAL CONTRACTOR
1152 | - | SPARE NUMBER
1153 | - | SPARE NUMBER
1154 | - | SPARE NUMBER
1155- 1200 | - | SPARE NUMBERS
FINISHING KITCHEN
1301 | 1 | FINISH COOLER | 120 | 1 | 20
1302 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
1303 | 1 | EVAPORATOR COIL | 120 | 1 | 1.8 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
1304 | 3 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
1305 | - | SPARE NUMBER
1306 | 1 | COOLER CONDENSING UNIT | 208 | 3 | 4.7 | [9 empty] | 1000 | 1/2" | 1/2" | INDOOR WATER-COOLED ON EMERGENCY POWER
1307 | 1 | COLD PREPARATION TABLE WITH SINK | 120 | 1 | 20 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
1308 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
1309 | - | SPARE NUMBER
1310 | - | SPARE NUMBER
1311 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS AND NSF7 RAIL PART OF ITEM #1307
1312 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #1307
1313 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
1314 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
1315 | - | SPARE NUMBER
1316 | 1 | COLD PREPARATION COUNTER | 120 | 1 | 20 | [12 empty] | CUSTOM FABRICATION
1317 | 1 | DOUBLE OVERSHELF | [15 empty] | CUSTOM FABRICATION PART OF ITEM #1326
1318 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DOOR DRAWERS AND NSF7 RAIL PART OF ITEM #1326
1319 | - | SPARE NUMBER
1320 | - | SPARE NUMBER
1321 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #1326
1322 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
1323 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
1324 | 1 | EXHAUST HOOD | 120 | 1 | 20 | [12 empty] | WITH MAKE-UP AIR
1325 | - | SPARE NUMBER
1326 | 1 | DOUBLE COMBI OVEN | 208 | 1 | 4.3 |  | (2)3/4" |  |  | (2)2" |  | 106500 | [5 empty] | MOBILE
1327 | 1 | SALAMANDER | [9 empty] | 35000
1328 | 1 | MODULAR SIX BURNER RANGE | [9 empty] | 210000
1329 | - | SPARE NUMBER
1330 | - | SPARE NUMBER
1331 | 1 | MODULAR GRIDDLE | [9 empty] | 60000
1332 | 1 | REFRIGERATED EQUIPMENT STAND | 120 | 1 | 12.6 | [12 empty] | MOBILE
1333 | 1 | FRYER | 120 | 1 | 0.7 | [6 empty] | 80000 | [5 empty] | MOBILE
1334 | 1 | SPREADER CABINET | [15 empty] | CUSTOM FABRICATION
1335 | - | SPARE NUMBER
1336 | 1 | REACH-IN REFRIGERATOR/FREEZER | 120 | 1 | 12 | [12 empty] | MOBILE
1337 | 1 | CHEFS COUNTER WITH SINK | 120 | 1 | 40 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
1338 | 1 | DOUBLE OVERSHELF | [15 empty] | CUSTOM FABRICATION PART OF ITEM #1337
1339 | - | SPARE NUMBER
1340 | - | SPARE NUMBER
1341 | 1 | UNDERCOUNTER PASS-THRU REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DOORS PART OF ITEM #1337
1342 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #1342
1343 | 1 | FOOD WARMER | 120 | 1 | 9.2
1344 | 1 | POS PRINTER | 120 | 1 | 5 | [12 empty] | BY OS&E
1345 | - | SPARE NUMBER
1346 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS AND NSF7 RAIL PART OF ITEM #1337
1347 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #1337
1348 | 1 | FOOD WARMER | 120 | 1 | 11.7
1349 | - | SPARE NUMBER
1350 | - | SPARE NUMBER
1351 | 1 | POS PRINTER | 120 | 1 | 5 | [12 empty] | BY OS&E
1352 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
1353 | 1 | WHITE WINE REFRIGERATOR | 120 | 1 | 1.5 | [12 empty] | 165 BOTTLE CAPACITY
1354 | 1 | RED WINE REFRIGERATOR | 120 | 1 | 1.5 | [12 empty] | 165 BOTTLE CAPACITY
1355 | - | SPARE NUMBER
1356 | 1 | REACH-IN REFRIGERATOR | 120 | 1 | 5.9 | [12 empty] | MOBILE
1357 | 1 | FIRE SUPPRESSION SYSTEM | 120 | 1 | 20 | [12 empty] | FOR ITEM #1324
1358 | - | SPARE NUMBER
1359 | - | SPARE NUMBER
1360 | - | SPARE NUMBER
WAREWASHING AREA
1361 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
1362 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
1363 | 1 | SOILED DISH TABLE WITH SINK | [7 empty] | 2" | [7 empty] | CUSTOM FABRICATION
1364 | 1 | DISH DROP WINDOW WITH SHELF | [15 empty] | CUSTOM FABRICATION
1365 | - | SPARE NUMBER
1366 | 1 | SILVERWARE CHUTE | [15 empty] | CUSTOM FABRICATION
1367 | 1 | SILVER SOAK SINK | [15 empty] | MOBILE
1368 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
1369 | - | SPARE NUMBER
1370 | - | SPARE NUMBER
1371 | 1 | DISH MACHINE | 208 | 3 | 60 |  | 3/4" |  |  | 1-1/2" |  |  |  |  | 3700 |  |  | 180° RINSE VENTLESS
1372 | 1 | CLEAN DISH TABLE | [15 empty] | CUSTOM FABRICATION
1373 | 1 | GLASS RACK SHELF | [15 empty] | CUSTOM FABRICATION WALL MOUNTED
1374 | 1 | POT SINK |  |  |  |  | (2)3/4" | (2)3/4" | 90 | (3)2" | [7 empty] | CUSTOM FABRICATION
1375 | - | SPARE NUMBER
1376 | 1 | POT SHELF | [15 empty] | CUSTOM FABRICATION
1377 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
1378 | 1 | PRE-RINSE UNIT |  |  |  |  | 1/2" | 1/2" | 50 | [8 empty] | WITH FAUCET
1379 | - | SPARE NUMBER
1380 | - | SPARE NUMBER
1381 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
1382 | 1 | MOP SINK CABINET |  |  |  |  | 1/2" | 1/2" | 30 |  | 2"
1383 | - | SPARE NUMBER
1384 | - | SPARE NUMBER
1385 | - | SPARE NUMBER
BEVERAGE STORAGE AREA
1386 | 1 | BEVERAGE COOLER | 120 | 1 | 20
1387 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
1388 | 1 | EVAPORATOR COIL | 120 | 1 | 1.8 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
1389 | - | SPARE NUMBER
1390 | - | SPARE NUMBER
1391 | 4 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
1392 | 1 | COOLER CONDENSING UNIT | 208 | 3 | 4.7 | [9 empty] | 1000 | 1/2" | 1/2" | INDOOR WATER-COOLED ON EMERGENCY POWER
1393 | 2 | WINE STORAGE SHELVING | [15 empty] | FIXED FOURTEEN TIER
1394 | 2 | BEVERAGE STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
1395 | - | SPARE NUMBER
1396 | 1 | ICE BIN | [7 empty] | 1" | [7 empty] | 1818LBS
1397 | 2 | ICE MACHINE | 120 | 1 | 11.5 |  | 1/2" |  |  | 3/4" |  |  |  |  | 4500 |  |  | 500LBS AIR COOLED CUBE ICE
1398 | 2 | WATER FILTRATION SYSTEM |  |  |  |  | 3/4" |  |  | 1/2" | [7 empty] | FOR ITEM #1397
1399 | - | SPARE NUMBER
1400 | - | SPARE NUMBER
1401 | 1 | ICE MACHINE | 120 | 1 | 10.8 |  | 1/2" |  |  | 3/4" |  |  |  |  | 4700 |  |  | 316LBS. AIR-COOLED
1402 | 1 | WATER FILTRATION SYSTEM |  |  |  |  | 3/4" |  |  | 1/2" | [7 empty] | FOR ITEM #1401
1403 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
1404 | - | SPARE NUMBER
1405- 1500 | - | SPARE NUMBERS
Total