## Sheet
BULK STORAGE AREA
June 18, 2024
Item | Qty | Description | Model | Unit Cost | Total | Remarks
1 | 1 | AIR CURTAIN | Standard Series 2 Air Curtain, for 48" wide door, unheated, UVC/HCP, includes magnetic switch (99-018) and 24v control, galvanized steel cabinet, obsidian black powder coat finish, (1) 1/2 HP motor, 115v/60/1-ph, 550 watts, cord & plug, 5.1 amps, cETLus | 1657.5 | 1657.5 | Column Missing
2 | 1 | WORK SURFACE | MILLWORK/ BY GENERAL CONTRACTOR | 0 | 0 | Column Missing
3 | 1 | WALL CABINET | MILLWORK/ BY GENERAL CONTRACTOR | 0 | 0 | Column Missing
4 | 1 | COMPUTER | BY OS&E | 0 | 0 | Column Missing
5 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
5 | 1 | LABEL PRINTER | BY OS&E | 0 | 0 | Column Missing
6 | 1 | CHAIR | BY OS&E | 0 | 0 | Column Missing
7 | 1 | INSECT CONTROL |  | 1495 | 1495 | Column Missing
8 | 6 | DRY STORAGE SHELVING | Convenient Shelving Unit Pack, 4-tier, 36"W x 18"D x 72"H, 300 lb. load capacity per shelf, includes: (4) wire shelves, (4) posts, & (4) packs of split sleeves (4 pairs each), chrome plated finish, NSF, shipped KD | 200.835 | 1205.01 | Column Missing
9 | 2 | Dunnage Rack | Quick Ship - Metro Bow-Tie™ Dunnage Rack, 22" x 36" x 12"H, slotted, with separate polymer tie for joining racks, corrosion proof polymer construction, NSF | 178 | 356 | Column Missing
9 | 2 | DUNNAGE RACK | HD Super™ Dunnage Rack, 16-1/4"H, 48"W x 18"D, holds up to 3000 lb., 1-5/8"D post, includes: cap & leveling bolt, chrome | 399 | 798 | Column Missing
10 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
11 | 2 | CO2 TANK | BY VENDOR | 0 | 0 | Column Missing
12 | 1 | SODA BAG IN BOX RACK | BY VENDOR | 0 | 0 | Column Missing
13 | 1 | FLOOR TROUGH AND GRATE |  | 0 | 0 | Column Missing
14 | 1 | WALK-IN COOLER |  | 0 | 0 | Column Missing
15 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
16 | 1 | COOLER CONDENSING UNIT |  | 0 | 0 | Column Missing
17 | 1 | FREEZER CONDENSING UNIT |  | 0 | 0 | Column Missing
18 | 1 | EVAPORATOR COIL |  | 0 | 0 | Column Missing
19 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
20 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
21 | 4 | COOLER STORAGE SHELVING | Mobile Cart, 36"W x 18"D x 69"H, includes: (5) wire shelves, (4) 63"H posts, (4) donut bumpers, & (4) 5" thermoplastic resin casters (2 with brakes), green epoxy antimicrobial coating | 372.57 | 1490.28 | Column Missing
| 4 |  | Casters, set of (4) 5" swivel (2 with brakes), polyurethane & stainless steel | 416.495 | 1665.98 | Column Missing
22 | 1 | WALK-IN FREEZER |  | 0 | 0 | Column Missing
23 | 1 | EVAPORATOR COIL |  | 0 | 0 | Column Missing
24 | 5 | FREEZER STORAGE SHELVING | Mobile Cart, 36"W x 18"D x 69"H, includes: (5) wire shelves, (4) 63"H posts, (4) donut bumpers, & (4) 5" thermoplastic resin casters (2 with brakes), green epoxy antimicrobial coating | 372.57 | 1862.85 | Column Missing
| 5 |  | Casters, set of (4) 5" swivel (2 with brakes), polyurethane & stainless steel | 416.495 | 2082.475 | Column Missing
25 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
26 | 1 | Hand Sink | Hand Sink, wall mount, 14" wide x 10" front-to-back x 5" deep bowl, 304 stainless steel construction, splash mount gooseneck faucet, lever drain, deep-drawn seamless design-positive drain, inverted "V" edge, NSF | 891 | 891 | Column Missing
27 | 1 | TRASH RECEPTACLE | Slim Jim® Container, 23 gallon, 22"W x 11"D x 30"H, with venting channels, molded-in handles, general purpose waste, open type without lid, high-impact plastic construction, gray, Made in USA | 61.27 | 61.27 | Column Missing
28 | 1 | PREPARATION TABLE WITH SINKS |  | 0 | 0 | Column Missing
29 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
30 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
30 | 1 | POS PRINTER | BY OS&E | 0 | 0 | Column Missing
31 | 1 | TRASH RECEPTACLE | ProSave® Brute® Container, without lid, 20 gallon, 19-1/2"D x 22-7/8"H, round, reinforced rims, built in handles, double rimmed base, high-impact plastic construction, gray, NSF | 32.256 | 32.256 | Column Missing
| 1 | Trash Receptacle, Dolly | Brute® Dolly, 18-1/4"D x 6-5/8"H, heavy duty 3" casters, 250 lb. capacity, for 2620, 2632, 2643, 2655, black | 59.052 | 59.052 | Column Missing
| 1 | Trash Receptacle Lid / Top | ProSave® Sliding Container Lid, fits container Brute® 2620, 20-3/4" dia. x 5"H, includes 3 cup portioning scoop (9G52), clear rotating sliding door, dishwasher safe, white, NSF, S.O.S. (Special Order Smallwares) product; see SOS document for details | 69.2895 | 69.2895 | Column Missing
32 | 1 | DOUBLE WALL SHELF |  | 0 | 0 | Column Missing
PREPARATION AREA
33 | 1 | FLOOR TROUGH AND GRATE |  | 0 | 0 | Column Missing
34 | 1 | ICE MACHINE | Prodigy ELITE® Ice Maker, cube style, air-cooled, no condenser (remote), production capacity up to 500 lb/24 hours at 70°/50° (400 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, 115v/60/1-ph, 16.2 amps, cULus, NSF, engineered and assembled in USA | 4357 | 4357 | Column Missing
| 1 |  | NOTE: Sale of this product must comply with Scotsman's MSRP Policy; contact your Scotsman representative for details | 0 | 0 | Column Missing
| 1 |  | 3 year parts & labor warranties | 0 | 0 | Column Missing
| 1 |  | 5 year parts & labor warranties on Evaporator | 0 | 0 | Column Missing
| 1 |  | 5 year parts on compressor & condenser | 0 | 0 | Column Missing
34 | 1 | ICE MACHINE | Prodigy ELITE® Ice Maker, cube style, water-cooled, self-contained condenser, production capacity up to 500 lb/24 hours at 70°/50° (410 lb AHRI certified at 90°/70°), medium cube size, ICELINQ® mobile app, Bluetooth® connectivIty, preservation mode, external bin full indicator, AutoAlert™ indicating lights, WaterSense adjustable purge control, one-touch cleaning, harvest assist, unit specific QR code, stainless steel finish, AgION™ antimicrobial protection, 115v/60/1-ph, 13.5 amps, cULus, NSF, engineered and assembled in USA | 4482 | 4482 | Column Missing
| 1 |  | NOTE: Sale of this product must comply with Scotsman's MSRP Policy; contact your Scotsman representative for details | 0 | 0 | Column Missing
| 1 |  | 3 year parts & labor warranties | 0 | 0 | Column Missing
| 1 |  | 5 year parts & labor warranties on Evaporator | 0 | 0 | Column Missing
| 1 |  | 5 year parts on compressor & condenser | 0 | 0 | Column Missing
35 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
36 | 1 | ICE BIN | Ice Bin, top-hinged front-opening door, 536 lb application capacity, for top-mounted ice maker, 30" width, metallic finish exterior, toolless removable baffle, polyurethane insulation, polyethylene liner, includes 6" legs, NSF, engineered and assembled in USA | 1627 | 1627 | Column Missing
| 1 |  | NOTE: Sale of this product must comply with Scotsman's MSRP Policy; contact your Scotsman representative for details | 0 | 0 | Column Missing
| 1 |  | 3 year parts & labor warranties | 0 | 0 | Column Missing
36 | 1 | Ice Bin Shuttle System | Ice Express Transport System, side-hinged front door & (1) bay for (1) roll under cart (included), 652 lb ice storage capacity, for top-mounted ice maker, stainless steel exterior, polyurethane insulation, polyethylene liner, NSF, engineered and assembled in USA, includes universal bin adapter for most applications, includes paddle with hanger | 9875.5 | 9875.5 | Column Missing
| 1 |  | NOTE: Sale of this product must comply with Scotsman's MSRP Policy; contact your Scotsman representative for details | 0 | 0 | Column Missing
| 1 |  | 5 year parts & labor warranties | 0 | 0 | Column Missing
| 1 |  | NOTE: Bins include universal bin top filler panels for use with most applications | 0 | 0 | Column Missing
37 | 1 | ICE CART | Replacement poly cart for Ice Express Transport System, ice storage capacity up to 250 lb, engineered and assembled in USA | 2756.5 | 2756.5 | Column Missing
38 | 1 | WATER FILTRATION SYSTEM | AquaPatrol™ Plus Water Filtration System, single system, 2.1 gallons per minute max flow, designed for cubers up to 650 lb, and for flakers, nuggets & nugget dispensers up to 1,200 lb, cULus, NSF | 298 | 298 | Column Missing
| 1 |  | NOTE: Sale of this product must comply with Scotsman's MSRP Policy; contact your Scotsman representative for details | 0 | 0 | Column Missing
39 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
40 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
41 | 1 | MOBILE PREPARATION TABLE |  | 0 | 0 | Column Missing
42 | 1 | MOBILE PREPARATION TABLE |  | 0 | 0 | Column Missing
43 | 1 | TRASH RECEPTACLE | Slim Jim® Container, 23 gallon, 22"W x 11"D x 30"H, with venting channels, molded-in handles, general purpose waste, open type without lid, high-impact plastic construction, gray, Made in USA | 61.27 | 61.27 | Column Missing
44 | 1 | Hand Sink | Hand Sink, wall mount, 14" wide x 10" front-to-back x 5" deep bowl, 304 stainless steel construction, splash mount gooseneck faucet, lever drain, deep-drawn seamless design-positive drain, inverted "V" edge, NSF | 891 | 891 | Column Missing
45 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
COOKING AREA
46 | 1 | UTILITY RACK | Bun Pan Rack, mobile, full height, end loading, open sides, accommodates (20) 18" x 26" pans, slides on 3" centers, all welded aluminum construction, (4) 5" platform casters, NSF, Made in USA | 539 | 539 | Column Missing
| 1 |  | Lifetime warranty against rust & corrosion, 5 year workmanship and material defects warranty, standard | 0 | 0 | Column Missing
| 1 |  | 5" platform type casters, std. | 0 | 0 | Column Missing
| 1 |  | Perimeter bumper, non-marking gray rubber strip, adds 2" to length & width (MUST BE FACTORY INSTALLED) | 170.5 | 170.5 | Column Missing
47 | 1 | Reach-In Freezer | SPEC SERIES® Freezer, reach-in, -10°F, one-section, (1) stainless steel door with lock, cam-lift hinges, digital temperature control, (3) chrome shelves, LED interior lights, stainless steel front & sides, aluminum interior, 5" castors, R290 Hydrocarbon refrigerant, 1/2 HP, 115v/60/1-ph, 6.0 amps, NEMA 5-15P, cULus, UL EPH Classified, Made in USA | 10862 | 10862 | Column Missing
| 1 |  | 7 year compressor warranty, 7 years parts warranty, 7 year labor warranty, standard. Visit www.truemfg.com for specifics. | 0 | 0 | Column Missing
| 1 |  | Door hinged right standard | 0 | 0 | Column Missing
| 1 |  | (3) chrome shelves & shelf supports standard per section | 0 | 0 | Column Missing
| 1 |  | 5" castors (set of 4), standard | 0 | 0 | Column Missing
47 | 1 | Reach-In Freezer | Freezer, reach-in, one-section, 20 cu. ft., self-contained refrigeration, stainless steel front, aluminum interior & ends, standard depth, full-height solid door, cylinder lock, LED interior lighting, electronic control with digital display, unit can be adjusted to operate as low as -10°F, hi-low alarm, electric condensate evaporator, R290 Hydrocarbon refrigerant, 1/2 HP, cETLus, NSF, ENERGY STAR® | 6591 | 6591 | Column Missing
| 1 |  | Standard warranty (for the United States & Canada Only): 6 year parts and labor; additional 1 year compressor part | 0 | 0 | Column Missing
| 1 |  | 115v/60/1-ph, 7.6 amps, cord, NEMA 5-15P, standard | 0 | 0 | Column Missing
| 1 |  | Door hinged on right, standard | 0 | 0 | Column Missing
| 1 |  | 5" Casters, standard | 0 | 0 | Column Missing
48 | 1 | EXHAUST HOOD |  | 0 | 0 | Column Missing
49 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
50 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
51 | 1 | CONVECTION OVEN | Convection Oven, gas, (1) deck, bakery depth, manual controls, (2) speed fan motor, dual open 60/40 doors, window, (5) racks, interior lights, porcelain interior, stainless steel front, sides, doors, top & legs, 120v/50/60/1-ph, 9.0 amps, 1/2 HP, 80,000 BTU, cETLus, NSF, CE, CSA Flame, CSA Star | 8041.5 | 8041.5 | Column Missing
| 1 |  | Limited one year parts and labor warranty, standard | 0 | 0 | Column Missing
| 1 |  | Gas type to be specified | 0 | 0 | Column Missing
| 1 |  | Swivel casters (set of 4) two with brakes, per set | 466 | 466 | Column Missing
| 1 |  | Quick disconnect & flex hose with restraining device, 3/4" N.P.T. x 48" | 742 | 742 | Column Missing
51 | 1 | DOUBLE CONVECTION OVEN | Convection Oven, electric, (2) deck, manual controls, (2) speed fan motor, dual open 60/40 doors, window, (5) racks per deck, interior lights, stainless steel front, sides, doors, top & legs, cETLus, ETL-Sanitation, CE | 14474.5 | 14474.5 | Column Missing
| 1 |  | Limited one year parts and labor warranty, standard | 0 | 0 | Column Missing
| 1 |  | (2) 208v/50/60/3-ph, 31.0 amps, 11.0 kW | 0 | 0 | Column Missing
| 1 |  | Swivel casters (set of 4) two with brakes, per set | 466 | 466 | Column Missing
52 | 1 | SIX BURNER RANGE | Spec Series Heavy Duty Range, gas, 36"W, (6) open burners, cast iron "S" grates (standard), standard oven, (1) chrome rack, manual controls, removable crumb tray, stainless steel front, sides, 5"D landing ledge, backguard & kick plate, 6" legs with adjustable feet, 280,000 BTU, 82kW, cETLus, NSF | 10021.5 | 10021.5 | Column Missing
| 1 |  | Limited one year parts and labor warranty, standard | 0 | 0 | Column Missing
| 1 |  | Gas type to be specified | 0 | 0 | Column Missing
| 1 |  | Standard with 1-1/4" front manifold | 0 | 0 | Column Missing
52 | 1 | SIX BURNER RANGE | Spec Series Heavy Duty Range, electric, 36", (6) round elements, solid top, (1) standard oven, (1) chrome rack, splatter screen, infinite heat controls, porcelain oven interior, stainless steel front, sides, backguard, landing ledge & kick plate, 6" legs, adjustable feet, cETLus, ETL-Sanitation, CE | 12557 | 12557 | Column Missing
| 1 |  | Limited one year parts and labor warranty, standard | 0 | 0 | Column Missing
| 1 |  | 208v/60/3-ph, 49.0 amps, 17.3 kW | 0 | 0 | Column Missing
| 1 |  | 6" Stainless steel stub back, standard | 0 | 0 | Column Missing
| 1 |  | Swivel casters (set of 4) two with brakes, per set | 466 | 466 | Column Missing
53 | 1 | GRIDDLE | Griddle, countertop, gas, 48" W x 24" D cooking surface, (4) griddle burners, 3/4" thick, smooth polished steel plate, aeration baffles, manual controls, continuous pilot, 4" wide grease gutter, removable 1 gallon grease can with weep hole, stainless steel front, sides, ledge & splash guards, 4" stainless steel, legs, 120,000 BTU, 35kW, cETLus, NSF | 5114 | 5114 | Column Missing
| 1 |  | Limited one year parts and labor warranty, standard | 0 | 0 | Column Missing
| 1 |  | Gas type to be specified | 0 | 0 | Column Missing
| 1 |  | Equipment Stand, 48", undershelf, stainless steel construction | 1563.5 | 1563.5 | Column Missing
| 1 |  | Swivel casters (set of 4) two with brakes, per set | 466 | 466 | Column Missing
| 1 |  | Quick disconnect & flex hose with restraining device, 3/4" N.P.T. x 48" | 742 | 742 | Column Missing
53 | 1 | GRIDDLE | Griddle, electric, countertop, 48" W x 24" D cooking surface, 1/2" thick, polished steel plate, thermostatic controls, 4"W grease trough, removable grease can, stainless steel front, sides, splash guard & ledge, 4" legs, cETLus, ETL-Sanitation, CE | 8142.5 | 8142.5 | Column Missing
| 1 |  | Limited one year parts and labor warranty, standard | 0 | 0 | Column Missing
| 1 |  | 208v/60/3-ph, 58.0 amps, 16.0 kW | 0 | 0 | Column Missing
| 1 |  | Equipment Stand, 48", undershelf, stainless steel construction | 1563.5 | 1563.5 | Column Missing
54 | 1 | FIRE SUPPRESSION SYSTEM |  | 8750 | 8750 | Column Missing
55 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
55 | 2 | MICROWAVE OVEN | PRO1 Commercial Microwave Oven, heavy volume, 1700 Watts, 0.6 cu. ft. capacity, compact, (15) power levels, 5-stage cooking, 30 program memory capacity, self-diagnostics, oven cycle counter, LCD digital display with countdown, see-thru left hinged door, programmable lock, stackable, LED interior light, cULus, NSF | 1315 | 2630 | Column Missing
| 2 |  | 1 year parts & labor warranty and 3 year magnetron warranty (labor for magnetron replacement is not covered in years 2 and 3) | 0 | 0 | Column Missing
| 2 |  | 208v/60/1-ph, 13.6 amps, NEMA 6-15P | 0 | 0 | Column Missing
56 | 1 | WORK TABLE |  | 0 | 0 | Column Missing
57 | 1 | TRASH RECEPTACLE | Slim Jim® Container, 23 gallon, 22"W x 11"D x 30"H, with venting channels, molded-in handles, general purpose waste, open type without lid, high-impact plastic construction, gray, Made in USA | 61.27 | 61.27 | Column Missing
58 | 1 | Hand Sink | Hand Sink, wall mount, 14" wide x 10" front-to-back x 5" deep bowl, 304 stainless steel construction, splash mount gooseneck faucet, lever drain, deep-drawn seamless design-positive drain, inverted "V" edge, NSF | 891 | 891 | Column Missing
59 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
59 | 1 | POS PRINTER | BY OS&E | 0 | 0 | Column Missing
60 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
61 | 1 | DRY STORAGE SHELVING | Convenient Shelving Unit Pack, 4-tier, 36"W x 18"D x 72"H, 300 lb. load capacity per shelf, includes: (4) wire shelves, (4) posts, & (4) packs of split sleeves (4 pairs each), chrome plated finish, NSF, shipped KD | 200.835 | 200.835 | Column Missing
62 | 1 | POT AND PAN DRYING RACK | Reel Shelving Cart, 36"W x 18"D x 69"H, includes: (2) 15-reel & (3) 78-reel wire shelves, (4) conductive swivel casters (2 with brakes) & drag chain, chrome plated finish | 534.22 | 534.22 | Column Missing
63 | 1 | Hand Sink | Hand Sink, wall mount, 14" wide x 10" front-to-back x 5" deep bowl, 304 stainless steel construction, splash mount gooseneck faucet, lever drain, deep-drawn seamless design-positive drain, inverted "V" edge, NSF | 891 | 891 | Column Missing
64 | 1 | TRASH RECEPTACLE | Slim Jim® Container, 23 gallon, 22"W x 11"D x 30"H, with venting channels, molded-in handles, general purpose waste, open type without lid, high-impact plastic construction, gray, Made in USA | 61.27 | 61.27 | Column Missing
65 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
66 | 1 | POT SINK |  | 0 | 0 | Column Missing
67 | 1 | TRASH RECEPTACLE | ProSave® Brute® Container, without lid, 20 gallon, 19-1/2"D x 22-7/8"H, round, reinforced rims, built in handles, double rimmed base, high-impact plastic construction, gray, NSF | 32.256 | 32.256 | Column Missing
| 1 | Trash Receptacle, Dolly | Brute® Dolly, 18-1/4"D x 6-5/8"H, heavy duty 3" casters, 250 lb. capacity, for 2620, 2632, 2643, 2655, black | 59.052 | 59.052 | Column Missing
| 1 | Trash Receptacle Lid / Top | ProSave® Sliding Container Lid, fits container Brute® 2620, 20-3/4" dia. x 5"H, includes 3 cup portioning scoop (9G52), clear rotating sliding door, dishwasher safe, white, NSF, S.O.S. (Special Order Smallwares) product; see SOS document for details | 69.2895 | 69.2895 | Column Missing
68 | 1 | POT SHELF |  | 0 | 0 | Column Missing
69 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
70 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
71 | 1 | UNDER-COUNTER DISH MACHINE | Dishwasher, undercounter, 24"W x 25"D x 33-3/4"H, high temperature sanitizing, with StemsSure™ soft start to protect glasses & dishes from chipping & breaking, (40) racks per hour capacity, 90 second cycle, top mounted controls with prime switch, 15-3/4"H door opening, door safety switch, advanced digital thermometer monitoring, stainless steel top & side panels, quiet double-wall construction, detergent & rinse aid pumps, automatic drain cycle, pumped drain, built-in electric booster for 180°F final rinse water (standard 70°F/39°C rise), rinse sentry – extends the cycle time to ensure 180°F final rinse, low-water tank heat protection, automatic tank fill, (1) peg rack, (1) flat rack, 1 HP wash pump motor, Water pressure regulating valve (unmounted), Shear Energy – a reduction in energy requirements while maximizing performance, Multi-Power – includes: Multi-Volt & Multi-Phase (Allows for infield conversion to 208-240 volt and/or single to three phase with ease), NSF, cETLus, ENERGY STAR® | 6391 | 6391 | Column Missing
| 1 |  | 1 year parts & labor warranty, standard | 0 | 0 | Column Missing
| 1 |  | 9kW booster, 100°F Rise | 598.5 | 598.5 | Column Missing
| 1 |  | 208-240v/60/1-ph, 9kW booster (3 wire plus ground required) | 0 | 0 | Column Missing
| 1 |  | Drain water tempering kit (un-mounted) | 252 | 252 | Column Missing
| 1 |  | Roller Kit, 1", set of (4) casters, (2) braked | 154 | 154 | Column Missing
71 | 1 | UNDER-COUNTER DISH MACHINE | Centerline Dishwasher, undercounter, 22 11/16"W x 24"D x 32 5/16"H, high temperature sanitizing, (24) racks/hr, fresh water rinse, .84 gal/rack, Delime Notification with Cycle, service diagnostics with error notifications, soft start, detergent & rinse aid pumps, 208-240v/60/1-ph, 24.2-27.5 amps, ships with (1) peg rack and (1) combo rack, cULus, NSF, ENERGY STAR® (Pricing options available, please contact your local rep for more information) (NET price shown) | 4795 | 4795 | Column Missing
| 1 |  | Standard warranty - 1-Year parts, labor & travel time during normal working hours within the USA | 0 | 0 | Column Missing
| 1 |  | NOTE: Hobart suggests adding a water softener. Hobart recommends a total of 2 water softeners (one for the incoming hot water line, one for the incoming cold water line) for all Centerline dishwashers. | 0 | 0 | Column Missing
72 | 1 | FLOOR TROUGH AND GRATE |  | 0 | 0 | Column Missing
73 | 1 | CLEAN DISH STORAGE SHELVING | Convenient Shelving Unit Pack, 4-tier, 36"W x 18"D x 72"H, 300 lb. load capacity per shelf, includes: (4) wire shelves, (4) posts, & (4) packs of split sleeves (4 pairs each), chrome plated finish, NSF, shipped KD | 200.835 | 200.835 | Column Missing
74 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
75 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
76 | 1 | MOP SINK | BY GENERAL CONTRACTOR | 0 | 0 | Column Missing
77 | 1 | HOSE BIBB | BY GENERAL CONTRACTOR | 0 | 0 | Column Missing
78 | 1 | WALL SHELF |  | 0 | 0 | Column Missing
79 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
80 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
81 | 1 | DETERGENT STORAGE SHELVING | Convenient Shelving Unit Pack, 4-tier, 36"W x 18"D x 72"H, 300 lb. load capacity per shelf, includes: (4) wire shelves, (4) posts, & (4) packs of split sleeves (4 pairs each), chrome plated finish, NSF, shipped KD | 200.835 | 200.835 | Column Missing
82 | 1 | MOP RACK | BY GENERAL CONTRACTOR | 0 | 0 | Column Missing
83 | 1 | AIR CURTAIN | Standard Series 2 Air Curtain, for 48" wide door, unheated, UVC/HCP, includes magnetic switch (99-018) and 24v control, galvanized steel cabinet, obsidian black powder coat finish, (1) 1/2 HP motor, 115v/60/1-ph, 550 watts, cord & plug, 5.1 amps, cETLus | 1657.5 | 1657.5 | Column Missing
84 | 1 | INSECT CONTROL |  | 1495 | 1495 | Column Missing
85-100 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
SERVERY AREA
101 | 1 | REFRIGERATED MERCHANDISER | Vision Series Refrigerated Self-Serve High Profile Merchandiser, 36" x 33" x 60", curved ends, (2) tiers adjustable black metal shelves with price tag molding, stainless steel display deck, black interior back panel, welded powder coated steel base, front air intake / front & rear discharge, R449a refrigerant, 3500K LED top light, night curtain, adjustable leg levelers, electronic temperature controls, thermometer, 120v/60/1-ph, 12.7 amps, cord & NEMA 5-20P plug, UL, cUL, UL Sanitation | 10079.5 | 10079.5 | Column Missing
| 1 |  | Painted base standard color - Black | 0 | 0 | Column Missing
| 1 |  | Black Interior, including shelving | 0 | 0 | Column Missing
| 1 |  | Clear End Glass, pair | 0 | 0 | Column Missing
| 1 |  | Condensate Pan Standard | 0 | 0 | Column Missing
| 1 |  | Skirt with Casters or Legs | 689 | 689 | Column Missing
101 | 1 | REFRIGERATED MERCHANDISER | Vision Series Refrigerated Self-Serve High Profile Merchandiser, 59.25" x 33" x 60", curved ends, (2) tiers adjustable black metal shelves with price tag molding, stainless steel display deck, black interior back panel, welded powder coated steel base, front air intake / front & rear discharge, R449a refrigerant, 3500K LED top light, night curtain, adjustable leg levelers, electronic temperature controls, thermometer, 208-240v/60/1-ph, 13.5 amps, cord & NEMA 6-20P plug, UL, cUL, UL Sanitation | 11339 | 11339 | Column Missing
| 1 |  | Painted base standard color - Black | 0 | 0 | Column Missing
| 1 |  | Black Interior, including shelving | 0 | 0 | Column Missing
| 1 |  | Clear End Glass, pair | 0 | 0 | Column Missing
| 1 |  | Condensate Pan Standard | 0 | 0 | Column Missing
| 1 |  | Recessed Casters, 2-1/2" | 367.5 | 367.5 | Column Missing
102 | 1 | SERVERY COUNTER |  | 0 | 0 | Column Missing
103 | 1 | ICED TEA BREWER | 36700.0059 TB3Q Iced Tea Brewer, 3-gallon capacity single brewer, 26.7 gallon/hour, quick disconnect, SplashGard® funnel, Quickbrew system(dispensers sold separately), 120v/60/1-ph, 1730w, 14.4amps, NEMA 5-15P, cord attached, UL, NSF | 0 | 0 | Column Missing
| 1 |  | Equipment discount category net prices must be rounded to the nearest dollar | 0 | 0 | Column Missing
104 | 1 | COFFEE BREWER | 20900.0008 Dual® Coffee Brewer, Portable, mechanical thermostat, brews 16.3 gallons per hour capacity, black plastic funnel, 1 batch-size setting, electronic timer & grinder interface, upper hot water faucet, variable water bypass, includes (2) GPR servers (20950.0004), 4" black adjustable legs, stainless steel, 120/208v/60/1-ph, 5990 watts, 28.8 amps, 20-90 psi, 1/4" male NPT, UL, NSF | 0 | 0 | Column Missing
| 1 |  | Equipment discount category net prices must be rounded to the nearest dollar | 0 | 0 | Column Missing
105 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
106 | 3 | CUP DISPENSER | Cup Dispenser, in-counter, adjustable, two spring (F & P), accommodates cups 8 oz. to 44 oz. with rim diameter range 3" - 4-5/8", ring bezel 6-7/8", 22" long, stainless steel construction, for paper, plastic and foam cups in vertical, horizontal or angled mounting, NSF | 86 | 258 | Column Missing
| 3 |  | 1 year limited warranty, standard | 0 | 0 | Column Missing
| 1 |  | Verify cup rim diameter prior to ordering | 0 | 0 | Column Missing
107 | 1 | LID DISPENSER | Cup and Lid Organizer, three-section, slim design, accommodates 6 oz. to 44 oz. paper, plastic or foam cups, rim diameter ranges from 2-5/8" to 4-3/4", 16-1/2" H x 5-1/4" W x 17" D, polystyrene, black, NSF | 77 | 77 | Column Missing
| 1 |  | 1 year limited warranty, standard | 0 | 0 | Column Missing
108 | 1 | SODA AND ICE DISPENSER | Enduro 250 Ice & Post-Mix Beverage Dispenser, countertop, (10) UFB-1™ push-button valves, 250 lbs. ice capacity, built-in drip tray, timed ice agitation, key switch, 10" cup clearance, TotalFlex™ beverage manifold, generic graphic, stainless steel cabinet, 115v/60/1-ph, 3.5 amps, cULus, NSF, CE | 0 | 0 | Column Missing
| 1 |  | 2 year limited parts & 1 year limited labor warranty (USA), standard | 0 | 0 | Column Missing
109 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
110 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
111 | 1 | ICE MACHINE | Prodigy Plus® Ice Maker, nugget style, Original Chewable Ice®, air-cooled, self-contained condenser, production capacity up to 420 lb/24 hours at 70°/50° (348 lb AHRI certified at 90°/70°), sealed maintenance-free bearings, AutoAlert™ indicating lights, front facing removable air filter, unit specific QR code, stainless auger and evaporator, one-touch cleaning, stainless steel finish, AgION™ antimicrobial protection, R-404A refrigerant, 115v/60/1-ph, 12.9 amps, NSF, cULus, engineered and assembled in USA | 5420.5 | 5420.5 | Column Missing
| 1 |  | NOTE: Sale of this product must comply with Scotsman's MSRP Policy; contact your Scotsman representative for details | 0 | 0 | Column Missing
| 1 |  | 3 year parts & labor warranties | 0 | 0 | Column Missing
| 1 |  | 5 year parts on compressor | 0 | 0 | Column Missing
| 1 |  | NOTE: Kit(s) required for all modular nugget ice machines placed on a dispenser; contact your Scotsman representative for details | 0 | 0 | Column Missing
111 | 1 | ICE MACHINE | Prodigy Plus® Ice Maker, nugget style, H2 Nugget Ice, water-cooled, self-contained condenser, production capacity up to 441 lb/24 hours at 70°/50° (378 lb AHRI certified at 90°/70°), sealed maintenance-free bearings, AutoAlert™ indicating lights, unit specific QR code, stainless auger and evaporator, one-touch cleaning, stainless steel finish, AgION™ antimicrobial protection, R-404A refrigerant, 115v/60/1-ph, 12.1 amps, NSF, cULus, engineered and assembled in USA | 5545.5 | 5545.5 | Column Missing
| 1 |  | NOTE: Sale of this product must comply with Scotsman's MSRP Policy; contact your Scotsman representative for details | 0 | 0 | Column Missing
| 1 |  | 3 year parts & labor warranties | 0 | 0 | Column Missing
| 1 |  | 5 year parts on compressor | 0 | 0 | Column Missing
| 1 |  | NOTE: Kit(s) required for all modular nugget ice machines placed on a dispenser; contact your Scotsman representative for details | 0 | 0 | Column Missing
112 | 1 | WATER FILTRATION SYSTEM | AquaPatrol™ Plus Water Filtration System, single system, 2.1 gallons per minute max flow, designed for cubers up to 650 lb, and for flakers, nuggets & nugget dispensers up to 1,200 lb, cULus, NSF | 298 | 298 | Column Missing
| 1 |  | NOTE: Sale of this product must comply with Scotsman's MSRP Policy; contact your Scotsman representative for details | 0 | 0 | Column Missing
113 | 1 | HAND SINK |  | 0 | 0 | Column Missing
113 | 1 | DROP-IN HAND SINK | Recessed Hand Sink, 14"W x 10"D x 5" deep sink bowl, includes: 4" OC deck mounted gooseneck faucet with aerator, soap & paper towel dispensers, 4"H side splashes, 304 stainless steel, NSF (countertop opening not to exceed 17-1/4" (front to back) x 17-3/8" (left to right)) | 1954 | 1954 | Column Missing
| 1 |  | Wrist Handles Only, for splash or deck mount hand sink faucet (1 pair hot & cold 4" long blades), fits faucets supplied after November 2015 with hot & cold color rings that do not have exposed screw head | 83.5 | 83.5 | Column Missing
| 1 |  | P-trap, heavy duty, 1-1/2", 17 gauge | 93.5 | 93.5 | Column Missing
114 | 1 | TRASH CHUTE |  | 0 | 0 | Column Missing
115 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
115 | 1 | POS PRINTER | BY OS&E | 0 | 0 | Column Missing
116 | 1 | TRASH RECEPTACLE | Slim Jim® Container, 23 gallon, 22"W x 11"D x 30"H, with venting channels, molded-in handles, general purpose waste, open type without lid, high-impact plastic construction, gray, Made in USA | 61.27 | 61.27 | Column Missing
117 | 1 | POS SYSTEM | BY OS&E | 0 | 0 | Column Missing
118 | 1 | TRAY PICK-UP |  | 0 | 0 | Column Missing
119 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
120 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
121 | 1 | Refrigerated Display Case | Reveal® Self-Service Refrigerated Slide In Counter Case, 47-3/4"W, 13-5/8"H (above counter), 32-7/8"H (overall), Breeze-E (Type II) with EnergyWise self-contained refrigeration, LED top light, slide in base, glass ends, upper rear solid back panel, blue fin coated coil, condensate pan, black exterior & interior, cETLus, ETL-Sanitation | 17332 | 17332 | Column Missing
| 1 |  | NOTE: If GFCI is required, a GFCI breaker MUST be used in lieu of a GFCI receptacle | 0 | 0 | Column Missing
| 1 |  | 1 yr. parts & labor warranty, 5 yr. compressor warranty, standard | 0 | 0 | Column Missing
| 1 |  | Minimum of 19-1/4" space required beneath counter surface | 0 | 0 | Column Missing
| 1 |  | Refrigeration: Breeze-E (Type II) self-contained refrigeration rear access, (see important notes) standard | 0 | 0 | Column Missing
| 1 |  | Electrical: 110-120v/60/1-ph, 9.74 amps, 770 watts, standard | 0 | 0 | Column Missing
| 1 |  | Electrical Connection: 10 ft Straight blade power cord (self-contained), NEMA 5-15P, standard | 0 | 0 | Column Missing
| 1 |  | Interior Color: Powder coated SCC Standard Silversan Black (FDA compliant) | 0 | 0 | Column Missing
| 1 |  | Frame Exterior: Powder coated SCC Standard Silversan Black (FDA compliant), standard | 0 | 0 | Column Missing
| 1 |  | Left End Glass: Glass end, standard | 0 | 0 | Column Missing
| 1 |  | Right End Glass: Glass end, standard | 0 | 0 | Column Missing
| 1 |  | Rear Doors: Clear Glass rear sliding doors | 1221.5 | 1221.5 | Column Missing
| 1 |  | Lights: LED 3500K with frost lens, standard | 0 | 0 | Column Missing
| 1 |  | Rear Vented Panel: None, standard | 0 | 0 | Column Missing
122 | 1 | HEATED DISPLAY CASE | Reveal® Self-Service Heated Slide In Counter Case, 47-3/4"W x 33"D x 13-5/8"H, convection heat, LED top & shelf lights, slide in base, UV bonded frameless glass, glass ends, stainless steel interior, cETLus, ETL-Sanitation | 16401 | 16401 | Column Missing
| 1 |  | Frame Exterior: Powder coated SCC Standard Silversan Black (FDA compliant), standard | 0 | 0 | Column Missing
| 1 |  | Rear Doors: Clear Glass rear sliding doors | 1221.5 | 1221.5 | Column Missing
| 1 |  | Lights: LED 3500K with frost lens, standard | 0 | 0 | Column Missing
| 1 |  | Electrical Connection: 10' straight blade power cord, standard | 0 | 0 | Column Missing
123 | 1 | HEATED DISPLAY CASE | Reveal® Self-Service Heated Slide In Counter Case, 35-3/4"W x 33"D x 13-5/8"H, convection heat, LED top & shelf lights, slide in base, UV bonded frameless glass, glass ends, stainless steel interior, cETLus, ETL-Sanitation | 16068.5 | 16068.5 | Column Missing
| 1 |  | Frame Exterior: Powder coated SCC Standard Silversan Black (FDA compliant), standard | 0 | 0 | Column Missing
| 1 |  | Rear Doors: Clear Glass rear sliding doors | 1221.5 | 1221.5 | Column Missing
| 1 |  | Lights: LED 3500K with frost lens, standard | 0 | 0 | Column Missing
| 1 |  | Electrical Connection: 10' straight blade power cord, standard | 0 | 0 | Column Missing
124 | 2 | POS SYSTEM | BY OS&E | 0 | 0 | Column Missing
125 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
125 | 2 | POS PRINTER | BY OS&E | 0 | 0 | Column Missing
126 | 1 | Pass-Thru Refrigerator | Refrigerator, pass-thru, one-section, self-contained refrigeration, stainless steel front, aluminum interior & ends, standard depth, full-height solid doors, cylinder locks, electronic control with digital display, hi-low alarm, electric condensate evaporator, R290 Hydrocarbon refrigerant, 1/4 HP, ENERGY STAR® | 8273 | 8273 | Column Missing
| 1 |  | Standard warranty (for the United States & Canada Only): 6 year parts and labor; additional 1 year compressor part | 0 | 0 | Column Missing
| 1 |  | 115v/60/1-ph, 5.2 amps, cord, NEMA 5-15P, standard | 0 | 0 | Column Missing
| 1 |  | Door hinged on right, standard (control side) | 0 | 0 | Column Missing
| 1 |  | Door hinged on right, standard(rear) | 0 | 0 | Column Missing
| 1 |  | 5" Casters, standard | 0 | 0 | Column Missing
127 | 1 | Pass-Thru Heated Cabinet | Designer Line Heated Cabinet, pass-thru, one-section, 21 cu. ft. capacity, (3) shelves, aluminum exterior & interior, stainless steel front & doors, standard depth cabinet, narrow full-height doors, electronic control with digital display, hi-low alarm, cETLus, NSF | 10245 | 10245 | Column Missing
| 1 |  | Standard warranty (for the United States & Canada Only): 3 year parts and labor | 0 | 0 | Column Missing
| 1 |  | 208-230v/60/1-ph, 7.2 amps, 1.5 kW, cord & plug supplied by others | 0 | 0 | Column Missing
| 1 |  | Door hinged on right, standard (control side) | 0 | 0 | Column Missing
| 1 |  | Door hinged on right, standard (rear) | 0 | 0 | Column Missing
| 1 |  | 6" stainless steel adj. legs, standard | 0 | 0 | Column Missing
128 | 1 | Pass-Thru Heated Cabinet | Designer Line Heated Cabinet, pass-thru, one-section, 21 cu. ft. capacity, (3) shelves, aluminum exterior & interior, stainless steel front & doors, standard depth cabinet, narrow full-height doors, electronic control with digital display, hi-low alarm, cETLus, NSF | 10245 | 10245 | Column Missing
| 1 |  | Standard warranty (for the United States & Canada Only): 3 year parts and labor | 0 | 0 | Column Missing
| 1 |  | 208-230v/60/1-ph, 7.2 amps, 1.5 kW, cord & plug supplied by others | 0 | 0 | Column Missing
| 1 |  | Door hinged on right, standard (control side) | 0 | 0 | Column Missing
| 1 |  | Door hinged on right, standard (rear) | 0 | 0 | Column Missing
| 1 |  | 6" stainless steel adj. legs, standard | 0 | 0 | Column Missing
129 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
130 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
130 | 1 | PASS-THRU SHELF |  | 0 | 0 | Column Missing
131 | 1 | BACK SERVERY COUNTER |  | 0 | 0 | Column Missing
132 | 1 | WALL CABINET | MILLWORK/ BY GENERAL CONTRACTOR | 0 | 0 | Column Missing
133 | 1 | Hand Sink | Hand Sink, wall mount, 14" wide x 10" front-to-back x 5" deep bowl, 304 stainless steel construction, splash mount gooseneck faucet, lever drain, deep-drawn seamless design-positive drain, inverted "V" edge, NSF | 891 | 891 | Column Missing
134 | 1 | TRASH RECEPTACLE | Slim Jim® Container, 23 gallon, 22"W x 11"D x 30"H, with venting channels, molded-in handles, general purpose waste, open type without lid, high-impact plastic construction, gray, Made in USA | 61.27 | 61.27 | Column Missing
135 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
136 | 1 | BACK SERVING COUNTER |  | 0 | 0 | Column Missing
137 | 1 | ICED TEA BREWER | 36700.0059 TB3Q Iced Tea Brewer, 3-gallon capacity single brewer, 26.7 gallon/hour, quick disconnect, SplashGard® funnel, Quickbrew system(dispensers sold separately), 120v/60/1-ph, 1730w, 14.4amps, NEMA 5-15P, cord attached, UL, NSF | 0 | 0 | Column Missing
| 1 |  | Equipment discount category net prices must be rounded to the nearest dollar | 0 | 0 | Column Missing
138 | 1 | COFFEE BREWER | 20900.0008 Dual® Coffee Brewer, Portable, mechanical thermostat, brews 16.3 gallons per hour capacity, black plastic funnel, 1 batch-size setting, electronic timer & grinder interface, upper hot water faucet, variable water bypass, includes (2) GPR servers (20950.0004), 4" black adjustable legs, stainless steel, 120/208v/60/1-ph, 5990 watts, 28.8 amps, 20-90 psi, 1/4" male NPT, UL, NSF | 0 | 0 | Column Missing
| 1 |  | Equipment discount category net prices must be rounded to the nearest dollar | 0 | 0 | Column Missing
139 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
140 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
140 | 1 | POS PRINTER | BY OS&E | 0 | 0 | Column Missing
141 | 2 | Undercounter Refrigerator | Undercounter Refrigerator, 48"W, 13.4 cu ft capacity, two-section, (2) field rehingeable doors, stainless steel front, top & end panels, aluminum interior, 1-3/8" diameter plate casters, front breathing, rear-mounted self-contained refrigeration, R290 Hydrocarbon refrigerant, 1/5 hp, cETLus, ENERGY STAR® | 4796.5 | 9593 | Column Missing
| 2 |  | Standard warranty (for the United States & Canada Only): 6 year parts and labor; additional 1 year compressor part | 0 | 0 | Column Missing
| 2 |  | 115v/60/1-ph, 2.46 amps, cord, NEMA 5-15P, standard | 0 | 0 | Column Missing
| 2 |  | Left Door hinged on left & right door hinged on right, standard | 0 | 0 | Column Missing
142 | 3 | BLENDER | The Quiet One® Twist Lock Blender (VM0145), countertop, 48 oz. (1.4 liter) capacity, clear Tritan™ BPA free Advance® container, 24-1/2"H with lid open, stackable, removable compact twist lock cover, (6) touch control buttons with (34) program options, includes: Advance® blade assembly & lid, 3-peak HP, 120v/50/60/1-ph, 15.0 amps, NEMA 5-15P, RoHs compliant, CE, cULus, NSF | 1327.885 | 3983.655 | Column Missing
| 3 |  | 3 years warranty on motor base parts & 1 year warranty on labor, standard | 0 | 0 | Column Missing
143 | 1 | ICE WELL |  | 0 | 0 | Column Missing
144 | 1 | DUMP SINK |  | 0 | 0 | Column Missing
145 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
146 | 1 | Espresso Machine | GRINDMASTER Beverage - (LV602748) UNIC Tango ST Duo Espresso Machine, 2 group, super automatic, 2-step, with SteamAir wand, automated milk foamer, upward of 48 lbs/week capacity, (2) 6.5 liters each boiler capacity, (2) 3.75 lbs each bean hopper capacity, (2) grinders with 80mm Mahlkonig burrs, (2) 60,000 cycle piston seals, (2) independent stainless steel brewing chambers, (48) programmable & customizable icon recipes, touch screen display, (9) infusion parameters, temperature regulation for steam, coffee, & group, independent steam & coffee boilers, (2) telescopic dismountable double coffee spouts, telescopic programmable hot water dispenser, large waste bin with overfill safeguard, day/night mode, drink counter, cup warmer, full sized rotary vane pump, stainless steel panels & steel framework, includes: (100) cleaning tablets, (1) tube Superlube, technician & operator control cards, USB card, plumbing tubes for water (1/2" NPT) & drain line, adjustable LED lighting, 208v/60/1-ph, 8700 watts, 50 amps, (plug not included), cCSAus, NSF | 23250 | 23250 | Column Missing
| 1 |  | Installation, parts & labor warranty for 1 year, standard | 0 | 0 | Column Missing
| 1 |  | GRINDMASTER Beverage - The installation, start, & adjust program includes limited installation, equipment inspection, equipment start‐up, & operator training at a single location 35 miles or less from a GMCW™ Authorized Service Provider. The customer must provide the following for installation: 1. Appropriate electric service within 4 feet of the machine's location for electric hook‐up including appropriate heavy duty grounded receptacle with its own breaker. 2. Access to cold water with minimum of 30 psi pressure with adequate shut‐off valve within 6 feet of the machine's location on units requiring water line hook‐up. 3. Adequate drain availability for flexible drain hose on units requiring water line hook‐up. 4. Adequate & appropriate space to position unit. *Additional charges (i.e. removal of old equipment, work required to reach compliance with installation requirements above, travel time outside stated radius, or other expenses outside normal installation situation) are the responsibility of the customer. | 0 | 0 | Column Missing
| 1 |  | Year 1 Preventative Maintenance. Two visits per year, includes replacement of the brew modules. Grinder burrs & water filtration is reviewed separately from this program | 0 | 0 | Column Missing
147 | 1 | Undercounter Refrigerator | Undercounter Refrigerator, 27"W, 7.4 cu ft capacity, one-section, (1) field rehingeable door, stainless steel front, top & end panels, aluminum interior, 1-3/8" diameter plate casters, front breathing, rear-mounted self-contained refrigeration, R290 Hydrocarbon refrigerant, 1/5 hp, cETLus, NSF, ENERGY STAR® | 3231 | 3231 | Column Missing
| 1 |  | Standard warranty (for the United States & Canada Only): 6 year parts and labor; additional 1 year compressor part | 0 | 0 | Column Missing
| 1 |  | 115v/60/1-ph, 2.46 amps, cord, NEMA 5-15P, standard | 0 | 0 | Column Missing
| 1 |  | Door hinged on right, standard | 0 | 0 | Column Missing
148 | 2 | POS SYSTEM | BY OS&E | 0 | 0 | Column Missing
149 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
150 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
150 | 2 | POS PRINTER | BY OS&E | 0 | 0 | Column Missing
151 | 2 | CUP DISPENSER | Cup Dispenser, in-counter, adjustable, two spring (F & P), accommodates cups 8 oz. to 44 oz. with rim diameter range 3" - 4-5/8", ring bezel 6-7/8", 22" long, stainless steel construction, for paper, plastic and foam cups in vertical, horizontal or angled mounting, NSF | 86 | 172 | Column Missing
| 2 |  | 1 year limited warranty, standard | 0 | 0 | Column Missing
152 | 1 | PASTRY DISPLAY CASE | Classic U-Build Display Case, 19-1/2"W x 17"D x 16-1/2"H, 3-tier, attendant serve, knock-down type, slant front, rear door, (3) 13" x 18" trays, assembly required, BPA Free (UPS Oversize 1) | 267.6 | 267.6 | Column Missing
153 | 1 | Undercounter Refrigerator | Undercounter Refrigerator, 27"W, 7.4 cu ft capacity, one-section, (1) field rehingeable door, stainless steel front, top & end panels, aluminum interior, 1-3/8" diameter plate casters, front breathing, rear-mounted self-contained refrigeration, R290 Hydrocarbon refrigerant, 1/5 hp, cETLus, NSF, ENERGY STAR® | 3231 | 3231 | Column Missing
| 1 |  | Standard warranty (for the United States & Canada Only): 6 year parts and labor; additional 1 year compressor part | 0 | 0 | Column Missing
| 1 |  | 115v/60/1-ph, 2.46 amps, cord, NEMA 5-15P, standard | 0 | 0 | Column Missing
| 1 |  | Door hinged on right, standard | 0 | 0 | Column Missing
154 | 1 | SERVING COUNTER |  | 0 | 0 | Column Missing
155 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
156 | 1 | PICK-UP COUNTER |  | 0 | 0 | Column Missing
157 | 1 | POS COUNTER |  | 0 | 0 | Column Missing
158 | 1 | POS SYSTEM | BY OS&E | 0 | 0 | Column Missing
159 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
160 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
161 | 1 | CHAIR | BY OS&E | 0 | 0 | Column Missing
162-170 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
171 | 1 | CONDIMENT COUNTER |  | 0 | 0 | Column Missing
172 | 2 | CONDIMENT DISPENSER | BY VENDOR | 0 | 0 | Column Missing
173 | 1 | UTENSIL DISPENSER | BY VENDOR | 0 | 0 | Column Missing
174 | 1 | NAPKIN DISPENSER | BY VENDOR | 0 | 0 | Column Missing
175 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
176 | 1 | TRASH CHUTE |  | 0 | 0 | Column Missing
177 | 1 | TRASH RECEPTACLE | ProSave® Brute® Container, without lid, 20 gallon, 19-1/2"D x 22-7/8"H, round, reinforced rims, built in handles, double rimmed base, high-impact plastic construction, gray, NSF | 32.256 | 32.256 | Column Missing
| 1 | Trash Receptacle, Dolly | Brute® Dolly, 18-1/4"D x 6-5/8"H, heavy duty 3" casters, 250 lb. capacity, for 2620, 2632, 2643, 2655, black | 59.052 | 59.052 | Column Missing
| 1 | Trash Receptacle Lid / Top | ProSave® Sliding Container Lid, fits container Brute® 2620, 20-3/4" dia. x 5"H, includes 3 cup portioning scoop (9G52), clear rotating sliding door, dishwasher safe, white, NSF, S.O.S. (Special Order Smallwares) product; see SOS document for details | 69.2895 | 69.2895 | Column Missing
178 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
179 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
180-200 | 0 | SpareNo | SpareNo | 0 | 0 | Column Missing
Equipment SubTotal
Delivery, Installation, Set-in Place
Total
QUALIFICATIONS
1. Price does not include project contingency.
2. Price does not include sales tax or use taxes.
3. Price is good through _____________