## Sheet
________ Preliminary Utility Schedule
September 24, 2024
NO | QTY | DESCRIPTION | VOLTS | PH | AMPS | KW | CW | HW | GPH | IW | DW | BTUS | EXH CFM | SUPPLY CFM | HEAT REJECTION | CHILLED WATER IN | CHILLED WATER OUT | REMARKS
PREPERATION AREA
1 | 2 | DRY STORAGE SHELVING | [15 empty] | FIXED FIVE TIER
2 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
3 | - | SPARE NUMBER
4 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
5 | - | SPARE NUMBER
6 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
7 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
8 | 1 | WORK TABLE WITH SINK | 120 | 1 | 20 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
9 | - | SPARE NUMBER
10 | - | SPARE NUMBER
VEGETABLE AND SUSHI PREPERATION AREA
11 | 1 | REACH-IN FREEZER | 120 | 1 | 6 | [12 empty] | MOBILE
12 | 1 | KNIFE SANITIZER | 120 | 1 | 10 | [12 empty] | WALL MOUNTED
13 | 2 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION PART OF ITEM #26
14 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS PART OF ITEM#26
15 | - | SPARE NUMBER
16 | 1 | RICE WARMER | 120 | 1 | 0.4
17 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
18 | 1 | BLENDER | 120 | 1 | 13
19 | - | SPARE NUMBER
20 | - | SPARE NUMBER
21 | 1 | VEGETABLE SLICER | 120 | 1 | 3
22 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #26
23 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
24 | 1 | DROP-IN HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH SOAP & TOWEL DISPENSER
25 | - | SPARE NUMBER
26 | 1 | WORK TABLE WITH SINK | 120 | 1 | 40 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
27 | 1 | WALK-IN COOLER | 120 | 1 | 20
28 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
29 | - | SPARE NUMBER
30 | - | SPARE NUMBER
31 | 5 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
32 | 1 | EVAPORATOR COIL | 120 | 1 | 0.9 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
33 | 1 | COOLER CONDENSING UNIT | 208 | 3 | 4.7 | [9 empty] | 8675 | 1/2" | 1/2" | ON EMERGENCY POWER
34 | - | SPARE NUMBER
35- 40 | - | SPARE NUMBERS
PASTRY AREA
41 | 1 | WORK COUNTER | 120 | 1 | 20 | [12 empty] | CUSTOM FABRICATION WITH GRANITE TOP
42 | 1 | DROP-IN HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH SOAP & TOWEL DISPENSER
43 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
44 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #41
45 | - | SPARE NUMBER
46 | 1 | 5 QT. MIXER | 120 | 1 | 15
47 | 1 | SHAVED ICE MACHINE | 120 | 1 | 5.4
48 | 1 | DESSERT FREEZER | 120 | 1 | 7.9
49 | - | SPARE NUMBER
50 | - | SPARE NUMBER
51 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS PART OF ITEM#41
52 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
53 | 1 | MARBLE TOP | [15 empty] | CUSTOM FABRICATION PART OF ITEM #41
54 | - | SPARE NUMBER
55- 60 | - | SPARE NUMBERS
COOKING AND PICKUP AREA
61L | 1 | EXHAUST HOOD | 120 | 1 | 20 | [7 empty] | 667 | 614 |  |  |  | WITH MAKE-UP AIR
61M | 1 | EXHAUST HOOD | 120 | 1 | 20 | [7 empty] | 1200 | 1020 |  |  |  | WITH MAKE-UP AIR
61R | 1 | EXHAUST HOOD | 120 | 1 | 20 | [7 empty] | 2956 | 2217 |  |  |  | WITH MAKE-UP AIR
62 | 1 | SPREADER
63 | 2 | TEMPURA FRYER | [9 empty] | 122000
64 | 1 | SPREADER
65 | - | SPARE NUMBER
66 | 1 | MODULAR CHARBROILER | [9 empty] | 90000
67 | 1 | REFRIGERATED EQUIPMENT STAND | 120 | 1 | 12.6 | [12 empty] | MOBILE
68 | 1 | TUBULAR WALL SHELF | [15 empty] | CUSTOM FABRICATION
69 | - | SPARE NUMBER
70 | - | SPARE NUMBER
71 | 1 | MODULAR GRIDDLE | [9 empty] | 60000
72 | 2 | SALAMANDER | [9 empty] | 35000
73 | 1 | FILL FAUCET |  |  |  |  | 1/2" | 1/2" | 30
74 | 1 | REFRIGERATED EQUIPMENT STAND | 120 | 1 | 12.6 | [12 empty] | MOBILE
75 | - | SPARE NUMBER
76 | 2 | MODULAR SIX BURNER RANGE | [9 empty] | 210000
77 | 1 | COMBI OVEN W/ STAND | 120 | 1 | 7.5 |  | 1/2" |  |  | 2" |  | 82000 | [5 empty] | MOBILE
78 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
79 | - | SPARE NUMBER
80 | - | SPARE NUMBER
81 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
82 | 1 | HOOD CONTROL CABINET | 120 | 1 | 4 | [12 empty] | FOR ITEM #61L #61M & 61R
83 | 1 | FIRE SUPPRESSION SYSTEM | 120 | 1 | 20 | [12 empty] | FOR ITEM #61L #61M & 61R
84 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS PART OF ITEM#101
85 | - | SPARE NUMBER
86 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS AND NSF7 RAIL PART OF ITEM#101
87 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION PART OF ITEM #101
88 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS AND NSF7 RAIL PART OF ITEM#101
89 | - | SPARE NUMBER
90 | - | SPARE NUMBER
91 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION PART OF ITEM #101
92 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS AND NSF7 RAIL PART OF ITEM#101
93 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION PART OF ITEM #101
94 | 1 | POS PRINTER | 120 | 1 | 5 | [12 empty] | BY OS&E
95 | - | SPARE NUMBER
96 | 1 | POS SYSTEM | 120 | 1 | 20 | [12 empty] | BY OS&E
97 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
98 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #101
99 | - | SPARE NUMBER
100 | - | SPARE NUMBER
101 | 1 | CHEFS COUNTER WITH SINK | 120 | 1 | 20 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION WITH PLATE STORAGE
102 | - | SPARE NUMBER
103 | - | SPARE NUMBER
104 | - | SPARE NUMBER
105- 200 | - | SPARE NUMBERS
SUSHI BAR AREA
201 | 1 | SUSHI PICKUP COUNTER | 120 | 1 | 40 | [12 empty] | CUSTOM FABRICATION
202 | 1 | DROP-IN HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | CUSTOM FABRICATIONWITH SOAP AND TOWEL DISPENSER PART OF ITEM #201
203 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #201
204 | 1 | STAINLESS STEEL TRASH RECEPTACLE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #201
205 | 1 | LOAD CENTER | 208 | 1 | 50 | [12 empty] | CUSTOM FABRICATION PART OF ITEM #201
206 | 1 | NORI WARMER | 120 | 1 | 5
207 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #201
208 | 1 | UNDERCOUNTER REFRIGERATOR WITH SLIDING GLASS DOORS AND PAN SLIDES | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH PAN SLIDES PART OF ITEM #201
209 | - | SPARE NUMBER
210 | - | SPARE NUMBER
211 | 1 | SUSHI CASE | 120 | 1 | 5 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #201
212 | 1 | SUSHI CASE STAND | [15 empty] | CUSTOM FABRICATION PART OF ITEM #201
213 | 1 | SUSHI CASE | 120 | 1 | 5 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #201
214 | 1 | SUSHI CASE STAND | [15 empty] | CUSTOM FABRICATION PART OF ITEM #201
215 | - | SPARE NUMBER
216 | 1 | UNDERCOUNTER ICE MACHINE | 120 | 1 | 15 |  | 3/8" |  |  | 3/4" | [7 empty] | 400LB. AIR-COOLED FLAKE ICE
217 | 1 | SUSHI BAR TOP AND DIE | [15 empty] | MILLWORK / BY GENERAL CONTRACTOR
218 | 1 | UNDER COUNTER WATER FILTRATION SYSTEM |  |  |  |  | 3/8" |  | 10 | [8 empty] | FOR ITEM #216
219 | - | SPARE NUMBER
220 | - | SPARE NUMBER
221 | 1 | SUSHI FRONT SERVING COUNTER | [15 empty] | CUSTOM FABRICATION
222 | 1 | RICE WARMER | 120 | 1 | 0.4
223 | 1 | RICE WARMER STAND | [15 empty] | CUSTOM FABRICATION MOBILE
224 | 1 | UNDERCOUNTER REFRIGERATOR WITH SLIDING GLASS DOORS AND PAN SLIDES | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH PAN SLIDES PART OF ITEM #221
225 | - | SPARE NUMBER
226 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #221
227 | 1 | NORI WARMER | 120 | 1 | 5
228 | 1 | PREPARATION SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #221
229 | - | SPARE NUMBER
230 | - | SPARE NUMBER
231 | 1 | UNDERCOUNTER REFRIGERATOR WITH SLIDING GLASS DOORS AND PAN SLIDES | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH PAN SLIDES PART OF ITEM #221
232 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #221
233 | 1 | NORI WARMER | 120 | 1 | 5
234 | 1 | RICE WARMER | 120 | 1 | 0.4
235 | - | SPARE NUMBER
236 | 1 | RICE WARMER STAND | [15 empty] | CUSTOM FABRICATION MOBILE
237 | 1 | UNDERCOUNTER REFRIGERATOR WITH SLIDING GLASS DOORS AND PAN SLIDES | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH PAN SLIDES PART OF ITEM #221
238 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #221
239 | - | SPARE NUMBER
240 | - | SPARE NUMBER
241 | 1 | NORI WARMER | 120 | 1 | 5
242 | 1 | PREPARATION SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #221
243 | 1 | UNDERCOUNTER REFRIGERATOR WITH SLIDING GLASS DOORS AND PAN SLIDES | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH PAN SLIDES PART OF ITEM #221
244 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #221
245 | - | SPARE NUMBER
246 | 1 | RICE WARMER | 120 | 1 | 0.4
247 | 1 | RICE WARMER STAND | [15 empty] | CUSTOM FABRICATION MOBILE
248 | 1 | NORI WARMER | 120 | 1 | 5
249 | - | SPARE NUMBER
250 | - | SPARE NUMBER
251 | 1 | SUSHI BAR TOP AND DIE | 120 | 1 | 40 | [12 empty] | MILLWORK / BY GENERAL CONTRACTOR
252 | 4 | SUSHI CASE | 120 | 1 | 32 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION REMOTE REFRIGERATION PART OF ITEM #221
253 | - | SPARE NUMBER
254 | - | SPARE NUMBER
255- 260 | - | SPARE NUMBERS
SERVICE BAR AREA
261 | 1 | PASS THRU SHELF | [15 empty] | CUSTOM FABRICATION
262 | 1 | DOUBLE BOTTLE RAIL | [15 empty] | CUSTOM FABRICATION PART OF ITEM #287
263 | 1 | REFRIGERATED CONDIMENT RAIL | 120 | 1 | 4 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #287
264 | 1 | COCKTAIL STATION | [7 empty] | 1" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #287
265 | - | SPARE NUMBER
266 | 1 | CO2 GLASS FROSTER | 120 | 1 | 0.4
267 | 1 | CO2 TANK | [15 empty] | BY VENDOR
268 | 1 | POS PRINTER | 120 | 1 | 5 | [12 empty] | BY OS&E
269 | - | SPARE NUMBER
270 | - | SPARE NUMBER
271 | 1 | DIPPERWELL |  |  |  |  | 3/8" |  | 5 | 1-1/2"
272 | 1 | SAKE WARMER | 120 | 1 | 15
273 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
274 | 1 | HOT WATER DISPENSER | 120 | 1 | 19.5 |  | 3/8" | [10 empty] | 5 GALLON
275 | - | SPARE NUMBER
276 | 1 | UNDER COUNTER WATER FILTRATION SYSTEM |  |  |  |  | 3/8" |  | 10 | [8 empty] | FOR ITEM #274 #284 #286
277 | 1 | COFFEE GRINDER | 120 | 1 | 3.5
278 | 1 | KNOCK BOX | [15 empty] | CUSTOM FABRICATION PART OF ITEM #287
279 | - | SPARE NUMBER
280 | - | SPARE NUMBER
281 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
282 | 1 | ESPRESSO GRINDER | 120 | 1 | 1.5
283 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 2.7
284 | 1 | ESPRESSO MACHINE | 208 | 1 | 13 |  | 3/8" |  |  | 1-1/4"
285 | - | SPARE NUMBER
286 | 1 | COFFEE AND TEA BREWER | 120 | 1 | 13 |  | 3/8" |  | 10
287 | 1 | WORK COUNTER | 120 | 1 | 20 | [12 empty] | CUSTOM FABRICATION
288 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 15 |  | 1-1/2" | [6 empty] | CUSTOM FABRICATION PART OF ITEM #287
289 | - | SPARE NUMBER
290 | - | SPARE NUMBER
291 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #287
292 | 1 | STAINLESS STEEL TRASH RECEPTACLE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #287
293 | 1 | WINE REFRIGERATOR | 120 | 1 | 3
294 | - | SPARE NUMBER
295- 300 | - | SPARE NUMBERS
OUTDOOR BAR AREA
301 | 1 | STAINLESS STEEL TRASH RECEPTACLE | [15 empty] | CUSTOM FABRICATION
302 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #304
303 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 15 |  | 1-1/2" | [6 empty] | CUSTOM FABRICATION PART OF ITEM #304
304 | 1 | UNDERBAR | 120 | 1 | 60 | [12 empty] | CUSTOM FABRICATION
305 | - | SPARE NUMBER
306 | 1 | REFRIGERATED CONDIMENT RAIL | 120 | 1 | 10 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #304
307 | 1 | COCKTAIL STATION | [7 empty] | 1" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #304
308 | 1 | DOUBLE BOTTLE RAIL | [15 empty] | CUSTOM FABRICATION PART OF ITEM #304
309 | - | SPARE NUMBER
310 | - | SPARE NUMBER
311 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION PART OF ITEM #304
312 | 1 | PREPARATION SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #304
313 | 1 | BLENDER | 120 | 1 | 15 | [12 empty] | WITH DOME
314 | 1 | BLENDER STATION WITH SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #304
315 | - | SPARE NUMBER
316 | 1 | BUTCHER BLOCK TOP | [15 empty] | CUSTOM FABRICATION PART OF ITEM #304
317 | 1 | REFRIGERATED CONDIMENT RAIL | 120 | 1 | 10 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #304
318 | 1 | COCKTAIL STATION | [7 empty] | 1" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #304
319 | - | SPARE NUMBER
320 | - | SPARE NUMBER
321 | 1 | DOUBLE BOTTLE RAIL | [15 empty] | CUSTOM FABRICATION PART OF ITEM #304
322 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION PART OF ITEM #304
323 | 1 | PREPARATION SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #304
324 | 1 | BUTCHER BLOCK TOP | [15 empty] | CUSTOM FABRICATION PART OF ITEM #304
325 | - | SPARE NUMBER
326 | 1 | REFRIGERATED CONDIMENT RAIL | 120 | 1 | 10 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #304
327 | 1 | COCKTAIL STATION | [7 empty] | 1" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #304
328 | 1 | DOUBLE BOTTLE RAIL | [15 empty] | CUSTOM FABRICATION PART OF ITEM #304
329 | - | SPARE NUMBER
330 | - | SPARE NUMBER
331 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION PART OF ITEM #304
332 | 1 | PREPARATION SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #304
333 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 2.7
334 | 1 | BAR TOP AND DIE | 120 | 1 | 20 | [12 empty] | BY INTERIOR DESIGNER WITH DRINK RAIL GRANITE TOP
335- 400 | - | SPARE NUMBERS
NOBU PREP AREA
401 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
402 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
403 | 1 | PREPARATION TABLE WITH SINKS | 120 | 1 | 60 |  | (2) 1/2" | (2) 1/2" | 30 | (2)1-1/2" | [7 empty] | CUSTOM FABRICATION
404 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
405 | - | SPARE NUMBER
406 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
407 | 1 | SALAD AND VEGETABLE DRYER | 120 | 1 | 2.7
408 | 1 | BLENDER | 120 | 1 | 13
409 | - | SPARE NUMBER
410 | - | SPARE NUMBER
411 | 1 | VEGETABLE SLICER | 120 | 1 | 3
412 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS PART OF ITEM#403
413 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION PART OF ITEM #403
414 | 1 | KNIFE SANITIZER | 120 | 1 | 10 | [12 empty] | WALL MOUNTED
415 | - | SPARE NUMBER
416 | 2 | ICE CART | [15 empty] | MOBILE 250LBS
417 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
418 | 1 | ICE MAKER | 120 | 1 | 11.5 |  | 1/2" |  |  | 3/4" |  |  |  |  | 4500 |  |  | 500LBS AIR COOLED
419 | - | SPARE NUMBER
420 | - | SPARE NUMBER
421 | 1 | ICE BIN | [7 empty] | 1" | [7 empty] | 1800LBS
422 | 1 | FLAKED ICE MACHINE | 120 | 1 | 15.2 |  | 1/2" |  |  | 3/4" |  |  |  |  | 8500 |  |  | 980 LBS AIR-COOLED
423 | 1 | WATER FILTRATION SYSTEM |  |  |  |  | 3/4" |  |  | 1/2" | [7 empty] | FOR ITEM #418
424 | 1 | WATER FILTRATION SYSTEM |  |  |  |  | 3/4" |  |  | 1/2" | [7 empty] | FOR ITEM #422
425 | - | SPARE NUMBER
426 | 1 | PREPARATION TABLE | [15 empty] | CUSTOM FABRICATION MOBILE
427 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
428 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
429 | - | SPARE NUMBER
430 | - | SPARE NUMBER
431 | 1 | WALK-IN FREEZER | 120 | 1 | 20
432 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
433 | 1 | EVAPORATOR COIL | 208 | 1 | 9.1 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
434 | 6 | FREEZER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
435 | 1 | FREEZER CONDENSING UNIT | 208 | 3 | 8.7 | [9 empty] | 9216 | 1/2" | 1/2" | ON EMERGENCY POWER
436 | 2 | LOW TEMPERATURE FREEZER | 120 | 1 | 17.8 |  |  |  |  | 1" | [7 empty] | MOBILE
437 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
438 | 1 | WALK-IN COOLER | 120 | 1 | 20
439 | - | SPARE NUMBER
440 | 1 | COOLER CONDENSING UNIT | 208 | 3 | 7.2 | [9 empty] | 10543 | 1/2" | 1/2" | ON EMERGENCY POWER
441 | 1 | EVAPORATOR COIL | 120 | 1 | 1.8 |  |  |  |  | 3/4" | [7 empty] | ON EMERGENCY POWER
442 | 8 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
443 | 3 | UTILITY RACK | [15 empty] | MOBILE
444 | - | SPARE NUMBER
445- 500 | - | SPARE NUMBERS
Total