## Sheet
________ Preliminary Utility Schedule
August 01, 2024
NO | QTY | DESCRIPTION | VOLTS | PH | AMPS | KW | CW | HW | GPH | IW | DW | BTUS | EXH CFM | SUPPLY CFM | HEAT REJECTION | CHILLED WATER IN | CHILLED WATER OUT | REMARKS
PREPARATION AREA
101 | 1 | ICE MAKER | 120 | 1 | 11.5 |  | 1/2" |  |  | 3/4" |  |  |  |  | 4500 |  |  | 500LBS AIR COOLED
102 | 1 | ICE BIN | [7 empty] | 1" | [7 empty] | 1800LBS
103 | 1 | FLAKED ICE MACHINE | 120 | 1 | 15.2 |  | 1/2" |  |  | 3/4" |  |  |  |  | 8500 |  |  | 980 LBS AIR-COOLED
104 | 1 | WATER FILTRATION SYSTEM |  |  |  |  | 3/4" |  |  | 1/2" | [7 empty] | FOR ITEM #101
105 | 2 | ICE CART | [15 empty] | MOBILE 250LBS
106 | 1 | WATER FILTRATION SYSTEM |  |  |  |  | 3/4" |  |  | 1/2" | [7 empty] | FOR ITEM #103
107 | 3 | DRY STORAGE SHELVING | [15 empty] | FIXED FIVE TIER
108 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
109 | - | SPARE NUMBER
110 | - | SPARE NUMBER
111 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
112 | 1 | WORK TABLE | [15 empty] | CUSTOM FABRICATION
113 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
114 | 2 | RICE COOKER | 120 | 1 | 25.8
115 | - | SPARE NUMBER
116 | 2 | RICE WARMER STAND | [15 empty] | CUSTOM FABRICATION MOBILE
117 | 1 | COMBI OVEN | 208 | 3 | 15.9 |  | 3/4" |  |  | 1-1/2" | [7 empty] | VENTLESS
118 | - | SPARE NUMBER
119 | - | SPARE NUMBER
120 | - | SPARE NUMBER
121 | - | SPARE NUMBER
122 | 1 | WORK TABLE | 120 | 1 | 20 | [12 empty] | CUSTOM FABRICATION
123 | - | SPARE NUMBER
124 | 1 | INDUCTION WARMER | 208 | 1 | 22 | [12 empty] | 2 RING
125 | - | SPARE NUMBER
126 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
127 | 1 | SHAVED ICE MACHINE | 120 | 1 | 5.4 | [12 empty] | STORED UNDERCOUNTER
128 | 1 | 5 QT. MIXER | 120 | 1 | 2.9 | [12 empty] | STORED UNDERCOUNTER
129 | - | SPARE NUMBER
130 | - | SPARE NUMBER
131 | 1 | PACOJET | 120 | 1 | 7.9 | [12 empty] | STORED UNDERCOUNTER
132 | 1 | POS PRINTER | 120 | 1 | 5 | [12 empty] | BY OS&E
133 | 1 | PASS THRU SHELF | [15 empty] | CUSTOM FABRICATION
134 | 1 | WORK TABLE WITH SINK | 120 | 1 | 40 |  | 1/2" | 1/2" | 30 | (2)1-1/2" | [7 empty] | CUSTOM FABRICATION
135 | - | SPARE NUMBER
136 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
137 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
138 | 1 | BLENDER | 120 | 1 | 13
139 | - | SPARE NUMBER
140 | - | SPARE NUMBER
141 | 1 | VEGETABLE SLICER | 120 | 1 | 3
142 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWER PART OF ITEM#134
143 | 2 | FISH SINK | [7 empty] | 1-1/2" EA | [7 empty] | CUSTOM FABRICATION PART OF ITEM #134
144 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
145 | 2 | PRE-RINSE UNIT |  |  |  |  | 1/2" | 1/2" | 50 EA | [8 empty] | WITH FAUCET
146 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
147 | - | SPARE NUMBER
148 | - | SPARE NUMBER
149 | - | SPARE NUMBER
150 | - | SPARE NUMBER
COOKING AREA
151A | 1 | HOOD CONTROL CABINET | 120 | 1 | 1 | [12 empty] | FOR ITEM #178
151B | 1 | HOOD UV CONTROL CABINET | 120 | 1 | 16 | [12 empty] | FOR ITEM #178
152 | - | SPARE NUMBER
153 | - | SPARE NUMBER
154 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS PART OF ITEM#157
155 | - | SPARE NUMBER
156 | 1 | RICE WARMER | 120 | 1 | 0.4
157 | 1 | WORK COUNTER WITH SINK | 120 | 1 | 20 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
158 | 1 | WORK TOP | [15 empty] | WITH CABINET BASE MOBILE
159 | - | SPARE NUMBER
160 | - | SPARE NUMBER
161 | 1 | COUNTERTOP FRYER | 208 | 3 | 20.8
162 | 1 | PIZZA OVEN | 120 | 1 | 2 | [6 empty] | 55000
163 | 1 | MODULAR CHARBROILER | [9 empty] | 120000
164 | 1 | REFRIGERATED EQUIPMENT STAND | 120 | 1 | 8.5 | [12 empty] | MOBILE
165 | - | SPARE NUMBER
166 | 2 | SALAMANDER | [9 empty] | 20000 | [5 empty] | WALL MOUNTED
167 | 2 | 6 BURNER RANGETOP | [9 empty] | 210000 | [5 empty] | MODULAR
168 | 1 | FILL FAUCET |  |  |  |  | 3/4" | 3/4" | 30
169 | 1 | REFRIGERATED BASE | 120 | 1 | 11 | [12 empty] | MOBILE
170 | - | SPARE NUMBER
171 | 1 | PASTA COOKER |  |  |  |  | 1/2" |  |  | 1" |  | 80000 | [5 empty] | MOBILE
172 | 1 | WORK TOP | [15 empty] | WITH CABINET BASE MOBILE
173 | 2 | FRYER | [9 empty] | 100000 EA | [5 empty] | MOBILE
174 | 1 | FIRE SUPPRESSION SYSTEM | 120 | 1 | 20 | [12 empty] | FOR ITEM #178
175 | - | SPARE NUMBER
176 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
177 | 1 | WORK COUNTER | 120 | 1 | 20 | [12 empty] | CUSTOM FABRICATION
178 | 1 | EXHAUST HOOD | 120 | 1 | 20 | [7 empty] | 2643 | 793 EA |  |  |  | WITH MAKE-UP AIR
179 | - | SPARE NUMBER
180 | - | SPARE NUMBER
181 | 1 | CHEFS COUNTER WITH SINK | 120 | 1 | 80 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
182 | 1 | DROP-IN HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH SOAP & TOWEL DISPENSER
183 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
184 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #181
185 | - | SPARE NUMBER
186 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS CUTTING BOARD AND NSF7 RAIL PART OF ITEM#181
187 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS CUTTING BOARD AND NSF7 RAIL PART OF ITEM#181
188 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS CUTTING BOARD AND NSF7 RAIL PART OF ITEM#181
189 | - | SPARE NUMBER
190 | - | SPARE NUMBER
191 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DRAWERS CUTTING BOARD AND NSF7 RAIL PART OF ITEM#181
192 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
193 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #181
194 | 1 | DROP-IN HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH SOAP & TOWEL DISPENSER
195 | - | SPARE NUMBER
196 | 1 | COLD PICK UP TABLE | [15 empty] | CUSTOM FABRICATION
197 | 1 | PASS THRU SHELF | [15 empty] | CUSTOM FABRICATION
198 | 1 | HOT PICK UP TABLE | [15 empty] | CUSTOM FABRICATION
199 | - | SPARE NUMBER
200 | - | SPARE NUMBER
201 | 1 | FOOD WARMER | 120 | 1 | 7.9
202 | 1 | PASS THRU SHELF | [15 empty] | CUSTOM FABRICATION
203 | 1 | PASS THRU SHELF | [15 empty] | CUSTOM FABRICATION
204 | 1 | FOOD WARMER | 120 | 1 | 7.9
205- 300 | - | SPARE NUMBERS
WAREWASHING AREA
301 | 1 | REACH-IN REFRIGERATOR | 120 | 1 | 8.1 | [12 empty] | MOBILE
302 | 1 | MOP SINK CABINET |  |  |  |  | 1/2" | 1/2" | 30 |  | 2"
303 | 1 | GLASS POLISH TABLE | [15 empty] | CUSTOM FABRICATION
304 | 1 | UNDERCOUNTER DISH MACHINE | 208 | 3 | 32.1 |  | 3/4" |  | 24 | 1-1/2" | [7 empty] | 180°F RINSE
305 | - | SPARE NUMBER
306 | 1 | GLASS RACK SHELF | [15 empty] | CUSTOM FABRICATION WALL MOUNTED
307 | 1 | UNDERCOUNTER DISH MACHINE | 208 | 3 | 32.1 |  | 3/4" |  | 24 | 1-1/2" | [7 empty] | 180°F RINSE
308 | 1 | HOSE REEL CONTROL CABINET |  |  |  |  | 1/2" | 1/2" | 25 | [8 empty] | FOR ITEM #331
309 | - | SPARE NUMBER
310 | - | SPARE NUMBER
311 | 1 | HOSE REEL CONTROL CABINET |  |  |  |  | 1/2" | 1/2" | 25 | [8 empty] | FOR ITEM #314
312 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
313 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
314 | 1 | HOSE REEL | [15 empty] | CEILING MOUNT
315 | - | SPARE NUMBER
316 | 1 | POT SHELF | [15 empty] | CUSTOM FABRICATION
317 | - | SPARE NUMBER
318 | - | SPARE NUMBER
319 | - | SPARE NUMBER
320 | - | SPARE NUMBER
321 | 1 | POT SINK |  |  |  |  | (2)3/4" | 3/4" | 90 | (3)2" | [7 empty] | CUSTOM FABRICATION
322 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
323 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
324 | 1 | CLEAN DISH TABLE | [15 empty] | CUSTOM FABRICATION
325 | - | SPARE NUMBER
326 | 1 | UNDERCOUNTER DISH MACHINE | 208 | 3 | 32.1 |  | 3/4" |  | 24 | 1-1/2" | [7 empty] | 180°F RINSE
327 | 1 | GLASS RACK SHELF | [15 empty] | CUSTOM FABRICATION WALL MOUNTED
328 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
329 | - | SPARE NUMBER
330 | - | SPARE NUMBER
331 | 1 | HOSE REEL | [15 empty] | CEILING MOUNT
332 | 1 | DISH MACHINE | 480 | 3 | 23.6 |  | 1/2" | 1/2" | 126 | 2" |  |  |  |  | 4000 |  |  | 180°F RINSE VENTLESS
333 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
334 | 1 | SILVER SOAK SINK | [15 empty] | MOBILE
335 | - | SPARE NUMBER
336 | 1 | DOUBLE SIDED GLASS RACK SHELF | [15 empty] | CUSTOM FABRICATION PART OF ITEM #341
337 | - | SPARE NUMBER
338 | 1 | FOOD WASTE COLLECTOR | 208 | 3 | 3.2 |  | 1/2" | 1/2" | 15 |  | 2" | [6 empty] | WITH COVER
339 | - | SPARE NUMBER
340 | - | SPARE NUMBER
341 | 1 | SOILED DISH TABLE | [15 empty] | CUSTOM FABRICATION WITH TROUGH AND BRIDGE
342 | 1 | POT AND PAN SHELVING | [15 empty] | MOBILE FOUR TIER
343 | 1 | DISH DROP WINDOW WITH SHELF | [15 empty] | CUSTOM FABRICATION
344 | 1 | SILVERWARE CHUTE | [15 empty] | CUSTOM FABRICATION
345-350 | - | SPARE NUMBERS
BEVERAGE AREA
351 | 1 | POS PRINTER | 120 | 1 | 5 | [12 empty] | BY OS&E
352 | 1 | PASS THRU SHELF | [15 empty] | CUSTOM FABRICATION
353 | 1 | BEVERAGE COUNTER WITH SINK | 120 | 1 | 40 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
354 | 1 | DOUBLE BOTTLE RAIL | [15 empty] | CUSTOM FABRICATION PART OF ITEM #353
355 | - | SPARE NUMBER
356 | 1 | COCKTAIL STATION | [7 empty] | 1" | [7 empty] | CUSTOM FABRICATION PART OF #353
357 | 1 | REFRIGERATED CONDIMENT RAIL | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION PART OF #353
358 | 1 | ESPRESSO MACHINE | 120 | 1 | 13 |  | 3/8" |  |  | 1-1/4"
359 | - | SPARE NUMBER
360 | - | SPARE NUMBER
361 | 1 | UNDERCOUNTER DISH MACHINE | 208 | 3 | 32.1 |  | 3/4" |  | 24 | 1-1/2" | [7 empty] | 180°F RINSE
362 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
363 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
364 | 1 | KNOCK BOX | [15 empty] | CUSTOM FABRICATION PART OF ITEM #353
365 | - | SPARE NUMBER
366 | 1 | COFFEE GRINDER | 120 | 1 | 3.5
367 | 2 | COFFEE GRINDER | 120 | 1 | 5.4
368 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 2.7
369 | - | SPARE NUMBER
370 | - | SPARE NUMBER
371 | 1 | HOT WATER DISPENSER | 120 | 1 | 15 |  | 1/4"
372 | 1 | COFFEE AND TEA BREWER | 120 | 1 | 13 |  | 3/8" |  | 10
373 | 4 | AIRPOT
374 | 1 | UNDER COUNTER WATER FILTRATION SYSTEM |  |  |  |  | 3/8" |  | 10 | [8 empty] | FOR ITEM #358 #371
375 | - | SPARE NUMBER
376 | 1 | SAKE WARMER | 120 | 1 | 15
377 | 1 | GLASS FILLER SINK |  |  |  |  | 3/8" |  | 15 | 3/4"
378 | 1 | GLASS RINSER |  |  |  |  | 1/2" |  | 15 | 1/2"
379 | - | SPARE NUMBER
380 | - | SPARE NUMBER
381 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #353
382 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
383 | 1 | DROP-IN HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH SOAP & TOWEL DISPENSER
384 | 3 | WINE REFRIGERATOR | 120 | 1 | 1.5
385 | - | SPARE NUMBER
386 | 1 | POS SYSTEM | 120 | 1 | 20 | [12 empty] | BY OS&E
387 | 1 | POS PRINTER | 120 | 1 | 5 | [12 empty] | BY OS&E
388 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
389 | - | SPARE NUMBER
390 | - | SPARE NUMBER
391 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #394
392 | 1 | POS SYSTEM | 120 | 1 | 20 | [12 empty] | BY OS&E
393 | 1 | POS PRINTER | 120 | 1 | 5 | [12 empty] | BY OS&E
394 | 1 | POS COUNTER | [15 empty] | CUSTOM FABRICATION WITH PLATE STORAGE SHELVING
395 | - | SPARE NUMBER
396 | 1 | WALL CABINET | [15 empty] | CUSTOM FABRICATION
397 | - | SPARE NUMBER
398 | - | SPARE NUMBER
399 | - | SPARE NUMBER
400 | - | SPARE NUMBER
SUSHI BAR AREA
401 | 1 | SUSHI BAR TOP AND DIE | [15 empty] | MILLWORK / BY GENERAL CONTRACTOR
402 | 1 | SUSHI FRONT SERVING COUNTER | 120 | 1 | 60 | [12 empty] | CUSTOM FABRICATION
403 | 1 | DROP-IN HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | CUSTOM FABRICATIONWITH SOAP AND TOWEL DISPENSER PART OF ITEM #402
404 | 1 | STAINLESS STEEL TRASH RECEPTACLE | [15 empty] | CUSTOM FABRICATION
405 | - | SPARE NUMBER
406 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #402
407 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #402
408 | 1 | NORI WARMER | 120 | 1 | 5
409 | - | SPARE NUMBER
410 | - | SPARE NUMBER
411 | 1 | UNDERCOUNTER REFRIGERATOR WITH SLIDING GLASS DOORS AND PAN SLIDES | 120 | 1 | 4 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH PAN SLIDES PART OF ITEM #402
412 | 1 | RICE WARMER STAND | [15 empty] | CUSTOM FABRICATION MOBILE
413 | 1 | RICE WARMER | 120 | 1 | 0.4
414 | 1 | PREPARATION SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #402
415 | - | SPARE NUMBER
416 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #402
417 | 1 | NORI WARMER | 120 | 1 | 5
418 | 1 | UNDERCOUNTER REFRIGERATOR WITH SLIDING GLASS DOORS AND PAN SLIDES | 120 | 1 | 4 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH PAN SLIDES PART OF ITEM #402
419 | - | SPARE NUMBER
420 | - | SPARE NUMBER
421 | 1 | RICE WARMER STAND | [15 empty] | CUSTOM FABRICATION MOBILE
422 | 1 | RICE WARMER | 120 | 1 | 0.4
423 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #402
424 | 1 | NORI WARMER | 120 | 1 | 5
425 | - | SPARE NUMBER
426 | 1 | UNDERCOUNTER REFRIGERATOR WITH SLIDING GLASS DOORS AND PAN SLIDES | 120 | 1 | 4 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH PAN SLIDES PART OF ITEM #402
427 | 1 | PREPARATION SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #402
428 | 3 | SUSHI CASE | 120 | 1 | 8 | [12 empty] | CUSTOM FABRICATION REMOTE REFRIGERATION PART OF ITEM #402
429 | - | SPARE NUMBER
430-500 | - | SPARE NUMBERS
Total