## Sheet
________ Preliminary Utility Schedule
August 01, 2024
NO | QTY | DESCRIPTION | VOLTS | PH | AMPS | KW | CW | HW | GPH | IW | DW | BTUS | EXH CFM | SUPPLY CFM | HEAT REJECTION | CHILLED WATER IN | CHILLED WATER OUT | REMARKS
PREPARATION AND COOKING AREA
1 | 1 | EVAPORATOR COIL | [15 empty] | EXISTING TO REMAIN
2 | 1 | COOLER STORAGE SHELVING | [15 empty] | FIXED FOUR TIER EXISTING TO REMAIN
3 | 1 | COOLER STORAGE SHELVING | [15 empty] | FIXED FIVE TIER EXISTING TO REMAIN
4 | 1 | COOLER STORAGE SHELVING | [15 empty] | FIXED FOUR TIER EXISTING TO REMAIN
5 | - | SPARE NUMBER
6 | 2 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
7 | - | SPARE NUMBER
8 | 1 | BUSSING UTILITY CART | [15 empty] | MOBILE EXISTING TO REMAIN
9 | - | SPARE NUMBER
10 | - | SPARE NUMBER
11 | 1 | BUSSING UTILITY CART | [15 empty] | MOBILE EXISTING TO REMAIN
12 | 1 | BUSSING UTILITY CART | [15 empty] | MOBILE EXISTING TO REMAIN
13 | 1 | BULK COOLER | [15 empty] | EXISTING TO REMAIN
14 | - | SPARE NUMBER
15 | - | SPARE NUMBER
16 | 1 | HAND SINK | [15 empty] | WITH SOAP & TOWEL DISPENSER EXISTING TO REMAIN
17 | 1 | PASTRY TABLE WITH SINK | 120 | 1 | 20 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
18 | 1 | 5 QT. MIXER | 120 | 1 | 2.9
19 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
20 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 3 | [12 empty] | MOBILE
21 | 1 | MARBLE TOP | [15 empty] | CUSTOM FABRICATION PART OF ITEM #17
22 | 1 | UNDERCOUNTER FREEZER | 120 | 1 | 2.5 | [12 empty] | MOBILE
23 | 1 | UNDERCOUNTER REFRIGERATOR | [15 empty] | MOBILE EXISTING TO REMAIN
24 | 1 | INDUCTION WARMER | 120 | 1 | 14 | [12 empty] | 1 RING
25 | - | SPARE NUMBER
26 | 1 | INDUCTION WARMER | 208 | 1 | 22 | [12 empty] | 2 RING
27 | 1 | COUNTERTOP COMBI OVEN | 208 | 3 | 15.8 |  | 3/4" |  | 80 | 1 1/2" | [7 empty] | VENTLESS
28 | 1 | BATCH ICE CREAM FREEZER | 208 | 3 | 28 |  | 1/2" |  |  | 1/2" | [7 empty] | MOBILE
29 | 1 | WATER FILTRATION SYSTEM |  |  |  |  | 3/4" | [10 empty] | FOR ITEM #27
30 | - | SPARE NUMBER
31 | 1 | REACH IN REFRIGERATOR | [15 empty] | MOBILE EXISTING TO REMAIN
32 | 1 | REACH IN FREEZER | [15 empty] | MOBILE EXISTING TO REMAIN
33 | 1 | CHEF'S COUNTER | [15 empty] | CUSTOM FABRICATION EXISTING TO REMAIN
34 | 1 | UTILITY CHASE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #37 EXISTING TO REMAIN
35 | - | SPARE NUMBER
36 | 1 | LOAD CENTER | [15 empty] | CUSTOM FABRICATION EXISTING TO REMAIN
37 | 1 | DOUBLE OVERSHELF | [15 empty] | CUSTOM FABRICATIONPART OF ITEM #33 EXISTING TO REMAIN
38 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM EXISTING TO REMAIN
39 | - | SPARE NUMBER
40 | - | SPARE NUMBER
41 | 1 | BLENDER | [15 empty] | EXISTING TO REMAIN
42 | 1 | PATTY PRESS | [15 empty] | EXISTING TO REMAIN
43 | 1 | REFRIGERATED PREP TABLE | [15 empty] | MOBILE EXISTING TO REMAIN
44 | 1 | REACH IN REFRIGERATOR | [15 empty] | MOBILE EXISTING TO REMAIN
45 | - | SPARE NUMBER
46 | 1 | REFRIGERATED PREP TABLE | [15 empty] | MOBILE EXISTING TO REMAIN
47 | 1 | REFRIGERATED PREP TABLE | [15 empty] | MOBILE EXISTING TO REMAIN
48 | 1 | FOOD WARMER | [15 empty] | EXISTING TO REMAIN
49 | - | SPARE NUMBER
50 | - | SPARE NUMBER
51 | 1 | FOOD WARMER | [15 empty] | EXISTING TO REMAIN
52 | 1 | UTENSIL HOOKS | [15 empty] | CUSTOM FABRICATION PART OF ITEM #37 EXISTING TO REMAIN
53 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM EXISTING TO REMAIN
54 | 1 | POS PRINTER | [15 empty] | EXISTING TO REMAIN
55 | - | SPARE NUMBER
56 | 1 | REFRIGERATED PREP TABLE | [15 empty] | MOBILE EXISTING TO REMAIN
57 | 1 | POS PRINTER | [15 empty] | EXISTING TO REMAIN
58 | 1 | UTILITY CHASE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #37 EXISTING TO REMAIN
59 | - | SPARE NUMBER
60 | - | SPARE NUMBER
61 | 1 | REACH IN REFRIGERATOR | [15 empty] | MOBILE EXISTING TO REMAIN
62 | 1 | EXHAUST HOOD | [15 empty] | WITH MAKE-UP AIR EXISTING TO REMAIN
63 | 1 | SPREADER CABINET
64 | - | SPARE NUMBER
65 | - | SPARE NUMBER
66 | - | SPARE NUMBER
67 | - | SPARE NUMBER
68 | 1 | FRYER | 120 | 1 | 8 | [6 empty] | 80000 | [5 empty] | MOBILE EXISTING TO BE RELOCATED
69 | - | SPARE NUMBER
70 | 1 | SPREADER CABINET
71 | 1 | MODULAR CHARBROILER | [9 empty] | 90000 | [5 empty] | EXISTING TO BE RELOCATED
72 | 1 | REFRIGERATED EQUIPMENT STAND | 120 | 1 | 12.6 | [12 empty] | MOBILE EXISTING TO BE RELOCATED
73 | 1 | SIX BURNER RANGE | 120 | 1 | 4 | [6 empty] | 245000 | [5 empty] | WITH OVEN MOBILE EXISTING TO BE RELOCATED
74 | 1 | SALAMANDER | [9 empty] | 35000 | [5 empty] | RANGE MOUNTED EXISTING TO BE RELOCATED
75 | - | SPARE NUMBER
76 | 1 | SIX BURNER RANGE | 120 | 1 | 4 | [6 empty] | 245000 | [5 empty] | WITH OVEN MOBILE EXISTING TO BE RELOCATED
77 | 1 | SALAMANDER | [9 empty] | 35000 | [5 empty] | RANGE MOUNTED EXISTING TO BE RELOCATED
78 | 1 | PASTA COOKER |  |  |  |  | 1/2" |  |  | 1" |  | 80000 | [5 empty] | MOBILE
79 | - | SPARE NUMBER
80 | - | SPARE NUMBER
81 | 1 | REFRIGERATED EQUIPMENT STAND | 120 | 1 | 12.6 | [12 empty] | MOBILE
82 | 1 | MODULAR GRIDDLE | [9 empty] | 105000
83 | 1 | COMBI OVEN | 208 | 3 | 103.8 |  | (2)3/4" |  | 180 | 2" |  | 106500 | [5 empty] | WITH STAND MOBILE EXISTING TO BE RELOCATED
84 | 1 | WATER FILTRATION SYSTEM |  |  |  |  | 3/4" | [10 empty] | FOR ITEM #83
85 | 1 | POT SINK |  |  |  |  | 3/4" | 3/4" | 40 | (3)2" | [7 empty] | CUSTOM FABRICATION
86 | 1 | FIRE SUPPRESSION SYSTEM | [15 empty] | FOR ITEM #62 EXISTING TO REMAIN
87 | 1 | PRE-RINSE UNIT |  |  |  |  | 1/2" | 1/2" | 50 | [8 empty] | WITH FAUCET
88 | 1 | TRASH RECEPTACLE | [15 empty] | EXISTING TO BE RELOCATED
89 | - | SPARE NUMBER
90 | - | SPARE NUMBER
91 | 1 | POT SHELF | [15 empty] | CUSTOM FABRICATION
92 | 2 | CLEAN PAN STORAGE SHELVING | [15 empty] | FIXED FIVE TIER EXISTING TO BE RELOCATED
93 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION
94 | 2 | RICE WARMER STAND | [15 empty] | CUSTOM FABRICATION MOBILE
95 | - | SPARE NUMBER
96 | 2 | RICE COOKER WITH WARMER | 120 | 1 | 18
97 | - | SPARE NUMBER
98 | 1 | FISH PREPARATION TABLE | 120 | 1 | 40 | [12 empty] | CUSTOM FABRICATION
99 | - | SPARE NUMBER
100 | 1 | PRE-RINSE UNIT |  |  |  |  | 1/2" | 1/2" | 50 | [8 empty] | WITH FAUCET
101 | 1 | FISH SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION WITH PERFORATED BOTTOM AND CUTTING BOARD
102 | 1 | TRASH RECEPTACLE | [15 empty] | WITH LID AND DOLLY
103 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
104 | 1 | FISH SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION WITH PERFORATED BOTTOM AND CUTTING BOARD
105 | 1 | PRE-RINSE UNIT |  |  |  |  | 1/2" | 1/2" | 50 | [8 empty] | WITH FAUCET
106 | 1 | VEGETABLE PREPARATION TABLE | 120 | 1 | 40 |  | 1/2" | 1/2" | 30 | (2)1-1/2" | [7 empty] | CUSTOM FABRICATION MOBILE
107 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
108 | - | SPARE NUMBER
109 | - | SPARE NUMBER
110 | - | SPARE NUMBER
111 | - | SPARE NUMBER
112 | - | SPARE NUMBER
113 | 1 | WORK TABLE | 120 | 1 | 20 | [12 empty] | CUSTOM FABRICATION MOBILE EXISTING TO BE RELOCATED
114 | 1 | TRASH RECEPTACLE | [15 empty] | EXISTING TO BE RELOCATED
115 | - | SPARE NUMBER
116 | 1 | COOLER CONDENSING UNIT | [15 empty] | ON EMERGENCY POWER EXISTING TO REMAIN
117 | - | SPARE NUMBER
118 | - | SPARE NUMBER
119 | - | SPARE NUMBER
120 | - | SPARE NUMBER
STORAGE AND WARE WASHING AREA
121 | 1 | EVAPORATOR COIL | [15 empty] | EXISTING TO REMAIN
122 | 1 | COOLER STORAGE SHELVING | [15 empty] | FIXED FOUR TIER EXISTING TO REMAIN
123 | 1 | COOLER STORAGE SHELVING | [15 empty] | FIXED FOUR TIER EXISTING TO REMAIN
124 | 4 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
125 | - | SPARE NUMBER
126 | 1 | WINE STORAGE SHELVING | [15 empty] | FIXED FOURTEEN TIER
127 | - | SPARE NUMBER
128 | - | SPARE NUMBER
129 | - | SPARE NUMBER
130 | - | SPARE NUMBER
131 | - | SPARE NUMBER
132 | 1 | BEVERAGE COOLER | [15 empty] | EXISTING TO REMAIN
133 | 1 | SODA BAG IN BOX RACK | [15 empty] | EXISTING TO REMAIN
134 | 6 | CO2 TANK | [15 empty] | EXISTING TO REMAIN
135 | - | SPARE NUMBER
136 | 1 | CO2 TANK STORAGE | [15 empty] | EXISTING TO REMAIN
137 | 1 | LOW TEMPERATURE FREEZER | 120 | 1 | 8.9 |  |  |  |  | 1" | [7 empty] | MOBILE
138 | 1 | DRY STORAGE SHELVING | [15 empty] | FIXED FOUR TIER
139 | - | SPARE NUMBER
140 | - | SPARE NUMBER
141 | 1 | DRY STORAGE SHELVING | [15 empty] | FIXED FIVE TIER EXISTING TO REMAIN
142 | 1 | WINE STORAGE SHELVING | [15 empty] | FIXED FOURTEEN TIER
143 | 1 | HOOD CONTROL CABINET | [15 empty] | FOR ITEM #62 EXISTING TO REMAIN
144 | 1 | WATER FILTRATION SYSTEM |  |  |  |  | 3/8" | [10 empty] | FOR ITEM #147
145 | - | SPARE NUMBER
146 | 1 | ICE BIN | [15 empty] | 700LBS. EXISTING TO REMAIN
147 | 1 | ICE MAKER | [15 empty] | 500LBS AIR COOLED LARGE CUBE STYLE EXISTING TO REMAIN
148 | 1 | WORK TABLE WITH SINK | 120 | 1 | 20 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
149 | 1 | DOUBLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
150 | 1 | SUSHI CASE | 120 | 1 | 0.9
151 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #502
152 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM EXISTING TO REMAIN
153 | 1 | UNDERCOUNTER REFRIGERATOR WITH SLIDING GLASS DOORS AND PAN SLIDES | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH PAN SLIDES PART OF ITEM #502
154 | 1 | NORI WARMER | 120 | 1 | 0.14
155 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #502
156 | 1 | POS PRINTER | [15 empty] | EXISTING TO REMAIN
157 | 1 | RICE WARMER STAND | [15 empty] | CUSTOM FABRICATION MOBILE
158 | 1 | RICE WARMER | 120 | 1 | 18
159 | 1 | REACH IN REFRIGERATOR | [15 empty] | MOBILE EXISTING TO REMAIN
160 | 1 | REACH-IN FREEZER | 120 | 1 | 9.7 | [12 empty] | MOBILE
161 | 1 | HAND SINK | [15 empty] | WITH SOAP & TOWEL DISPENSER EXISTING TO REMAIN
162 | 2 | GLASS RACK DISH DOLLY | [15 empty] | MOBILE EXISTING
163 | 1 | POLISH STATION TABLE | [15 empty] | CUSTOM FABRICATION
164 | 1 | GLASS RACK SHELF | [15 empty] | CUSTOM FABRICATION WALL MOUNTED
165 | 4 | CLEAN DISH STORAGE SHELVING | [15 empty] | FIXED FOUR TIER
166 | 1 | SOILED DISH TABLE | [15 empty] | CUSTOM FABRICATION WITH OVERSHELF AND TROUGH EXISTING TO REMAIN
167 | 1 | HOSE REEL | [15 empty] | CUSTOM FABRICATION COUNTER MOUNTED EXISTING TO REMAIN
168 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM EXISTING TO REMAIN
169 | - | SPARE NUMBER
170 | - | SPARE NUMBER
171 | 1 | TRASH RECEPTACLE | [15 empty] | EXISTING TO REMAIN
172 | 1 | DUNNAGE RACK | [15 empty] | EXISTING TO REMAIN
173 | 1 | PRE-RINSE UNIT | [15 empty] | WITH FAUCET EXISTING TO REMAIN
174 | 1 | DISPOSER | [15 empty] | EXISTING TO REMAIN
175 | - | SPARE NUMBER
176 | 1 | DISH MACHINE | [15 empty] | EXISTING TO REMAIN
177 | 1 | VENT DUCT LOAD END | [15 empty] | CUSTOM FABRICATION EXISTING TO REMAIN
178 | 1 | VENT DUCT UNLOAD END | [15 empty] | CUSTOM FABRICATION EXISTING TO REMAIN
179 | - | SPARE NUMBER
180 | - | SPARE NUMBER
181 | 1 | CLEAN DISH TABLE | [15 empty] | CUSTOM FABRICATION EXISTING TO REMAIN
182 | 1 | GLASS RACK SHELF | [15 empty] | CUSTOM FABRICATION WALL MOUNTED
183 | 1 | UNDERCOUNTER DISH MACHINE | 120 | 1 | 30.5 |  | 3/4" |  | 15 | 5/8" | [7 empty] | 180 DEGREE RINSE
184 | - | SPARE NUMBER
185 | - | SPARE NUMBER
186 | 3 | DRY STORAGE SHELVING | [15 empty] | FIXED FOUR TIER
187 | 1 | BULK COOLER | 120 | 1 | 20 | [12 empty] | WITH RAMP
188 | 1 | COOLER CONDENSING UNIT | 208 | 3 | 4.7 | [10 empty] | 1/2" | 1/2" | ON EMERGENCY POWER
189 | - | SPARE NUMBER
190 | - | SPARE NUMBER
191 | 1 | FREEZER CONDENSING UNIT | 208 | 3 | 11.4 | [10 empty] | 1/2" | 1/2" | ON EMERGENCY POWER
192 | 1 | EVAPORATOR COIL | 120 | 1 | 1.8 |  |  |  |  | 3/4"
193 | 5 | COOLER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
194 | 1 | BULK FREEZER | 120 | 1 | 20
195 | - | SPARE NUMBER
196 | 1 | EVAPORATOR COIL | 120 | 1 | 1.8 |  |  |  |  | 3/4"
197 | 3 | FREEZER STORAGE SHELVING | [15 empty] | MOBILE FIVE TIER
198 | - | SPARE NUMBER
199 | - | SPARE NUMBER
200- 213 | - | SPARE NUMBER
214 | 1 | COOLER CONDENSING UNIT | [15 empty] | ON EMERGENCY POWER EXISTING TO REMAIN
215- 300 | - | SPARE NUMBER
SERVICE BAR
301 | 1 | DUMP SINK |  |  |  |  | 1/2" | 1/2" | 30 | 1-1/2" | [7 empty] | EXISTING TO REMAIN
302 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM EXISTING TO REMAIN
303 | 1 | WORK TABLE WITH SINK | [15 empty] | CUSTOM FABRICATION EXISTING TO REMAIN
304 | 1 | GLASS RACK SHELF | [15 empty] | CUSTOM FABRICATION WALL MOUNTED EXISTING TO REMAIN
305 | - | SPARE NUMBER
306 | 2 | GLASS RACK DISH DOLLY | [15 empty] | MOBILE EXISTING TO REMAIN
307 | 1 | COFFEE BREWER | 120 | 1 | 27.5 |  |  |  | 17
308 | 3 | AIR POT | [15 empty] | BY VENDOR EXISTING TO REMAIN
309 | - | SPARE NUMBER
310 | 1 | UNDER COUNTER WATER FILTRATION SYSTEM |  |  |  |  | 3/8" |  | 10 | [8 empty] | FOR ITEM #308 #311 #315
311 | 1 | COFFEE / ESPRESSO MACHINE | [15 empty] | EXISTING TO REMAIN
312 | 1 | GLASS RACK | [15 empty] | EXISTING TO REMAIN
313 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM EXISTING TO REMAIN
314 | - | SPARE NUMBER
315 | 1 | HOT WATER DISPENSER | 120 | 1 | 15 |  | 1/4"
316 | 1 | UNDERCOUNTER REFRIGERATOR | [15 empty] | MOBILE EXISTING TO REMAIN
317 | 1 | CO2 TANK | [15 empty] | EXISTING TO REMAIN
318 | 1 | WATER DISPENSER | [15 empty] | EXISTING TO REMAIN
319 | 1 | SAKE WARMER | 120 | 1 | 15
320 | 1 | UNDER COUNTER WATER FILTRATION SYSTEM |  |  |  |  | 3/8" |  | 10 | [8 empty] | FOR ITEM #322
321 | 1 | UNDERCOUNTER FREEZER | 120 | 1 | 2.4
322 | 1 | GLASS FILLER STATION | [15 empty] | EXISTING TO REMAIN
323 | 1 | ICE BIN | [15 empty] | EXISTING TO REMAIN
324 | 1 | ICE CART | [15 empty] | MOBILE EXISTING TO REMAIN
325 | - | SPARE NUMBER
326 | 1 | POS SYSTEM | [15 empty] | BY OS&E EXISTING TO REMAIN
327 | 1 | POS PRINTER | [15 empty] | EXISTING TO REMAIN
328 | 1 | POS SYSTEM | [15 empty] | BY OS&E EXISTING TO REMAIN
329 | - | SPARE NUMBER
330 | - | SPARE NUMBER
331 | 1 | POS PRINTER | [15 empty] | EXISTING TO REMAIN
332 | 1 | GLASS RACK DISH DOLLY | [15 empty] | MOBILE EXISTING TO REMAIN
333 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM EXISTING TO REMAIN
334 | 1 | WORK TABLE | [15 empty] | CUSTOM FABRICATION EXISTING TO REMAIN
335 | - | SPARE NUMBER
336 | 1 | HAND SINK | [15 empty] | WITH SOAP & TOWEL DISPENSER EXISTING TO REMAIN
337 | 2 | WINE REFRIGERATOR | 120 | 1 | 3
338 | 1 | WINE REFRIGERATOR | 120 | 1 | 3 | [12 empty] | EXISTING TO BE RELOCATED
339 | - | SPARE NUMBER
340- 400 | - | SPARE NUMBER
BAR AREA
401 | 1 | BAR TOP AND DIE | [15 empty] | BY INTERIOR DESIGNER GRANITE TOP WITH DRINK RAIL
402 | 1 | WINE CABINET | 120 | 1 | 1.9
403 | 1 | BAR FILLER
404 | 1 | DUMP SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2"
405 | - | SPARE NUMBER
406 | 2 | GLASS RINSER |  |  |  |  | 1/2" |  |  | 1/2"
407 | 1 | SODA GUN HOLDER | [15 empty] | WITH SODA GUN
408 | 1 | BAR FILLER
409 | - | SPARE NUMBER
410 | - | SPARE NUMBER
411 | 1 | COCKTAIL STATION | [7 empty] | 1/2"
412 | 1 | SPEED RAIL
413 | 1 | BAR FILLER
414 | 1 | TRASH UNIT | [15 empty] | WITH SLIM JIM TRASH RECEPTACLE
415 | - | SPARE NUMBER
416 | 1 | BAR FILLER
417 | 1 | POS CABINET
418 | 1 | POS PRINTER | 120 | 1 | 5 | [12 empty] | BY OS&E
419 | - | SPARE NUMBER
420 | - | SPARE NUMBER
421 | 1 | POS SYSTEM | 120 | 1 | 10 | [12 empty] | BY OS&E
422 | 1 | BAR FILLER
423 | 1 | DUMP SINK |  |  |  |  | 1/2" | 1/2" | 5 | 1-1/2"
424 | 2 | GLASS RINSER |  |  |  |  | 1/2" |  |  | 1/2"
425 | - | SPARE NUMBER
426 | 1 | SODA GUN HOLDER | [15 empty] | WITH SODA GUN
427 | 1 | BAR FILLER
428 | 1 | COCKTAIL STATION | [7 empty] | 1/2"
429 | - | SPARE NUMBER
430 | - | SPARE NUMBER
431 | 1 | SPEED RAIL
432 | 1 | BOTTLE STORAGE BIN
433 | 1 | BAR FILLER
434 | 1 | TRASH UNIT | [15 empty] | WITH SLIM JIM TRASH RECEPTACLE
435 | - | SPARE NUMBER
436 | 1 | BAR FILLER
437 | 1 | POS CABINET
438 | 1 | POS PRINTER | 120 | 1 | 5 | [12 empty] | BY OS&E
439 | - | SPARE NUMBER
440 | - | SPARE NUMBER
441 | 1 | POS SYSTEM | 120 | 1 | 10 | [12 empty] | BY OS&E
442 | 1 | BAR FILLER
443 | 1 | TRASH UNIT | [15 empty] | WITH SLIM JIM TRASH RECEPTACLE
444 | 1 | BAR FILLER
445 | - | SPARE NUMBER
446 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2"
447 | 1 | BAR FILLER
448 | 1 | DRAINBOARD | [7 empty] | 1-1/2"
449 | - | SPARE NUMBER
450 | - | SPARE NUMBER
451 | 1 | BAR FILLER
452 | 1 | GLASSWASHER | 208 | 1 | 33 |  |  | 1/2" | 18 | 1" | [7 empty] | 180° RINSE
453 | 1 | BAR FILLER
454 | 1 | DRAINBOARD | [7 empty] | 1-1/2"
455 | - | SPARE NUMBER
456 | 1 | BAR FILLER
457 | 1 | DUMP SINK |  |  |  |  | 1/2" | 1/2" | 5 | 1-1/2"
458 | 1 | BAR FILLER
459 | - | SPARE NUMBER
460 | - | SPARE NUMBER
461 | - | SPARE NUMBER
462 | - | SPARE NUMBER
463 | - | SPARE NUMBER
464 | - | SPARE NUMBER
465 | - | SPARE NUMBER
466 | - | SPARE NUMBER
467 | - | SPARE NUMBER
468 | - | SPARE NUMBER
469 | - | SPARE NUMBER
470 | - | SPARE NUMBER
471 | 1 | BACK BAR COUNTER | [15 empty] | BY INTERIOR DESIGNER GRANITE TOP
472 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DOORS
473 | - | SPARE NUMBER
474 | - | SPARE NUMBER
475 | - | SPARE NUMBER
476 | - | SPARE NUMBER
477 | - | SPARE NUMBER
478 | - | SPARE NUMBER
479 | - | SPARE NUMBER
480-500 | - | SPARE NUMBER
SUSHI BAR AREA
501 | 1 | SUSHI BAR TOP AND DIE | 120 | 1 | 140 | [12 empty] | MILLWORK / BY GENERAL CONTRACTOR
502 | 1 | SUSHI COUNTER | [15 empty] | CUSTOM FABRICATION
503 | 1 | RICE WARMER STAND | [15 empty] | CUSTOM FABRICATION MOBILE
504 | 1 | RICE WARMER | 120 | 1 | 18
505 | - | SPARE NUMBER
506 | 8 | SUSHI CASE | 120 | 1 | 64 | [12 empty] | CUSTOM FABRICATION PART OF ITEM #502
507 | 1 | PREPARATION SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #502
508 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #502
509 | - | SPARE NUMBER
510 | - | SPARE NUMBER
511 | 1 | STAINLESS STEEL TRASH RECEPTACLE | [15 empty] | CUSTOM FABRICATION
512 | 1 | NORI WARMER | 120 | 1 | 0.14
513 | 1 | UNDERCOUNTER REFRIGERATOR WITH SLIDING GLASS DOORS AND PAN SLIDES | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH PAN SLIDES PART OF ITEM #502
514 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #502
515 | - | SPARE NUMBER
516 | 1 | PREPARATION SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #502
517 | 1 | RICE WARMER STAND | [15 empty] | CUSTOM FABRICATION MOBILE
518 | 1 | RICE WARMER | 120 | 1 | 18
519 | - | SPARE NUMBER
520 | - | SPARE NUMBER
521 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #502
522 | 1 | STAINLESS STEEL TRASH RECEPTACLE | [15 empty] | CUSTOM FABRICATION
523 | 1 | NORI WARMER | 120 | 1 | 0.14
524 | 1 | UNDERCOUNTER REFRIGERATOR WITH SLIDING GLASS DOORS AND PAN SLIDES | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH PAN SLIDES PART OF ITEM #502
525 | - | SPARE NUMBER
526 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #502
527 | 1 | RICE WARMER STAND | [15 empty] | CUSTOM FABRICATION MOBILE
528 | 1 | RICE WARMER | 120 | 1 | 18
529 | - | SPARE NUMBER
530 | - | SPARE NUMBER
531 | 1 | PREPARATION SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #502
532 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #502
533 | 1 | STAINLESS STEEL TRASH RECEPTACLE | [15 empty] | CUSTOM FABRICATION
534 | 1 | NORI WARMER | 120 | 1 | 0.14
535 | - | SPARE NUMBER
536 | 1 | UNDERCOUNTER REFRIGERATOR WITH SLIDING GLASS DOORS AND PAN SLIDES | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH PAN SLIDES PART OF ITEM #502
537 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #502
538 | 1 | PREPARATION SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #502
539 | - | SPARE NUMBER
540 | - | SPARE NUMBER
541 | 1 | RICE WARMER STAND | [15 empty] | CUSTOM FABRICATION MOBILE
542 | 1 | RICE WARMER | 120 | 1 | 18
543 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #502
544 | 1 | STAINLESS STEEL TRASH RECEPTACLE | [15 empty] | CUSTOM FABRICATION
545 | - | SPARE NUMBER
546 | 1 | NORI WARMER | 120 | 1 | 0.14
547 | 1 | UNDERCOUNTER REFRIGERATOR WITH SLIDING GLASS DOORS AND PAN SLIDES | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH PAN SLIDES PART OF ITEM #502
548 | 1 | CUTTING BOARD | [15 empty] | CUSTOM FABRICATION RECESSED PART OF ITEM #502
549 | - | SPARE NUMBER
550 | - | SPARE NUMBER
551 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #502
552 | 1 | STAINLESS STEEL TRASH RECEPTACLE | [15 empty] | CUSTOM FABRICATION
553 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 15 |  | 1-1/2" | [6 empty] | CUSTOM FABRICATION PART OF ITEM #502
554 | - | SPARE NUMBER
555-600 | - | SPARE NUMBER
Total