## Exported Schedule
EQUIPMENT | [5 empty] | VENTILATION | [9 empty] | PLUMBING | [20 empty] | ELECTRICAL
NO | QTY | MANUF. | MODEL | DESCRIPTION | REMARKS | NO - DESCRIPTION | SDI Mech Highlight | EXHAUST |  |  | SUPPLY |  |  | HEAT REJECTION (BTUH) | COMMENTS | NO - DESCRIPTION | SDI Plumb Highlight | WATER |  |  |  |  | WASTE |  |  | GAS |  |  |  | CHILLED WATER | [5 empty] | COMMENTS | NO - DESCRIPTION | SDI Elec Highlight | HGT. | CONNECTION LOAD |  |  | COMMENTS | E.C. TO PROVIDE
[8 empty] | DUCT SIZE | CFM | S.P. | DUCT SIZE | CFM | S.P. |  |  |  |  | HGT. | SIZE | CW | HW | GPH | I.W. | D.W. | HGT. | HGT. | SIZE | BTU'S | W.C. | HGT. | IN SIZE | OUT SIZE | GPH | TEMP. | PSI |  |  |  |  | LOAD | VOLTAGE | PHASE |  | J-BOX | CONN.
BULK STORAGE AREA
1 | 1 | Some Company | Some Model | Something | Nothing remarkable | 1 - Something | Yes | AS REQ'D | [5 empty] | 12827 | HEAT REMOVAL EXHAUST GRILLE | 1 - Something | Yes | [12 empty] | 36" | 2" | 2" | 4872 | 85°F | 150 |  | 1 - REFRIGERATION RACK | Yes | 36" 36" | 68.1A 20.0A | 480V 120V | 3PH 1PH | ON EMERGENCY POWER / DATA CABLE REQUIRED | ● | ●
2 | - |  |  | SPARE NUMBER |  | 2 - SPARE NUMBER | [9 empty] | 2 - SPARE NUMBER | [20 empty] | 2 - SPARE NUMBER
116 | 1 |  |  | Something | BY OS&E | 116 - Something | [9 empty] | 116 - Something | [20 empty] | 116 - Something | Yes | 48" | 5.0A | 120V | 1PH | PROVIDE DATA OUTLET |  | ●
1 | 1 | MANU | MODAL | DESC | Nothing remarkable | 1 - Something | Yes | AS REQ'D | [5 empty] | 12827 | HEAT REMOVAL EXHAUST GRILLE | 1 - Something | Yes | [12 empty] | 36" | 2" | 2" | 4872 | 85°F | 150 |  | 1 - REFRIGERATION RACK | Yes | 36" 36" | 68.1A 20.0A | 480V 120V | 3PH 1PH | ON EMERGENCY POWER / DATA CABLE REQUIRED | ● | ●
1 | 1 | MANU | MODEL | DESC | Nothing remarkable | 1 - Something | Yes | AS REQ'D | [5 empty] | 12827 | HEAT REMOVAL EXHAUST GRILLE | 1 - Something | Yes | [12 empty] | 36" | 2" | 2" | 4872 | 85°F | 150 |  | 1 - REFRIGERATION RACK | Yes | 36" 36" | 68.1A 20.0A | 480V 120V | 3PH 1PH | ON EMERGENCY POWER / DATA CABLE REQUIRED | ● | ●