## Sheet
________ Preliminary Utility Schedule
August 13, 2024
NO | QTY | DESCRIPTION | VOLTS | PH | AMPS | KW | CW | HW | GPH | IW | DW | BTUS | EXH CFM | SUPPLY CFM | HEAT REJECTION | CHILLED WATER IN | CHILLED WATER OUT | REMARKS
CAFE AREA
1 | 1 | BACK SERVING COUNTER WITH SINK | 120 | 1 | 40 |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
2 | 2 | BLENDER | 120 | 1 | 30 | [12 empty] | WITH DOME
3 | 1 | UNDERCOUNTER DISH MACHINE | 120 | 1 | 23.9 |  | 3/4" |  | 15 | 5/8"
4 | 1 | DROP-IN ICE BIN | [7 empty] | 1"
5 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 15 | 1-1/2" | [7 empty] | CUSTOM FABRICATION WITH SOAP AND TOWEL DISPENSER
6 | 1 | DRAFT BEER REFRIGERATOR | 120 | 1 | 1.4 | [12 empty] | MOBILE
7 | 1 | COFFEE GRINDER | 120 | 1 | 11
8 | 1 | UNDERCOUNTER ICE MAKER | 208 | 3 | 15 |  | 3/8" | [10 empty] | WITH BIN AIR-COOLED 3OOLBS
9 | 1 | WATER FILTRATION SYSTEM |  |  |  |  | 3/8" | [10 empty] | FOR ITEM #8
10 | - | SPARE NUMBER
11 | 1 | COFFEE BREWER | 208 | 1 | 19.7 |  | 3/8" |  | 11.5
12 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 2 | [12 empty] | MOBILE
13 | 6 | AIRPOT
14 | 1 | AIRPOT SERVING RACK
15 | - | SPARE NUMBER
16 | 1 | COLD BREW AND COFFEE DISPENSER | 120 | 1 | 6 |  | 3/8" |  | 10
17 | 2 | ICED TEA DISPENSER
18 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 2 | [12 empty] | MOBILE
19 | - | SPARE NUMBER
20 | - | SPARE NUMBER
21 | 1 | RAPID COOK OVEN | 208 | 3 | 20
22 | 1 | REFRIGERATED GRAB & GO CASE | 120 | 1 | 16 |  |  |  |  | 1 1/2"
22 | 1 | REFRIGERATED GRAB & GO CASE | 120 | 1 | 1.5 |  |  |  |  | 1 1/2"
23 | 1 | FRONT SERVING COUNTER | [15 empty] | CUSTOM FABRICATION
24 | 2 | POS SYSTEM | 120 | 1 | 40 | [12 empty] | BY OS&E
25 | - | SPARE NUMBER
26 | 2 | POS PRINTER | 120 | 1 | 10 | [12 empty] | BY OS&E
27 | 1 | TEA WIRE RACK | [15 empty] | BY VENDOR
28 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
29 | - | SPARE NUMBER
30 | - | SPARE NUMBER
31 | 1 | KNOCK BOX | [15 empty] | CUSTOM FABRICATION PART OF ITEM #23
32 | 1 | SYRUP WIRE RACK | [15 empty] | BY VENDOR
33 | 1 | UNDERCOUNTER FREEZER | 120 | 1 | 4 | [12 empty] | MOBILE
34 | 1 | ACRYLIC SURROUND | [15 empty] | MILLWORK / BY GENERAL CONTRACTOR
35 | - | SPARE NUMBER
36 | 1 | SAUCE WIRE RACK | [15 empty] | BY VENDOR
37 | 1 | ESPRESSO MACHINE | 208 | 3 | 30 |  | 3/8" |  |  | 1 1/2"
38 | 1 | DRIP TROUGH |  |  |  |  | 1/2" |  |  | 1/2"
39 | - | SPARE NUMBER
40 | - | SPARE NUMBER
41 | 1 | WATER STATION |  |  |  |  | 1/2" |  |  | 1 1/4"
42 | 1 | DIPPERWELL |  |  |  |  | 1/2" |  |  | 1-1/2"
43 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 2 | [12 empty] | MOBILE
44 | - | SPARE NUMBER
45 | - | SPARE NUMBER
46 | 1 | FREEZER MERCHANDISER | 120 | 1 | 4.6 | [12 empty] | MOBILE
47 | 2 | REFRIGERATED MERCHANDISER | 120 | 1 | 3.1 | [12 empty] | MOBILE
48 | 1 | OPEN DISPLAY MERCHANDISER | 120 | 1 | 16.9
49 | - | SPARE NUMBER
50 | - | SPARE NUMBER
51 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #63
52 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
53 | 1 | PAPER NAPKIN DISPENSER
54 | 3 | AIRPOT
55 | - | SPARE NUMBER
56 | 2 | CONDIMENT CADDY
57 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
58 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #63
59 | - | SPARE NUMBER
60 | - | SPARE NUMBER
61 | 2 | SELF-PAY POS SYSTEM | 120 | 1 | 40 | [12 empty] | BY OS&E
62 | 2 | POS PRINTER | 120 | 1 | 10 | [12 empty] | BY OS&E
63 | 1 | SELF CHECK-OUT COUNTER | 120 | 1 | 20 | [12 empty] | CUSTOM FABRICATION
64 | 1 | SNACK SHELVING | [15 empty] | CUSTOM FABRICATION
65 | - | SPARE NUMBER
66 | 1 | ROBOBURGER MACHINE
67 | 1 | SOFT SERVE ICE CREAM VENDING MACHINE | 208 | 1 | 25
68 | 1 | HOT FOOD VENDING MACHINE | 260 | 1 | 30
69 | - | SPARE NUMBER
71 | 1 | PIZZA VENDING MACHINE | 230 | 3 | 32
72 | - | SPARE NUMBER
73 | - | SPARE NUMBER
74 | - | SPARE NUMBER
75-80 | - | SPARE NUMBER
BACK OF HOUSE AREA
81 | 1 | THREE COMPARTMENT SINK |  |  |  |  | (2)3/4" | (2)3/4" | 90 | (3)2" | [7 empty] | CUSTOM FABRICATION
82 | 1 | POT SHELF | [15 empty] | CUSTOM FABRICATION
83 | 1 | REACH-IN FREEZER | 120 | 1 | 3.7 | [12 empty] | MOBILE
84 | 2 | REACH-IN REFRIGERATOR | 120 | 1 | 10.8 | [12 empty] | MOBILE
85 | - | SPARE NUMBER
86 | 1 | SOILED DISH TABLE
87 | 1 | UNDERCOUNTER DISHWASHER | 120 | 1 | 12 |  | 3/8" |  |  | 6.5"
88 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 5 |  | 1-1/2" | [6 empty] | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
89 | - | SPARE NUMBER
90 | - | SPARE NUMBER
91 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
92 | - | SPARE NUMBER
93 | - | SPARE NUMBER
94 | - | SPARE NUMBER
95-100 | - | SPARE NUMBER
Total