## Design Development
Piedmont Henry Hospital
Food Service Equipment Budget · Design Development
1223/239 August 18, 2023
Item | Qty | Description | Unit Pricing | DD Budget | Remarks
BULK STORAGE AREA
1 | 1 | REFRIGERATION RACK | 260421 | 260421 | INDOOR, WATER-COOLED, ON EMERGENCY POWER
2 | - | SPARE NUMBER |  | 0
3 | - | SPARE NUMBER |  | 0
4 | - | SPARE NUMBER |  | 0
5 | - | SPARE NUMBER |  | 0
6 | 1 | WORK SURFACE |  | NIC | MILLWORK / BY GENERAL CONTRACTOR
7 | 1 | COMPUTER |  | NIC | BY OS&E
8 | 1 | CHAIR |  | NIC | BY OS&E
9 | - | SPARE NUMBER |  | 0
10 | - | SPARE NUMBER |  | 0
11 | 1 | HIGH-DENSITY SHELVING | 4995 | 4995
12 | 1 | HIGH-DENSITY SHELVING | 4995 | 4995
13 | 1 | HIGH-DENSITY SHELVING | 4995 | 4995
14 | 2 | DRY STORAGE SHELVING | 384.9982 | 769.9965 | FIXED
15 | - | SPARE NUMBER |  | 0
16 | 11 | NON-FOOD STORAGE SHELVING | 384.9982 | 4234.9807 | FIXED
17 | 9 | EQUIPMENT STORAGE SHELVING | 384.9982 | 3464.9842 | FIXED
18 | 1 | BEVERAGE COOLER | 26136 | 26136
19 | - | SPARE NUMBER |  | 0
20 | - | SPARE NUMBER |  | 0
21 | 1 | FLOOR TROUGH & GRATE | 1250 | 1250 | CUSTOM FABRICATION
22 | 1 | EVAPORATOR COIL |  | INCL'DW/#1 | ON EMERGENCY POWER
23 | 7 | COOLER STORAGE SHELVING | 384.9982 | 2694.9877 | MOBILE
24 | 8 | BEVERAGE STORAGE SHELVING | 384.9982 | 3079.986 | FIXED
25 | - | SPARE NUMBER |  | 0
26 | 2 | SODA BAG IN BOX RACK |  | NIC | BY VENDOR
27 | 5 | CO2 TANK |  | NIC | BY VENDOR
28 | 1 | AIR CURTAIN | 1200 | 1200 | WALL MOUNTED
29 | - | SPARE NUMBER |  | 0
30 | - | SPARE NUMBER |  | 0
31 | 1 | BULK COOLER | 173554 | 173554
32 | 1 | FLOOR TROUGH & GRATE | 1450 | 1450 | CUSTOM FABRICATION
33 | 1 | LOW-PROFILE EVAPORATOR COIL |  | INCL'DW/#1 | ON EMERGENCY POWER
34 | 11 | COOLER STORAGE SHELVING | 384.9982 | 4234.9807 | MOBILE
35 | - | SPARE NUMBER |  | 0
36 | 1 | BULK FREEZER |  | INCL'DW/#31
37 | 1 | FLOOR TROUGH & GRATE | 1450 | 1450 | CUSTOM FABRICATION
38 | 1 | LOW-PROFILE EVAPORATOR COIL |  | INCL'DW/#1 | ON EMERGENCY POWER
39 | - | SPARE NUMBER |  | 0
40 | - | SPARE NUMBER |  | 0
41 | 17 | FREEZER STORAGE SHELVING | 384.9982 | 6544.9702 | MOBILE
42 | 1 | THAW COOLER |  | INCL'DW/#31
43 | 1 | FLOOR TROUGH & GRATE | 1250 | 1250 | CUSTOM FABRICATION
44 | 1 | EVAPORATOR COIL |  | INCL'DW/#1 | ON EMERGENCY POWER
45 | - | SPARE NUMBER |  | 0
46 | 5 | COOLER STORAGE SHELVING | 384.9982 | 1924.9913 | MOBILE
47 | 2 | UTILITY RACK | 533.5 | 1067 | MOBILE
48 | 1 | DAIRY COOLER |  | INCL'DW/#31
49 | - | SPARE NUMBER |  | 0
50 | - | SPARE NUMBER |  | 0
51 | 1 | FLOOR TROUGH & GRATE | 1250 | 1250 | CUSTOM FABRICATION
52 | 1 | EVAPORATOR COIL |  | INCL'DW/#1 | ON EMERGENCY POWER
53 | 6 | COOLER STORAGE SHELVING | 384.9982 | 2309.9895 | MOBILE
54 | - | SPARE NUMBER |  | 0
55 | - | SPARE NUMBER |  | 0
PREPARATION AREA
56 | 1 | PROTIEN FREEZER |  | INCL'DW/#31
57 | 1 | EVAPORATOR COIL |  | INCL'DW/#1 | ON EMERGENCY POWER
58 | 6 | FREEZER STORAGE SHELVING | 384.9982 | 2309.9895 | MOBILE
59 | - | SPARE NUMBER |  | 0
60 | - | SPARE NUMBER |  | 0
61 | 1 | PROTIEN COOLER |  | INCL'DW/#31
62 | 1 | FLOOR TROUGH & GRATE | 1250 | 1250 | CUSTOM FABRICATION
63 | 1 | EVAPORATOR COIL |  | INCL'DW/#1 | ON EMERGENCY POWER
64 | 6 | COOLER STORAGE SHELVING | 384.9982 | 2309.9895 | MOBILE
65 | - | SPARE NUMBER |  | 0
66 | 1 | HAND SINK | 1463.5 | 1463.5 | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
67 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
68 | - | SPARE NUMBER |  | 0
69 | - | SPARE NUMBER |  | 0
70 | - | SPARE NUMBER |  | 0
71 | 1 | PREPARATION TABLE WITH SINK | 6250 | 6250 | CUSTOM FABRICATION
72 | 1 | DOUBLE WALL SHELF | 5280 | 5280 | CUSTOM FABRICATION
73 | 1 | TRASH RECEPTACLE | 121.06 | 121.06 | WITH LID AND DOLLY
74 | 1 | RECCESSED CUTTING BOARD | 250 | 250 | CUSTOM FABRICATION
75 | - | SPARE NUMBER |  | 0
76 | 1 | MEAT GRINDER | 5167 | 5167
77 | 1 | VACUUM PACKAGING MACHINE | 7556 | 7556
78 | 1 | TRASH RECEPTACLE | 121.06 | 121.06 | WITH LID AND DOLLY
79 | - | SPARE NUMBER |  | 0
80 | - | SPARE NUMBER |  | 0
81 | 2 | RECCESSED CUTTING BOARD | 250 | 500 | CUSTOM FABRICATION
82 | 1 | KNIFE SANITIZER | 2122 | 2122 | WALL MOUNTED
83 | 1 | PREPARATION LABEL PRINTER |  | NIC | BY OS&E
84 | 2 | PORTION SCALE | 388 | 776
85 | - | SPARE NUMBER |  | 0
86 | 1 | 20 QT. MIXER | 10349 | 10349
87 | 1 | MIXER UTENSIL RACK | 895 | 895 | CUSTOM FABRICATION
88 | 1 | AIR PURIFIER | 4550 | 4550 | WALL MOUNTED
89 | - | SPARE NUMBER |  | 0
90 | - | SPARE NUMBER |  | 0
91 | 1 | MOBILE PREPARATION TABLE | 1600 | 1600 | CUSTOM FABRICATION
92 | 3 | UTILITY RACK | 533.5 | 1600.5 | MOBILE
93 | 1 | DRY STORAGE SHELVING | 384.9982 | 384.9982 | FIXED
94 | 1 | EVAPORATOR COIL |  | INCL'DW/#1 | ON EMERGENCY POWER
95-100 | - | SPARE NUMBER |  | 0
PREPARATION AREA
101 | 1 | VEGETABLE COOLER | 137221 | 137221
102 | 1 | FLOOR TROUGH & GRATE | 1450 | 1450 | CUSTOM FABRICATION
103 | 1 | LOW-PROFILE EVAPORATOR COIL |  | INCL'DW/#1 | ON EMERGENCY POWER
104 | 11 | COOLER STORAGE SHELVING | 384.9982 | 4234.9807 | MOBILE
105 | - | SPARE NUMBER |  | 0
106 | 1 | FLOOR TROUGH & GRATE | 1250 | 1250 | CUSTOM FABRICATION
107 | 1 | PREPARATION TABLE WITH SINKS | 6000 | 6000 | CUSTOM FABRICATION
108 | 1 | DOUBLE WALL SHELF | 3905 | 3905 | CUSTOM FABRICATION
109 | - | SPARE NUMBER |  | 0
110 | - | SPARE NUMBER |  | 0
111 | 1 | TRASH RECEPTACLE | 121.06 | 121.06 | WITH LID AND DOLLY
112 | 1 | VEGETABLE DRYER | 7084 | 7084 | MOBILE
113 | 2 | RECCESSED CUTTING BOARD | 250 | 500 | CUSTOM FABRICATION
114 | 1 | KNIFE SANITIZER | 2122 | 2122 | WALL MOUNTED
115 | - | SPARE NUMBER |  | 0
116 | 1 | PREPARATION LABEL PRINTER |  | NIC | BY OS&E
117 | 2 | PORTION SCALE | 388 | 776
118 | - | SPARE NUMBER |  | 0
119 | - | SPARE NUMBER |  | 0
120 | - | SPARE NUMBER |  | 0
121 | 1 | 20 QT. MIXER | 10349 | 10349
122 | 1 | MIXER UTENSIL RACK | 1895 | 1895 | CUSTOM FABRICATION
123 | - | SPARE NUMBER |  | 0
124 | - | SPARE NUMBER |  | 0
125 | - | SPARE NUMBER |  | 0
126 | 1 | EVAPORATOR COIL |  | INCL'DW/#1 | ON EMERGENCY POWER
127 | 1 | PREPARATION TABLE WITH SINK | 2915 | 2915 | CUSTOM FABRICATION
128 | 1 | DOUBLE WALL SHELF | 1100 | 1100 | CUSTOM FABRICATION
129 | - | SPARE NUMBER |  | 0
130 | - | SPARE NUMBER |  | 0
131 | 1 | FOOD PROCESSOR | 1189 | 1189
132 | 1 | VEGETABLE SLICER | 4153 | 4153
133 | 1 | TRASH RECEPTACLE | 121.06 | 121.06 | WITH LID AND DOLLY
134 | 1 | HAND SINK | 1463.5 | 1463.5 | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
135 | - | SPARE NUMBER |  | 0
136 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
137 | 1 | AIR PURIFIER | 4550 | 4550 | WALL MOUNTED
138 | 2 | UTILITY RACK | 533.5 | 1067 | MOBILE
139 | - | SPARE NUMBER |  | 0
140-145 | - | SPARE NUMBER |  | 0
146 | 1 | CATERING COOLER |  | INCL'DW/#101
147 | 1 | FLOOR TROUGH & GRATE | 1250 | 1250 | CUSTOM FABRICATION
148 | 1 | EVAPORATOR COIL |  | INCL'DW/#1 | ON EMERGENCY POWER
149 | - | SPARE NUMBER |  | 0
150 | - | SPARE NUMBER |  | 0
151 | 6 | COOLER STORAGE SHELVING | 384.9982 | 2309.9895 | MOBILE
152 | 1 | PREPARATION TABLE WITH SINK | 2915 | 2915 | CUSTOM FABRICATION
153 | 1 | DOUBLE WALL SHELF | 2310 | 2310 | CUSTOM FABRICATION
154 | 2 | RECCESSED CUTTING BOARD | 250 | 500 | CUSTOM FABRICATION
155 | - | SPARE NUMBER |  | 0
156 | 1 | PREPARATION LABEL PRINTER |  | NIC | BY OS&E
157 | 2 | PORTION SCALE | 388 | 776
158 | 1 | TRASH RECEPTACLE | 121.06 | 121.06 | WITH LID AND DOLLY
159 | - | SPARE NUMBER |  | 0
160 | - | SPARE NUMBER |  | 0
161 | 1 | REACH-IN REFRIGERATOR | 8939 | 8939 | MOBILE
162 | 3 | UTILITY RACK | 533.5 | 1600.5 | MOBILE
163 | 1 | HAND SINK | 1463.5 | 1463.5 | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
164 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
165 | - | SPARE NUMBER |  | 0
166 | 1 | AIR PURIFIER | 4550 | 4550 | WALL MOUNTED
167 | 1 | PREPARATION TABLE | 1560 | 1560 | CUSTOM FABRICATION
168 | 1 | DOUBLE WALL SHELF | 1430 | 1430 | CUSTOM FABRICATION
169 | - | SPARE NUMBER |  | 0
170 | - | SPARE NUMBER |  | 0
171 | 1 | FOOD PROCESSOR | 1189 | 1189
172 | 1 | VEGETABLE SLICER | 4153 | 4153
173 | - | SPARE NUMBER |  | 0
174 | - | SPARE NUMBER |  | 0
175-180 | - | SPARE NUMBER |  | 0
181 | 1 | WORK SURFACE |  | NIC | MILLWORK / BY GENERAL CONTRACTOR
182 | 1 | WALL CABINET |  | NIC | MILLWORK / BY GENERAL CONTRACTOR
183 | 4 | CHAIR |  | NIC | BY OS&E
184 | 4 | COMPUTER |  | NIC | BY OS&E
185 | - | SPARE NUMBER |  | 0
186 | 1 | PRINTER / FAX MACHINE |  | NIC | BY OS&E
187 | - | SPARE NUMBER |  | 0
188 | - | SPARE NUMBER |  | 0
189 | - | SPARE NUMBER |  | 0
190 | - | SPARE NUMBER |  | 0
191 | 1 | FINISH COOLER |  | INCL'DW/#101
192 | 1 | FLOOR TROUGH & GRATE | 1250 | 1250 | CUSTOM FABRICATION
193 | 1 | LOW-PROFILE EVAPORATOR COIL |  | INCL'DW/#1 | ON EMERGENCY POWER
194 | 8 | COOLER STORAGE SHELVING | 384.9982 | 3079.986 | MOBILE
195 | - | SPARE NUMBER |  | 0
196 | 7 | UTILITY RACK | 533.5 | 3734.5 | MOBILE
197 | 1 | BLAST CHILLER |  | INCL'DW/#101
198 | 1 | FLOOR TROUGH & GRATE | 1250 | 1250 | CUSTOM FABRICATION
199 | - | SPARE NUMBER |  | 0
200 | - | SPARE NUMBER |  | 0
201 | 1 | BLAST CHILLER EVAPORATOR COIL | 25008 | 25008
202 | - | SPARE NUMBER |  | 0
203 | - | SPARE NUMBER |  | 0
204 | - | SPARE NUMBER |  | 0
205 | - | SPARE NUMBER |  | 0
206 | 1 | PREPARATION TABLE WITH SINK | 6050 | 6050 | CUSTOM FABRICATION
207 | 1 | DOUBLE WALL SHELF | 4675 | 4675 | CUSTOM FABRICATION
208 | 1 | TRASH RECEPTACLE | 121.06 | 121.06 | WITH LID AND DOLLY
209 | - | SPARE NUMBER |  | 0
210 | - | SPARE NUMBER |  | 0
211 | 1 | RECCESSED CUTTING BOARD | 250 | 250 | CUSTOM FABRICATION
212 | 1 | FOOD BLENDER | 1878.45 | 1878.45
213 | 1 | FOOD BLENDER | 1878.45 | 1878.45
214 | 1 | FOOD BLENDER | 1878.45 | 1878.45
215 | - | SPARE NUMBER |  | 0
216 | 1 | REACH-IN REFRIGERATOR | 6718.5 | 6718.5 | MOBILE
217 | 1 | HAND SINK | 1463.5 | 1463.5 | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
218 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
219 | - | SPARE NUMBER |  | 0
220-225 | - | SPARE NUMBER |  | 0
POT/PAN WASH AREA
226 | 1 | FLOOR TROUGH & GRATE | 1650 | 1650 | CUSTOM FABRICATION
227 | 4 | POT AND PAN DRYING RACK | 834.5 | 3338 | MOBILE
228 | 1 | CLEAN DISH TABLE | 980 | 980 | CUSTOM FABRICATION
229 | - | SPARE NUMBER |  | 0
230 | - | SPARE NUMBER |  | 0
231 | 1 | GLASS RACK SHELF | 525 | 525 | CUSTOM FABRICATION
232 | 1 | POT AND PAN WASHER | 42469 | 42469 | 180°F RINSE
233 | 1 | CONDENSATE HOOD | 3560 | 3560 | CUSTOM FABRICATION
234 | 1 | POT SINK | 3705 | 3705 | CUSTOM FABRICATION
235 | - | SPARE NUMBER |  | 0
236 | 1 | POT SHELF | 1190 | 1190 | CUSTOM FABRICATION
237 | 1 | TRASH RECEPTACLE | 121.06 | 121.06 | WITH LID AND DOLLY
238 | 1 | HOSE REEL | 770 | 770 | CEILING MOUNT
239 | - | SPARE NUMBER |  | 0
240 | - | SPARE NUMBER |  | 0
241 | 1 | HOSE REEL CONTROL CABINET | 1270 | 1270 | FOR ITEM #238
242 | 1 | HAND SINK | 1463.5 | 1463.5 | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
243 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
244 | 1 | FLOOR TROUGH & GRATE | 1850 | 1850 | CUSTOM FABRICATION
245-300 | - | SPARE NUMBER |  | 0
ICE PRODUCTION AREA
301 | 1 | FLOOR TROUGH & GRATE | 1650 | 1650 | CUSTOM FABRICATION
302 | 1 | WATER FILTRATION SYSTEM | 216 | 216 | FOR ITEM #304
303 | 1 | WATER FILTRATION SYSTEM | 505 | 505 | FOR ITEM #307
304 | 1 | ICE MACHINE | 5020 | 5020 | 800LB.
305 | - | SPARE NUMBER |  | 0
306 | 1 | ICE BIN | 26181 | 26181 | 1700LBS.
307 | 1 | ICE MACHINE | 6358 | 6358 | 1400LB.
308 | 3 | ICE CART | 2625 | 7875 | MOBILE
309 | - | SPARE NUMBER |  | 0
310-315 | - | SPARE NUMBER |  | 0
BULK PREPARATION AREA
316 | 1 | HAND SINK | 1463.5 | 1463.5 | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
317 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
318 | 1 | PREPARATION TABLE WITH SINKS | 6073 | 6073 | CUSTOM FABRICATION
319 | - | SPARE NUMBER |  | 0
320 | - | SPARE NUMBER |  | 0
321 | 1 | DOUBLE WALL SHELF | 4840 | 4840 | CUSTOM FABRICATION
322 | 1 | TRASH RECEPTACLE | 121.06 | 121.06 | WITH LID AND DOLLY
323 | 1 | 20 QT. MIXER | 10349 | 10349
324 | 1 | FOOD PROCESSOR | 1189 | 1189
325 | - | SPARE NUMBER |  | 0
326 | 1 | UTILITY RACK | 533.5 | 533.5 | MOBILE
327 | 1 | MOBILE PREPARATION TABLE | 2030 | 2030 | CUSTOM FABRICATION
328 | 1 | POT AND PAN DRYING RACK | 834.5 | 834.5 | MOBILE
329 | - | SPARE NUMBER |  | 0
330 | - | SPARE NUMBER |  | 0
331 | 1 | PREPARATION TABLE WITH SINK | 5920 | 5920 | CUSTOM FABRICATION
332 | 1 | DOUBLE WALL SHELF | 5500 | 5500 | CUSTOM FABRICATION
333 | 3 | INGREDIENT BIN | 363 | 1089 | MOBILE
334 | 1 | TRASH RECEPTACLE | 121.06 | 121.06 | WITH LID AND DOLLY
335 | - | SPARE NUMBER |  | 0
336 | 1 | 5 QT. MIXER | 5718 | 5718
337 | 1 | FOOD BLENDER | 1789 | 1789
338 | 1 | PREPARATION LABEL PRINTER |  | NIC | BY OS&E
339 | - | SPARE NUMBER |  | 0
340 | - | SPARE NUMBER |  | 0
341 | 2 | PORTION SCALE | 388 | 776
342 | 1 | FILLER FAUCET | 650 | 650
343 | 1 | 60 QT. MIXER | 36977 | 36977
344 | 1 | MIXER UTENSIL RACK | 1850 | 1850 | CUSTOM FABRICATION
345 | - | SPARE NUMBER |  | 0
346 | 1 | HAND SINK | 1463.5 | 1463.5 | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
347 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
348 | - | SPARE NUMBER |  | 0
349 | - | SPARE NUMBER |  | 0
350-355 | - | SPARE NUMBER |  | 0
BULK COOKING AREA
356 | 1 | PREPARATION TABLE WITH SINK | 2815 | 2815 | CUSTOM FABRICATION
357 | 1 | OVERSHELF WITH UTENSIL RACK | 2200 | 2200 | CUSTOM FABRICATION
358 | 1 | TRASH RECEPTACLE | 121.06 | 121.06 | WITH LID AND DOLLY
359 | - | SPARE NUMBER |  | 0
360 | - | SPARE NUMBER |  | 0
361 | 4 | UTILITY RACK | 533.5 | 2134 | MOBILE
362 | 1 | PREPARATION TABLE | 1800 | 1800 | CUSTOM FABRICATION
363 | 1 | DOUBLE OVERSHELF | 1650 | 1650 | CUSTOM FABRICATION
364 | 1 | TRASH RECEPTACLE | 121.06 | 121.06 | WITH LID AND DOLLY
365 | 2 | DRY STORAGE SHELVING | 384.9982 | 769.9965 | FIXED
366 | 1 | HOOD CONTROL CABINET | 28099 | 28099 | FOR ITEM #368 & #391
367 | 1 | FIRE SUPPRESSION SYSTEM | 26850 | 26850 | FOR ITEM #368
368 | 1 | EXHAUST HOOD | 48229 | 48229 | WITH MAKE-UP AIR
369 | - | SPARE NUMBER |  | 0
370 | - | SPARE NUMBER |  | 0
371 | 1 | DOUBLE CONVECTION OVEN | 30865 | 30865 | MOBILE
372 | 1 | DOUBLE CONVECTION OVEN | 30865 | 30865 | MOBILE
373 | 1 | CONVECTION STEAMER | 34193.5 | 34193.5 | MOBILE
374 | 1 | CONVECTION STEAMER | 34193.5 | 34193.5 | MOBILE
375 | - | SPARE NUMBER |  | 0
376 | 1 | 4-BURNER RANGE | 11694.5 | 11694.5 | W/ OVEN
377 | 1 | POT FILLER FAUCET | 215 | 215
378 | 1 | 40 GALLON TILTING KETTLE | 35173 | 35173
379 | - | SPARE NUMBER |  | 0
380 | - | SPARE NUMBER |  | 0
381 | 1 | 40 GALLON TILTING SKILLET | 28480.5 | 28480.5 | WITH FAUCET
382 | 1 | FLOOR TROUGH & GRATE | 4550 | 4550 | CUSTOM FABRICATION
383 | 1 | PREPARATION TABLE | 1320 | 1320 | CUSTOM FABRICATION
384 | 1 | DOUBLE WALL SHELF | 1210 | 1210 | CUSTOM FABRICATION
385-390 | - | SPARE NUMBER |  | 0
FINISH COOKING AREA
391 | 1 | EXHAUST HOOD | 44161 | 44161 | WITH MAKE-UP AIR
392 | 1 | DOUBLE CONVECTION OVEN | 30865 | 30865 | MOBILE
393 | 1 | CONVECTION STEAMER | 34193.5 | 34193.5 | MOBILE
394 | 1 | HOT TOP RANGE | 6799 | 6799 | MOBILE
395 | - | SPARE NUMBER |  | 0
396 | 1 | FRYER BATTERY | 1000.5 | 1000.5 | MOBILE
397 | 1 | SPREADER CABINET | 17915 | 17915
398 | 1 | REFRIGERATED EQUIPMENT STAND | 12235.5 | 12235.5 | MOBILE
399 | - | SPARE NUMBER |  | 0
400 | - | SPARE NUMBER |  | 0
401 | 1 | MODULAR SIX BURNER RANGE | 4044.5 | 4044.5
402 | 1 | POT FILLER FAUCET | 215 | 215
403 | 1 | MODULAR CHARBROILER | 5363 | 5363
404 | 1 | GRIDDLE WITH OVEN | 8586 | 8586
405 | - | SPARE NUMBER |  | 0
406 | 1 | FIRE SUPPRESSION SYSTEM | 26850 | 26850 | FOR ITEM #391
407 | 1 | WORK TABLE | 1200 | 1200 | CUSTOM FABRICATION
408 | 1 | UNDERCOUNTER REFRIGERATOR | 6256 | 6256 | MOBILE
409 | - | SPARE NUMBER |  | 0
410 | - | SPARE NUMBER |  | 0
411 | 1 | RAPID COOK OVEN | 13284 | 13284 | VENTLESS
412 | 1 | REACH-IN FREEZER | 10862 | 10862 | MOBILE
413 | - | SPARE NUMBER |  | 0
414 | - | SPARE NUMBER |  | 0
415 | - | SPARE NUMBER |  | 0
TRAY ASSEMBLY AREA
416 | 1 | PASS-THRU REFRIGERATOR | 13399 | 13399 | MOBILE
417 | 1 | TRAY ASSEMBLY COUNTER WITH SINK | 11015 | 11015 | CUSTOM FABRICATION
418 | 1 | DROP-IN HAND SINK | 1454 | 1454 | WITH SOAP & TOWEL DISPENSER
419 | - | SPARE NUMBER |  | 0
420 | - | SPARE NUMBER |  | 0
421 | 1 | TRASH CHUTE | 150 | 150 | CUSTOM FABRICATION
422 | 1 | TRASH RECEPTACLE | 47 | 47 | SLIM JIM
423 | 1 | INDUCTION BASE CHARGER | 10066.86 | 10066.86
424 | 1 | DOUBLE OVERSHELF | 1980 | 1980 | CUSTOM FABRICATION
425 | - | SPARE NUMBER |  | 0
426 | 1 | PREPARATION LABEL PRINTER |  | NIC | BY OS&E
427 | 1 | UNDERCOUNTER REFRIGERATOR | 3600 | 3600 | CUSTOM FABRICATION
428 | 1 | RECCESSED CUTTING BOARD | 250 | 250 | CUSTOM FABRICATION
429 | - | SPARE NUMBER |  | 0
430 | - | SPARE NUMBER |  | 0
431 | 1 | MICROWAVE OVEN | 520 | 520
432 | 1 | HOT FOOD WELL | 2389.5 | 2389.5 | 3 WELL
433 | 1 | FOOD WARMER | 414 | 414
434 | 1 | RECCESSED CUTTING BOARD | 350 | 350 | CUSTOM FABRICATION
435 | - | SPARE NUMBER |  | 0
436 | 1 | PREPARATION LABEL PRINTER |  | NIC | BY OS&E
437 | 1 | TRAY MAKE-UP ROLLERS | 8350 | 8350 | CUSTOM FABRICATION
438 | 1 | TRAY STARTER | 2974 | 2974 | CUSTOM FABRICATION
439 | - | SPARE NUMBER |  | 0
440 | - | SPARE NUMBER |  | 0
441 | 1 | LOAD CENTER | 4950 | 4950 | CUSTOM FABRICATION
442 | 1 | PREPARATION LABEL PRINTER |  | NIC | BY OS&E
443 | 1 | MOBILE PLATE AND DISH DISPENSER | 4123.1 | 4123.1 | MOBILE
444 | - | SPARE NUMBER |  | 0
445 | - | SPARE NUMBER |  | 0
446 | - | SPARE NUMBER |  | 0
447 | 1 | TRAY ASSEMBLY COUNTER WITH SINK | 11015 | 11015 | CUSTOM FABRICATION
448 | 1 | DROP-IN HAND SINK | 1454 | 1454 | WITH SOAP & TOWEL DISPENSER
449 | - | SPARE NUMBER |  | 0
450 | - | SPARE NUMBER |  | 0
451 | 1 | TRASH CHUTE | 150 | 150 | CUSTOM FABRICATION
452 | 1 | TRASH RECEPTACLE | 47 | 47 | SLIM JIM
453 | 1 | INDUCTION BASE CHARGER | 10066.86 | 10066.86
454 | 1 | DOUBLE OVERSHELF | 1980 | 1980 | CUSTOM FABRICATION
455 | - | SPARE NUMBER |  | 0
456 | 1 | PREPARATION LABEL PRINTER |  | NIC | BY OS&E
457 | 1 | UNDERCOUNTER REFRIGERATOR | 3600 | 3600 | CUSTOM FABRICATION
458 | 1 | RECCESSED CUTTING BOARD | 250 | 250 | CUSTOM FABRICATION
459 | - | SPARE NUMBER |  | 0
460 | - | SPARE NUMBER |  | 0
461 | 1 | MICROWAVE OVEN | 520 | 520
462 | 1 | HOT FOOD WELL | 2389.5 | 2389.5 | 3 WELL
463 | 1 | FOOD WARMER | 414 | 414
464 | 1 | RECCESSED CUTTING BOARD | 350 | 350 | CUSTOM FABRICATION
465 | - | SPARE NUMBER |  | 0
466 | 1 | PREPARATION LABEL PRINTER |  | NIC | BY OS&E
467 | 1 | TRAY MAKE-UP ROLLERS | 8350 | 8350 | CUSTOM FABRICATION
468 | 1 | TRAY STARTER | 2974 | 2974 | CUSTOM FABRICATION
469 | - | SPARE NUMBER |  | 0
470 | - | SPARE NUMBER |  | 0
471 | 1 | LOAD CENTER | 4950 | 4950 | CUSTOM FABRICATION
472 | 1 | PREPARATION LABEL PRINTER |  | NIC | BY OS&E
473 | 1 | MOBILE PLATE AND DISH DISPENSER | 4123.1 | 4123.1 | MOBILE
474 | 10 | MEAL TRAY DELIVERY CART | 3071.4 | 30714 | MOBILE
475 | - | SPARE NUMBER |  | 0
476 | 1 | AIR CURTAIN REFRIGERATOR | 20691.5 | 20691.5 | MOBILE
477 | 1 | REACH-IN FREEZER | 10862 | 10862 | MOBILE
478 | 1 | BEVERAGE COUNTER | 7150 | 7150 | CUSTOM FABRICATION
479 | - | SPARE NUMBER |  | 0
480 | - | SPARE NUMBER |  | 0
481 | 3 | GLASS RACK DISH DOLLY | 354 | 1062 | MOBILE
482 | 1 | COFFEE BREWER |  | NIC | BY VENDOR
483 | 1 | JUICE DISPENSER |  | NIC | BY VENDOR
484 | 1 | ICED TEA BREWER |  | NIC | BY VENDOR
485 | - | SPARE NUMBER |  | 0
486 | 1 | SODA AND ICE DISPENSER |  | NIC | BY VENDOR
487 | 1 | ICE MACHINE | 4482 | 4482 | 500LBS.
488 | 1 | WATER FILTRATION SYSTEM | 216 | 216 | FOR ITEM #487
489 | - | SPARE NUMBER |  | 0
490 | - | SPARE NUMBER |  | 0
491 | 1 | AIR CURTAIN REFRIGERATOR | 20691.5 | 20691.5 | MOBILE
492 | 1 | REACH-IN FREEZER | 10862 | 10862 | MOBILE
493 | 1 | HAND SINK | 1463.5 | 1463.5 | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
494 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
495 | - | SPARE NUMBER |  | 0
496 | 1 | DOME AND BASE STORAGE RACK | 2660 | 2660 | MOBILE
497 | 1 | AIR CURTAIN | 1820 | 1820 | WALL MOUNTED
498 | - | SPARE NUMBER |  | 0
499 | - | SPARE NUMBER |  | 0
500 | - | SPARE NUMBER |  | 0
JANITOR/ R.O. WATER AREA
501 | 8 | DETERGENT STORAGE SHELVING | 384.9982 | 3079.986 | FIXED
502 | 1 | MOP RACK |  | NIC | BY GENERAL CONTRACTOR
503 | 1 | MOP SINK |  | NIC | BY GENERAL CONTRACTOR
504 | 1 | HOSE BIBB |  | NIC | BY GENERAL CONTRACTOR
505 | - | SPARE NUMBER |  | 0
506 | 1 | WALL SHELF | 350 | 350 | CUSTOM FABRICATION
507 | 1 | REVERSE OSMOSIS SYSTEM | 2980 | 2980 | 250 GPD
508 | 1 | REVERSE OSMOSIS STORAGE TANK | 926 | 926 | 80 GALLON
509 | - | SPARE NUMBER |  | 0
510 | - | SPARE NUMBER |  | 0
511 | 1 | AIR CURTAIN | 1250 | 1250 | WALL MOUNTED
512 | - | SPARE NUMBER |  | 0
513 | - | SPARE NUMBER |  | 0
514 | - | SPARE NUMBER |  | 0
515 | - | SPARE NUMBER |  | 0
SOILED WARE WASHING AREA
516 | 11 | SOILED TRAY RETRIEVAL CART | 2009 | 22099 | MOBILE
517 | 1 | SOILED DISH TABLE WITH TROUGH AND BRIDGE | 5320 | 5320 | CUSTOM FABRICATION
518 | 1 | DOUBLE SIDED GLASS RACK SHELF | 1760 | 1760 | CUSTOM FABRICATION
519 | - | SPARE NUMBER |  | 0
520 | - | SPARE NUMBER |  | 0
521 | 1 | UTENSIL CHUTE | 2021 | 2021 | CUSTOM FABRICATION
522 | 1 | SILVER SOAK SINK | 1929 | 1929 | MOBILE
523 | 1 | TRASH RECEPTACLE | 121 | 121 | WITH LID AND DOLLY
524 | 1 | FOOD WASTE COLLECTOR | 6395 | 6395 | WITH COVER
525 | - | SPARE NUMBER |  | 0
526 | 1 | GLASS RACK SHELF | 2021 | 2021 | CUSTOM FABRICATION
527 | 1 | DISH MACHINE | 2950 | 2950 | 180°F RINSE
528 | 1 | HAND SINK | 1463.5 | 1463.5 | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
529 | - | SPARE NUMBER |  | 0
530 | - | SPARE NUMBER |  | 0
531 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
532 | 1 | EYE WASH STATION | 825 | 825
533 | - | SPARE NUMBER |  | 0
534 | - | SPARE NUMBER |  | 0
535 | - | SPARE NUMBER |  | 0
CLEAN WARE WASHING AREA
536 | 1 | PLASTIC DOOR | 437 | 437
537 | 1 | FLOOR TROUGH & GRATE | 1450 | 1450 | CUSTOM FABRICATION
538 | 1 | HOSE STATION | 8990 | 8990 | HOT & COLD WATER
539 | - | SPARE NUMBER |  | 0
540 | - | SPARE NUMBER |  | 0
541 | 1 | FLOOR TROUGH & GRATE | 1450 | 1450 | CUSTOM FABRICATION
542 | 1 | PLASTIC DOOR | 437 | 437
543 | - | SPARE NUMBER |  | 0
544 | - | SPARE NUMBER |  | 0
545 | - | SPARE NUMBER |  | 0
546 | 1 | EYE WASH STATION | 825 | 825
547 | 1 | HAND SINK | 1463.5 | 1463.5 | WITH VENDOR PROVIDED SOAP & TOWEL DISPENSER
548 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
549 | - | SPARE NUMBER |  | 0
550 | - | SPARE NUMBER |  | 0
551 | 1 | CLEAN DISH TABLE | 2580 | 2580 | CUSTOM FABRICATION
552 | 1 | GLASS RACK SHELF | 1575 | 1575 | CUSTOM FABRICATION
553 | 6 | CLEAN DISH STORAGE SHELVING | 384.9982 | 2309.9895 | FIXED
554 | 10 | GLASS RACK DISH DOLLY | 354 | 3540 | MOBILE
555 | - | SPARE NUMBER |  | 0
556 | 10 | DISH DOLLY | 834.5 | 8345
557 | 6 | DOME AND BASE STORAGE RACK | 2660 | 15960 | MOBILE
558 | 6 | TRAY DRYING/ STORAGE RACK | 2425 | 14550 | MOBILE
559 | - | SPARE NUMBER |  | 0
560 | - | SPARE NUMBER |  | 0
561 | 6 | DOME AND BASE STORAGE RACK | 2660 | 15960 | MOBILE
562 | - | SPARE NUMBER |  | 0
563 | - | SPARE NUMBER |  | 0
564 | - | SPARE NUMBER |  | 0
565-600 | - | SPARE NUMBER |  | 0
24HR GRAB-N-GO AREA
601 | 3 | REFRIGERATED GRAB-N-GO | 16002 | 48006 | SELF CONTAINED
602 | 1 | REACH-IN FREEZER | 24255 | 24255 | MOBILE
603 | 2 | REACH-IN REFRIGERATOR | 12686 | 25372 | MOBILE
604 | 3 | AMBIENT GRAB-N-GO MERCHANDISER | 14002 | 42006
605 | - | SPARE NUMBER |  | 0
606 | 1 | GRAB-N-GO COUNTER |  | NIC | MILLWORK / BY GENERAL CONTRACTOR
607 | 2 | SELF PAY POS SYSTEM |  | NIC | BY OS&E
608 |  | CONDIMENT DISPENSER |  | NIC | BY OS&E
609 | - | SPARE NUMBER |  | 0
610 | - | SPARE NUMBER |  | 0
611 | 2 | MICROWAVE OVEN | 520 | 1040
612 | - | SPARE NUMBER |  | 0
613 | - | SPARE NUMBER |  | 0
614 | - | SPARE NUMBER |  | 0
615-650 | - | SPARE NUMBER |  | 0
PHYSICIANS DINING AREA
651 | 1 | BEVERAGE COUNTER |  | NIC | MILLWORK / BY GENERAL CONTRACTOR
652 | 1 | ICE AND WATER DISPENSER |  | NIC | BY VENDOR
653 | 1 | ICED TEA BREWER |  | NIC | BY VENDOR
654 | 1 | JUICE DISPENSER |  | NIC | BY VENDOR
655 | - | SPARE NUMBER |  | 0
656 | 1 | COFFEE BREWER |  | NIC | BY VENDOR
657 | 1 | UNDERCOUNTER REFRIGERATOR | 6592 | 6592 | MOBILE
658 | 1 | REACH-IN REFRIGERATOR | 7171 | 7171 | MOBILE
659 | - | SPARE NUMBER |  | 0
660-700 | - | SPARE NUMBER |  | 0
SERVERY AREA
701 | 1 | TRAY/ SILVERWARE COUNTER |  | NIC | MILLWORK / BY GENERAL CONTRACTOR
702 | 1 | BEVERAGE COOLER | 34570 | 34570
703 | 1 | FLOOR TROUGH & GRATE | 1250 | 1250 | CUSTOM FABRICATION
704 | 1 | EVAPORATOR COIL |  | INCL'DW/#1 | ON EMERGENCY POWER
705 | - | SPARE NUMBER |  | 0
706 | 3 | COOLER STORAGE SHELVING | 384.9982 | 1154.9947 | MOBILE
707 | 1 | DISPLAY COOLER SHELVING | 900 | 900
708 | 1 | REACH-IN DOORS | 1200 | 1200
709 | - | SPARE NUMBER |  | 0
710 | - | SPARE NUMBER |  | 0
711 | 1 | BACK COUNTER WITH SINK | 12615 | 12615 | CUSTOM FABRICATION
712 | 1 | DROP-IN HAND SINK | 1453.5 | 1453.5 | WITH SOAP & TOWEL DISPENSER
713 | 1 | TRASH CHUTE | 150 | 150 | CUSTOM FABRICATION
714 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
715 | - | SPARE NUMBER |  | 0
716 | 1 | DOUBLE WALL SHELF | 2420 | 2420 | CUSTOM FABRICATION
717 | 1 | FIRE SUPPRESSION SYSTEM | 14448 | 14448 | FOR ITEM #718
718 | 1 | EXHAUST HOOD | 23328 | 23328 | WITH MAKE-UP AIR
719 | 1 | HOOD CONTROL CABINET | 10204 | 10204 | FOR ITEM #718
720 | - | SPARE NUMBER |  | 0
721 | 1 | MODULAR GRIDDLE | 5925.5 | 5925.5
722 | 1 | REFRIGERATED EQUIPMENT STAND | 12235.5 | 12235.5 | MOBILE
723 | 1 | MODULAR CHARBROILER | 5363 | 5363
724 | 1 | FRYER BATTERY | 17915 | 17915 | MOBILE
725 | - | SPARE NUMBER |  | 0
726 | 1 | BACK COUNTER | 7700 | 7700 | CUSTOM FABRICATION
727 | 1 | DOUBLE WALL SHELF | 1540 | 1540 | CUSTOM FABRICATION
728 | 1 | DROP-IN HAND SINK | 1453.5 | 1453.5 | WITH SOAP & TOWEL DISPENSER
729 | - | SPARE NUMBER |  | 0
730 | - | SPARE NUMBER |  | 0
731 | 1 | TRASH CHUTE | 150 | 150 | CUSTOM FABRICATION
732 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
733 | 1 | REACH-IN REFRIGERATOR | 9866.5 | 9866.5 | MOBILE
734 | - | SPARE NUMBER |  | 0
735 | - | SPARE NUMBER |  | 0
736 | 1 | GRILL SERVING COUNTER | 65417 | 65417 | CUSTOM FABRICATION
737 | 1 | LOAD CENTER | 4950 | 4950 | CUSTOM FABRICATION
738 | 1 | BUTCHER BLOCK TOP | 1125 | 1125 | CUSTOM FABRICATION
739 | - | SPARE NUMBER |  | 0
740 | - | SPARE NUMBER |  | 0
741 | 1 | SNEEZE GUARD | 2250 | 2250 | CUSTOM DESIGN
742 | 1 | FOOD WARMER | 370 | 370
743 | 1 | HOT FOOD WELL | 3116 | 3116 | 4 WELLS
744 | 1 | SNEEZE GUARD | 2500 | 2500 | CUSTOM DESIGN
745 | - | SPARE NUMBER |  | 0
746 | 1 | FOOD WARMER | 370 | 370
747 | 1 | DROP-IN HOT FOOD WELL | 1853.5 | 1853.5 | 2 WELLS
748 | 1 | SNEEZE GUARD | 1500 | 1500 | CUSTOM DESIGN
749 | - | SPARE NUMBER |  | 0
750 | - | SPARE NUMBER |  | 0
751 | 1 | FOOD WARMER | 254.04 | 254.04
752 | 1 | UNDERCOUNTER REFRIGERATOR | 4935 | 4935 | CUSTOM FABRICATION
753 | 1 | SNEEZE GUARD | 3075 | 3075 | CUSTOM DESIGN
754 | 1 | POS SYSTEM |  | NIC | BY OS&E
755-765 | - | SPARE NUMBER |  | 0
766 | 1 | PIZZA PREP TABLE | 10045.5 | 10045.5 | MOBILE
767 | 1 | PIZZA OVEN | 28980 | 28980
768 | 1 | EXHAUST HOOD | 9785 | 9785 | WITH MAKE-UP AIR
769 | - | SPARE NUMBER |  | 0
770 | 1 | BACK COUNTER | 7700 | 7700 | CUSTOM FABRICATION
771 | 1 | DOUBLE WALL SHELF | 1540 | 1540 | CUSTOM FABRICATION
772 | 1 | UNDERCOUNTER REFRIGERATOR | 6592 | 6592 | MOBILE
773 | 1 | RECCESSED CUTTING BOARD | 250 | 250 | CUSTOM FABRICATION
774 | - | SPARE NUMBER |  | 0
775 | - | SPARE NUMBER |  | 0
776 | 1 | PIZZA SERVING COUNTER | 41817 | 41817 | CUSTOM FABRICATION
777 | 1 | LOAD CENTER | 4950 | 4950 | CUSTOM FABRICATION
778 | 1 | UNDERCOUNTER REFRIGERATOR | 3800 | 3800 | CUSTOM FABRICATION
779 | - | SPARE NUMBER | 0 | 0
780 | - | SPARE NUMBER |  | 0
781 | 1 | RECCESSED CUTTING BOARD | 250 | 250 | CUSTOM FABRICATION
782 | 1 | DROP-IN HEATED SHELF | 1293 | 1293
783 | 1 | SNEEZE GUARD | 2475 | 2475 | CUSTOM DESIGN
784 | 1 | FOOD WARMER | 778 | 778
785 | - | SPARE NUMBER | 0 | 0
786 | 1 | UNDERCOUNTER REFRIGERATOR | 3800 | 3800 | CUSTOM FABRICATION
787 | 1 | RECCESSED CUTTING BOARD | 250 | 250 | CUSTOM FABRICATION
788 | 1 | DROP-IN HEATED SHELF | 1293 | 1293
789 | - | SPARE NUMBER |  | 0
790 | - | SPARE NUMBER |  | 0
791 | 1 | SNEEZE GUARD | 2475 | 2475 | CUSTOM DESIGN
792 | 1 | FOOD WARMER | 778 | 778
793 | - | SPARE NUMBER |  | 0
794 | - | SPARE NUMBER |  | 0
795-800 | - | SPARE NUMBER |  | 0
801 | 1 | REACH-IN REFRIGERATOR | 7171 | 7171 | MOBILE
802 | 1 | BACK COUNTER WITH SINK | 18150 | 18150 | CUSTOM FABRICATION
803 | 1 | TRASH CHUTE | 150 | 150 | CUSTOM FABRICATION
804 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
805 | - | SPARE NUMBER |  | 0
806 | 1 | UNDERCOUNTER REFRIGERATOR | 6592 | 6592 | MOBILE
807 | 1 | UNDERCOUNTER REFRIGERATOR | 6592 | 6592 | MOBILE
808 | 1 | TRASH CHUTE | 150 | 150 | CUSTOM FABRICATION
809 | - | SPARE NUMBER |  | 0
810 | - | SPARE NUMBER |  | 0
811 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
812 | 1 | DROP-IN HAND SINK | 1453.5 | 1453.5 | WITH SOAP & TOWEL DISPENSER
813 | 1 | DOUBLE WALL SHELF | 3630 | 3630 | CUSTOM FABRICATION
814 | - | SPARE NUMBER |  | 0
815 | - | SPARE NUMBER |  | 0
816 | 1 | DELI SERVING COUNTER | 48528 | 48528 | CUSTOM FABRICATION
817 | 1 | LOAD CENTER | 4950 | 4950 | CUSTOM FABRICATION
818 | 1 | GLASS SURROUND | 2950 | 2950 | CUSTOM FABRICATION
819 | - | SPARE NUMBER |  | 0
820 | - | SPARE NUMBER |  | 0
821 | 1 | RECCESSED CUTTING BOARD | 350 | 350 | CUSTOM FABRICATION
822 | 1 | UNDERCOUNTER REFRIGERATOR | 4900 | 4900 | CUSTOM FABRICATION
823 | 1 | SNEEZE GUARD | 3300 | 3300 | CUSTOM DESIGN
824 | 1 | UNDERCOUNTER REFRIGERATOR | 4900 | 4900 | CUSTOM FABRICATION
825 | - | SPARE NUMBER |  | 0
826 | 1 | SNEEZE GUARD | 3300 | 3300 | CUSTOM DESIGN
827 | - | SPARE NUMBER |  | 0
828 | - | SPARE NUMBER |  | 0
829 | - | SPARE NUMBER |  | 0
830 | - | SPARE NUMBER |  | 0
831 | 1 | SALAD COUNTER | 37982 | 37982 | CUSTOM FABRICATION
832 | 5 | SILVERWARE BIN | 50 | 250 | CUSTOM FABRICATION
833 | 1 | HOT FOOD WELL | 1792.5 | 1792.5 | 1 WELL
834 | 1 | REFRIGERATED COLD WELL | 9931.5 | 9931.5 | 6 WELLS
835 | - | SPARE NUMBER |  | 0
836 | 1 | SNEEZE GUARD | 7500 | 7500 | CUSTOM DESIGN
837 | 1 | SILVERWARE BIN |  | NIC | BY OS&E
838 | - | SPARE NUMBER |  | 0
839 | - | SPARE NUMBER |  | 0
840 | - | SPARE NUMBER |  | 0
841 | 1 | BACK COUNTER WITH SINK | 26310 | 26310 | CUSTOM FABRICATION
842 | 1 | DOUBLE WALL SHELF | 4400 | 4400 | CUSTOM FABRICATION
843 | 1 | DROP-IN HAND SINK | 1453.5 | 1453.5 | WITH SOAP & TOWEL DISPENSER
844 | 1 | TRASH CHUTE | 150 | 150 | CUSTOM FABRICATION
845 | - | SPARE NUMBER |  | 0
846 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
847 | 1 | UNDERCOUNTER REFRIGERATOR | 6592 | 6592 | MOBILE
848 | 1 | UNDERCOUNTER REFRIGERATOR | 6592 | 6592 | MOBILE
849 | - | SPARE NUMBER |  | 0
850 | - | SPARE NUMBER |  | 0
851 | - | SPARE NUMBER |  | 0
852 | 1 | TRASH CHUTE | 150 | 150 | CUSTOM FABRICATION
853 | 1 | TRASH RECEPTACLE | 47.13 | 47.13 | SLIM JIM
854 | 1 | DROP-IN ICE BIN | 790.0502 | 790.0502 | 23 LBS
855 | - | SPARE NUMBER |  | 0
856 | 1 | BLENDER | 1328.25 | 1328.25 | WITH DOME
857 | 1 | GLASS RINSER | 423 | 423
858 | 1 | BARISTA COUNTER | 48975 | 48975 | CUSTOM FABRICATION
859 | - | SPARE NUMBER |  | 0
860 | - | SPARE NUMBER |  | 0
861 | 1 | PICK-UP | 2500 | 2500 | CUSTOM FABRICATION
862 | 1 | ESPRESSO MACHINE | 12035 | 12035
863 | 1 | WATER FILTRATION SYSTEM | 142.6 | 142.6 | FOR ITEM #862
864 | 1 | GLASS SURROUND | 5500 | 5500 | CUSTOM FABRICATION
865 | - | SPARE NUMBER |  | 0
866 | 1 | UNDERCOUNTER REFRIGERATOR | 3574 | 3574 | MOBILE
867 | 1 | SYRUP RACK |  | NIC | BY OS&E
868 | 2 | CUP DISPENSER | 86 | 172
869 | - | SPARE NUMBER |  | 0
870 | - | SPARE NUMBER |  | 0
871 | 1 | PASTRY DISPLAY CASE | 8590 | 8590 | CUSTOM FABRICATION
872 | - | SPARE NUMBER |  | 0
873 | - | SPARE NUMBER |  | 0
874 | - | SPARE NUMBER |  | 0
875 | - | SPARE NUMBER |  | 0
876 | 1 | BACK COUNTER | 3300 | 3300 | CUSTOM FABRICATION
877 | 1 | DOUBLE WALL SHELF | 660 | 660 | CUSTOM FABRICATION
878 | 1 | BACK COUNTER | 9075 | 9075 | CUSTOM FABRICATION
879 | - | SPARE NUMBER |  | 0
880 | - | SPARE NUMBER |  | 0
881 | 1 | DOUBLE WALL SHELF | 1045 | 1045 | CUSTOM FABRICATION
882 | 1 | HEATED HOLDING CABINET | 5657.4 | 5657.4 | MOBILE
883 | 1 | INTERNATIONAL SERVING COUNTER | 62688 | 62688 | CUSTOM FABRICATION
884 | 1 | LOAD CENTER | 4950 | 4950 | CUSTOM FABRICATION
885 | - | SPARE NUMBER |  | 0
886 | 1 | RECCESSED CUTTING BOARD | 250 | 250 | CUSTOM FABRICATION
887 | 1 | SNEEZE GUARD | 1375 | 1375 | CUSTOM DESIGN
888 | 1 | DROP-IN HOT FOOD WELL | 1853.5 | 1853.5 | 2 WELLS
889 | - | SPARE NUMBER |  | 0
890 | - | SPARE NUMBER |  | 0
891 | 1 | SNEEZE GUARD | 1650 | 1650 | CUSTOM DESIGN
892 | 1 | FOOD WARMER | 201.5 | 201.5
893 | 1 | HOT FOOD WELL | 2389.5 | 2389.5 | 3 WELL
894 | 1 | SNEEZE GUARD | 2200 | 2200 | CUSTOM DESIGN
895 | - | SPARE NUMBER |  | 0
896 | 1 | FOOD WARMER | 156.5 | 156.5
897 | 1 | REFRIGERATED COLD WELL | 2645 | 2645 | 2 WELLS
898 | 1 | SNEEZE GUARD | 1650 | 1650 | CUSTOM DESIGN
899 | - | SPARE NUMBER |  | 0
900 | - | SPARE NUMBER |  | 0
901 | 1 | SERVING COUNTER |  | NIC | MILLWORK / BY GENERAL CONTRACTOR
902 | - | SPARE NUMBER |  | 0
903 | - | SPARE NUMBER |  | 0
904 | - | SPARE NUMBER |  | 0
905-910 | - | SPARE NUMBER |  | 0
DINING AREA
911 | 1 | BEVERAGE COUNTER | 73308 | 73308 | CUSTOM FABRICATION
912 | 1 | SODA AND ICE DISPENSER |  | NIC | BY VENDOR
913 | 1 | ICE MACHINE | 4482 | 4482 | 500LBS.
914 | 1 | WATER FILTRATION SYSTEM | 216 | 216 | FOR ITEM #913
915 | - | SPARE NUMBER |  | 0
916 | 1 | COFFEE BREWER |  | NIC | BY VENDOR
917 | 1 | JUICE DISPENSER |  | NIC | BY VENDOR
918 | 1 | ICED TEA BREWER |  | NIC | BY VENDOR
919 | - | SPARE NUMBER |  | 0
920 | - | SPARE NUMBER |  | 0
921 | 3 | CONDIMENT DISPENSER |  | NIC | BY OS&E
922 | 3 | LID DISPENSER |  | NIC | BY OS&E
923 | 3 | NAPKIN DISPENSER |  | NIC | BY OS&E
924 | 2 | MICROWAVE OVEN | 520 | 1040
925-930 | - | SPARE NUMBER |  | 0
931 | 1 | BEVERAGE COUNTER | 80240 | 80240 | CUSTOM FABRICATION
932 | 1 | SODA AND ICE DISPENSER |  | NIC | BY VENDOR
933 | 1 | ICE MACHINE | 4482 | 4482 | 500LBS.
934 | 1 | WATER FILTRATION SYSTEM | 216 | 216 | FOR ITEM #933
935 | - | SPARE NUMBER |  | 0
936 | 1 | COFFEE BREWER |  | NIC | BY VENDOR
937 | 1 | JUICE DISPENSER |  | NIC | BY VENDOR
938 | 1 | ICED TEA BREWER |  | NIC | BY VENDOR
939 | - | SPARE NUMBER |  | 0
940 | - | SPARE NUMBER |  | 0
941 | 3 | CONDIMENT DISPENSER |  | NIC | BY OS&E
942 | 3 | LID DISPENSER |  | NIC | BY OS&E
943 | 3 | NAPKIN DISPENSER |  | NIC | BY OS&E
944 | 2 | MICROWAVE OVEN | 520 | 1040
945-950 | - | SPARE NUMBER |  | 0
951 | 1 | POS STATION | 29500 | 29500 | CUSTOM FABRICATION
952 | 1 | POS SYSTEM |  | NIC | BY OS&E
953 | 1 | CHAIR |  | NIC | BY OS&E
954 | 1 | POS STATION | 29500 | 29500 | CUSTOM FABRICATION
955 | - | SPARE NUMBER |  | 0
956 | 1 | POS SYSTEM |  | NIC | BY OS&E
957 | 1 | CHAIR |  | NIC | BY OS&E
958 | - | SPARE NUMBER |  | 0
959 | - | SPARE NUMBER |  | 0
960 | - | SPARE NUMBER |  | 0
961 | 3 | SOILED TRAY RETRIEVAL CART | 2009 | 6027 | MOBILE
962 | - | SPARE NUMBER |  | 0
963 | - | SPARE NUMBER |  | 0
964 | - | SPARE NUMBER |  | 0
965-1000 | - | SPARE NUMBER |  | 0
0
Equipment Total |  |  |  | 3151567.6174
Delivery, Installation, Set in Place |  |  |  | 472735.1426
Total |  |  |  | 3624302.76
QUALIFICATIONS:
1. Price does not include Project Contingency.
2. Price does not include sales or use taxes.
3. Price is good through 2023.