## Sheet
________ Preliminary Utility Schedule
August 29, 2024
NO | QTY | DESCRIPTION | VOLTS | PH | AMPS | KW | CW | HW | GPH | IW | DW | BTUS | EXH CFM | SUPPLY CFM | HEAT REJECTION | CHILLED WATER IN | CHILLED WATER OUT | REMARKS
PREPARATION AND COOKING AREA
1 | 1 | REACH-IN REFRIGERATION | 120 | 1 | 5.5 | [12 empty] | MOBILE
2 | 1 | BREAD PREPARATION TABLE | 120 | 1 | 20 | [12 empty] | CUSTOM FABRICATION
3 | 1 | BLAST CHILLER-FREEZER | 208 | 1 | 5.6
4 | 1 | RICE COOKER WITH WARMER | 120 | 1 | 18
5 | - | SPARE NUMBER
6 | 1 | SOUS VIDE IMMERSION CIRCULATOR | 120 | 1 | 9.2
7 | 1 | TRIPLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
8 | 1 | HOOD CONTROL CABINET | 120 | 1 | 4 | [12 empty] | FOR ITEM #12
9 | 1 | BUTCHER BLOCK TOP | [15 empty] | CUSTOM FABRICATION
10 | 1 | UNDER COUNTER UTILITY RACK
11 | 1 | FIRE SUPPRESSION SYSTEM | 120 | 1 | 20 |  | 1" | [10 empty] | FOR ITEM #12
12 | 1 | EXHAUST HOOD | 120 | 1 | 20 | [12 empty] | WITH MAKE-UP AIR
13 | 1 | MODULAR GRIDDLE | [9 empty] | 70000
14 | 1 | MODULAR FOUR BURNER RANGE | [9 empty] | 140000
15 | - | SPARE NUMBER
16 | 1 | FILL FAUCET |  |  |  |  | 3/4" | 3/4" | 30
17 | 1 | MODULAR GRIDDLE | [9 empty] | 35000
18 | 1 | MODULAR GRIDDLE | [9 empty] | 70000
19 | - | SPARE NUMBER
20 | - | SPARE NUMBER
21 | 1 | POT SHELF | [15 empty] | CUSTOM FABRICATION
22 | 1 | REFRIGERATED EQUIPMENT STAND | 120 | 1 | 3.2 | [12 empty] | MOBILE
23 | 1 | PREPARATION COUNTER | 120 | 1 | 20 | [12 empty] | CUSTOM FABRICATION
24 | 1 | DOUBLE OVERSHELF | [15 empty] | CUSTOM FABRICATION PART OF ITEM #23
25 | 1 | LOAD CENTER | 208 | 1 | 50 | [12 empty] | CUSTOM FABRICATION PART OF ITEM #23
26 | 1 | UNDERCOUNTER PASS-THRU REFRIGERATOR | 120 | 1 | 8 |  |  |  |  | 1" | [7 empty] | CUSTOM FABRICATION WITH DOORS AND NSF7 RAIL PART OF ITEM #23
27 | 1 | SOUP WARMER | 120 | 1 | 6.7 | [12 empty] | COUNTERTOP
28 | 1 | PREPARATION TABLE WITH SINK | 120 | 1 | 20 |  | 1/2" | 1/2" | 30 | 1-1/2" | [7 empty] | CUSTOM FABRICATION
29 | - | SPARE NUMBER
30 | - | SPARE NUMBER
31 | 1 | HAND SINK |  |  |  |  | 1/2" | 1/2" | 30 | 1-1/2" | [7 empty] | CUSTOM FABRICATION PART OF ITEM #28
32 | 1 | TRASH CHUTE | [15 empty] | CUSTOM FABRICATION PART OF ITEM #28
33 | 1 | STAINLESS STEEL TRASH RECEPTACLE | [15 empty] | CUSTOM FABRICATION
34 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 6.3 | [12 empty] | MOBILE
35 | - | SPARE NUMBER
36 | 2 | SLICER | 120 | 1 | 5.6 | [12 empty] | AUTOMATIC
37 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 6
38 | 1 | RICE COOKER WITH WARMER | 120 | 1 | 18
39 | - | SPARE NUMBER
40 | - | SPARE NUMBER
41 | 1 | VEGETABLE SLICER | 120 | 1 | 3
42 | 1 | RICE COOKER WITH WARMER | 120 | 1 | 18
43 | 1 | UNDERCOUNTER REFRIGERATOR | 120 | 1 | 2.5 | [12 empty] | MOBILE
44 | 1 | REFRIGERATED DISPLAY CASE | 208 | 1 | 5.2 |  |  |  |  | 1/4"
45 | - | SPARE NUMBER
46 | 1 | UNDERCOUNTER FREEZER | 120 | 1 | 4 | [12 empty] | MOBILE
47 | 1 | POS PRINTER | 120 | 1 | 5 | [12 empty] | BY OS&E
48 | 1 | POS SYSTEM | 120 | 1 | 20 | [12 empty] | BY OS&E
49 | - | SPARE NUMBER
51 | 1 | TRIPLE WALL SHELF | [15 empty] | CUSTOM FABRICATION
52 | - | SPARE NUMBER
53 | - | SPARE NUMBER
54 | - | SPARE NUMBER
55-60 | - | SPARE NUMBERS
WAREWASHING AREA
61 | 1 | POT SINK |  |  |  |  | 3/4" | 3/4" | 90 | (3)2" | [7 empty] | CUSTOM FABRICATION
62 | 1 | TRASH RECEPTACLE | [15 empty] | SLIM JIM
63 | 1 | POT SHELF | [15 empty] | CUSTOM FABRICATION
64 | 1 | PRE-RINSE UNIT |  |  |  |  | 1/2" | 1/2" | 50 | [8 empty] | WITH FAUCET
65 | - | SPARE NUMBER
66 | 1 | FLOOR TROUGH & GRATE | [8 empty] | 2" | [6 empty] | CUSTOM FABRICATION
67 | 1 | POT SHELF | [15 empty] | CUSTOM FABRICATION
68 | 1 | MOP SINK CABINET |  |  |  |  | 1/2" | 1/2" | 30 |  | 2"
69 | - | SPARE NUMBER
70-100 | - | SPARE NUMBERS
Total